|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
|  | | | |

**Federal Healthcare Resilience Task Force**

**Alternate Care Site (ACS) Toolkit**

**First Edition**

**Product Purpose:**

This Toolkit was developed to help state, local, tribal and territorial (SLTT) entities to address potential shortages in medical facilities during the 2020 COVID-19 pandemic. It is intended to provide technical assistance to SLTT entities in establishing and operationalizing Alternate Care Sites (ACS).

**Intended Audience:**

State, Local, Tribal, and Territorial Governments **(SLTTs)**

FEMA Regional Administrators

HHS Regional Administrators

hOW TO USE THIS Toolkit

**BASE DOCUMENT**

**Foundational Alternate Care Site (ACS) Model**

**APPENDICES**

**Supporting Documents, Tools, and Templates**

**SUPPLEMENT 1**

**Additional Guidance for General (non-acute) Care Model**

**SUPPLEMENT 2**

**Additional Guidance for Acute Care Model**

**STAFFING**

**EQUIPMENT & SUPPLIES**

**STAFFING**

**EQUIPMENT & SUPPLIES**

Table of Contents

[1. Purpose and Scope 6](#_Toc36456277)

[1.1 Concept 6](#_Toc36456278)

[1.2 ACS Decision Framework 7](#_Toc36456279)

[1.2.1 Can your healthcare system benefit from an ACS? 7](#_Toc36456280)

[1.2.2 Which ACS model would best meet the needs of your location? 7](#_Toc36456281)

[1.3 ACS Process Flowchart 8](#_Toc36456282)

[2. Procedures 8](#_Toc36456283)

[2.1 Identify Potential Sites 8](#_Toc36456284)

[2.2 Conduct Site Assessment 8](#_Toc36456285)

[2.2.1 Physical Considerations 8](#_Toc36456286)

[2.2.2 Logistical Considerations 8](#_Toc36456287)

[2.2.3 Operational Considerations 9](#_Toc36456288)

[2.2.4 Infection Prevention and Control Considerations 9](#_Toc36456289)

[2.2.5 Pharmaceutical Considerations 10](#_Toc36456290)

[2.3 Secure Funding 10](#_Toc36456291)

[2.4 Secure Property 10](#_Toc36456292)

[2.5 Convert Site for Healthcare Use 10](#_Toc36456293)

[2.6 Secure Wraparound Services 10](#_Toc36456294)

[2.7 Staff, Equip, and Supply Site 11](#_Toc36456295)

[2.8 Operate Site 11](#_Toc36456296)

[2.8.1 Roles and Responsibilities 12](#_Toc36456297)

[2.8.1.1 Site Manager 12](#_Toc36456298)

[2.8.1.2 Law Enforcement 12](#_Toc36456299)

[2.8.1.3 Safety Officer 13](#_Toc36456300)

[2.8.1.4 Chief Medical Officer 13](#_Toc36456301)

[2.8.1.5 Public Health Representative 13](#_Toc36456302)

[2.8.1.6 Wraparound Services Contractor 14](#_Toc36456303)

[2.8.1.7 Medical Team 14](#_Toc36456304)

[2.8.1.8 Logistics and Administrative Staff 15](#_Toc36456305)

[2.8.1.9 Ambulance Services 15](#_Toc36456306)

[2.8.1.10 Personal Protective Equipment (PPE) Coordinator 15](#_Toc36456307)

[2.8.1.11 Public Affairs/Information Officer 16](#_Toc36456308)

[2.8.1.12 Case Management Team 16](#_Toc36456309)

[2.8.2 Site Flow Plan 16](#_Toc36456310)

[2.8.3 Site Security Plan 18](#_Toc36456311)

[2.8.4 Site Communications Plan 19](#_Toc36456312)

[2.8.5 On-site Plan for Caregivers and Family Members 19](#_Toc36456313)

[2.9 Restore Site 19](#_Toc36456314)

[3. Reporting and Records Management Requirements 19](#_Toc36456315)

[3.1.1 Reporting Requirements 19](#_Toc36456316)

[3.1.2 Medical Record Requirements 20](#_Toc36456317)

[4. Contact Information for Technical Inquiries and Lessons Learned 20](#_Toc36456318)

[Appendix A: Acronyms and Abbreviations 20](#_Toc36456319)

[Appendix B: Alternate Care Site Checklist 23](#_Toc36456320)

[Appendix C: Wraparound Services Checklist 26](#_Toc36456321)

[Appendix D: Sample ACS Schematic 30](#_Toc36456322)

[Appendix E: Sample Statement of Work for Wraparound Services 31](#_Toc36456323)

[Appendix F: Sample Fire Safety Plan 41](#_Toc36456324)

[Appendix G: Sample Patient Intake Form 42](#_Toc36456325)

[Appendix H: Sample Patient Instructions 43](#_Toc36456326)

[Appendix I: Sample Wellness Check Form 46](#_Toc36456327)

[Appendix J: Sample Site Photos 47](#_Toc36456328)

[SUPPLEMENT 1: Additional Guidance for General (non-acute) Care ACS Model 53](#_Toc36456329)

[SUPPLEMENT 2: Additional Guidance for Acute Care ACS Model 101](#_Toc36456330)

[Alternate Care Site Guide 133](#_Toc36456331)

## Purpose and Scope

This Alternate Care Site (ACS) Toolkit was developed by the U.S. Government to help state, local, tribal and territorial (SLTT) entities to address potential shortages in medical facilities during the 2020 COVID-19 pandemic. It should not be viewed as comprehensive and final. This Toolkit should be adapted and amended to accommodate the unique circumstances of each ACS. It was adapted from the HHS Federal Medical Station Concept of Operations. It is intended to provide technical assistance to SLTT entities in establishing and operationalizing alternate care sites.

This Toolkit provides a general blueprint for an ACS that could be used by other federal agencies, states, or local jurisdictions to establish a similar capability. This blueprint details the type and level of care provided, the various roles and responsibilities of the necessary personnel, and the development, operation and demobilization of the ACS. Supporting documents for the foundational ACS model may be found in appendices to this document.

With modification, the basic foundation of the ACS could be enhanced or otherwise modified to serve as:

1. **General (non-acute) Care**: General, low‐level care for mildly to moderately symptomatic COVID‐19 patients. This includes patients that may need oxygen (less than or equal to 2L/min), who do not require extensive nursing care, and who can generally move about on their own.
2. **Acute Care**: Higher acuity care for COVID‐19 patients.  This level includes critical care, emergency care, and advanced cardiovascular life support (ACLS).

Additional guidance for the staffing and equipping of each of these specific models can be found in the supplements.

### Concept

ACS are structures of opportunity created to provide a safe and comfortable setting where patients can be isolated and monitored during the COVID-19 pandemic. The safety of patients, care providers, and the general public is the main priority.

ACS are located in hotels, National Guard armories, gymnasiums, civic sports centers, schools, health clubs (only if equipment can be moved/removed), convention centers, and community centers dormitories, ships, etc. within close proximity to hospital systems. These buildings make ideal structures of opportunity for the ACS mission for a number of reasons. For example, these structures have the ability to house patients individually and have scalable room capacity to support an increase of patients, as necessary. Some also have the potential for individual heating, ventilation, and air-conditioning (HVAC) units, which can limit the spread of the virus between rooms.

The life cycle of the typical ACS begins with identification and establishment of the site by federal, state, or local personnel in conjunction with the state public health and medical authority over 48-72 hours. Once a site is established, staff and services can be supplemented by contractors, allowing for withdrawal of federal or state medical and law enforcement assets to leave behind just a sentinel onsite team.

### ACS Decision Framework

The decision to incorporate an ACS into the COVID-19 response is one part of a multi-modal strategy. The decision framework below provides suggested guidance on whether to utilize an ACS and which type (General (non-acute) Care or Acute Care model) will best meet the needs of the healthcare system.

#### Can your healthcare system benefit from an ACS?


Your healthcare system should consider establishing an ACS if you answer “yes” to any or all of the following questions:

* Does your jurisdiction or healthcare system have an anticipated or current *need* for additional surge capacity or capability?
* Does your jurisdiction or healthcare system has *ability to support* additional non-traditional facilities as part of the healthcare system?
* Does your jurisdiction or healthcare system have *ability to staff* an additional healthcare site using traditional or non-traditional medical providers?

#### Which ACS model would best meet the needs of your location?

|  |  |
| --- | --- |
| **General (non-acute) Care Model** | **Acute Care Model** |
| Capacity building (increase beds) | Capability building (increase ventilators) |
| Requires minimal structural alteration | Requires significant structural alteration |
| Lower cost | Higher cost |
| Operational in 72 hours | Operational > 72 hours |
| Basic level care | Advanced level care |
| ED/Mid-level Providers | ICU/Critical Care Providers |
| Designed for minimal acuity patients requiring minimal activities of daily living (ADLs) support (e.g. COVID-positive with minimal symptoms or require <2L of oxygen) | Designed for higher acuity patients requiring closer monitoring or respiratory support (e.g. COVID-positive with pneumonia or respiratory distress requiring ventilator support) |

### ACS Process Flowchart



## Procedures

### Identify Potential Sites

The following section outlines the broad recommended steps to establish an ACS footprint. See Appendix B: Alternate Care Site Checklist.

### Conduct Site Assessment

#### Physical Considerations

* Comply with the Architectural Barriers Act and Americans with Disabilities Act
* Should not be in the Special Flood Hazard Area (SFHA), but acknowledges that there may not be a practical location outside of the floodplain
* Must be capable of being adequately secured on perimeter
* Should not have structural issues or be in a state of unsafe disrepair
* Identify location for aeromedical transport if available/needed
* Should have a fire sprinkler system
  + If not, must conduct additional monitoring in accordance with local fire jurisdiction
* Should have elevator access for patients, if the building is more than one floor
* Should have a designated secure ambulation/exercise area for patients
* Should have a functional kitchen
* Should have bathrooms in each room
* Should have an individual HVAC in each room

#### Logistical Considerations

* Should be otherwise vacant of patrons
* Should allow for photocopier and printer setup
* Should be able to accommodate a tent or other structural barrier for ambulance arrival at entrance to protect patients’ privacy from photography/drones
  + Consider researching local drone laws during site assessment
* Should allow for the separation of patients who are persons under investigation (PUI) and those that have tested positive for COVID-19
* Should have a dedicated space for a 24/7 dispatch center with one dedicated phone number
* Should have separate areas for donning and doffing PPE
* Should be able to accommodate a team staging area at least 12 feet away from patients (e.g., hotel lobby)
* Should have an arrival and disinfecting/cleaning area for EMS

#### Operational Considerations

* Obtain building engineer contact information
* Walk site with building manager and engineer to understand key systems in the building and emergency procedures for each such as water, power, phone, internet for patients, and fire suppression systems
* Work with the local Fire Marshal to identify fire exits and ensure site floor plan is in step with evacuation plans as they are developed
* Walk through rooms to ensure clean linen, towels, refrigerators, etc. and identify what is already at the site and what will be provided by the wraparound service contractor
* Develop map layout of site with bed types, suite types, Americans with Disabilities Act-compliant (ADA-compliant) rooms, and adjoining rooms for family units
* Identify closed-circuit television (CCTV) systems in building and make sure that they are disabled with no way of reactivating them remotely
* Make sure cable and internet work on patient floors
* Understand site key system
  + Master keys for room access (need more than one for teams)
  + Keys made and labeled for all rooms to facilitate patient arrival and room check-in
  + Knowledge of how to make additional keys, including emergency override keys
* Find keys to lock out elevators to the lobby so patients do not show up in the lobby unannounced
* Close off all public bathrooms in anticipated patient areas due to infection control concerns
* Clean out any food in common areas
* If applicable, ensure pool area is secured or blocked off

#### Infection Prevention and Control Considerations

Consideration should be given to conducting surveillance for potentially transmissible infectious diseases (e.g., Infectious diarrhea) to ensure clusters are detected early and addressed.

For additional information on infection prevention and control consideration refer to the CDC website for the latest infection prevention and control recommendations at: <https://www.cdc.gov/coronavirus/2019-ncov/hcp/index.html>, including infection control considerations for ACS at: <https://www.cdc.gov/coronavirus/2019-ncov/healthcare-facilities/alternative-care-sites.html>

#### Pharmaceutical Considerations

All medical supplies should be stored in a secure, climate controlled area in close proximity to the patient treatment area. Most pharmaceuticals are labeled with storage temperatures. United States Pharmacopeia (USP) defines the various temperatures as:

* Controlled room temperature: 59 to 86 degrees Fahrenheit (F) or 15 to 30 degrees Celsius (C)
* Refrigerator: 36 to 46 degrees (F) or 2 to 8 degrees (C)
* Freezer: 32 degrees (F) and lower or O degrees (C) and lower

Pharmaceuticals that are stored at other than USP standard temperatures are considered to be "adulterated" and therefore unsuitable for human use. It is the responsibility of the SLTT to ensure that the cold chain storage is completed from deployment to arrival on scene. It is the responsibility of the Logistics section to ensure that the cold chain storage is maintained from that point forward.

### Secure Funding

Funding is generally secured after specific sites are identified. The ACS may be funded by the State or local government or may be funded by FEMA through the State and local government under a Direct Federal Assistance (DFA) (cost shared) mission assignment based on FEMA-State agreement.

### Secure Property

States often identify property that they already own. If not, they are responsible for securing the property through an agreement or lease. If the State will be receiving Federal Assistance, they must provide the lands, easements, and rights of way necessary to accomplish any approved modifications to the property.

### Convert Site for Healthcare Use

If site modifications are required to convert it for medical use, prepare a design and issue a contract for this work.

Alternately, FEMA may provide a mission assignment to have USACE issue the contract and manage the work.

### Secure Wraparound Services

The ACS setup process requires an orderly approach to ensure that the site footprint is properly configured for safe occupancy. It is important to adapt these basic principles to the realities of the specific site chosen. See Appendix C: Wraparound Services Checklist and Appendix D: Sample ACS Schematic.

**Critical actions include:**

* Obtain Wraparound services Contract. See Appendix E: Sample Statement of Work for Wraparound Services
* Ensure fencing is installed around perimeter to enforce the isolation and prevent unauthorized access to the site
* Ensure the site is secured with onsite guard force
* Establish the appropriate number of fire-compliant access points to the site depending on local regulations
* Establish a separate staging/ingress/egress point for patients and EMS
* Establish a separate ingress/egress point for staff
* Determine safe evacuation routes with designated rally point
* Establish Command Post/Administrative Area in Lobby or other suitable location.
* Delineate between Hot Zone/Operational Area and Clean/Support Area
  + Clearly mark with signage
  + Clearly designate Clean/Support Areas for both staff staging and PPE donning
  + Clearly identify Transition Area for PPE doffing
  + Clearly identify Hot Zone/Living Quarters in individual rooms for patients
* Designate separate floors for COVID-19-positive and COVID-19-negative/unknown patients
* Conduct safe isolation practices in common areas, stairwells, and elevators
* Utilize plastic dividers to effectively demarcate and reinforce site footprint
* Establish designated media area

### Staff, Equip, and Supply Site

Based on initial analysis of healthcare system need, select the staffing and equipment configuration for the site as either a General (non-acute) Care ACS Model or Acute Care ACS Model.

Refer to Supplement 1 for General (non-acute) Care ACS Model and Supplement 2 for Acute Care ACS Model.

### Operate Site

ACS management focuses on the operation of a safe and comfortable setting where patients can be isolated and monitored during the COVID-19 pandemic. Ensure that all onsite staff are provided with proper oversight and supervision. Ensure that patients under quarantine/isolation orders (and release criteria) is based on most current CDC guidance.

ACS assets should be capable of rapid integration into and interoperability within the community's existing healthcare infrastructure. As such, ACS operations should be deliberate and synchronized for maximum efficiency and effectiveness. Linkage of the site to the adjacent healthcare system should include a communications networking strategy and telemedicine options. From the selection of an ACS site to contracting logistical site support requirements, every effort should be made to rapidly achieve operational capability and effective integration and interoperability. All applicable SLTT jurisdiction statutory, regulatory, and related authorities, policies and other governing documents should be observed. If they compete, the ACS Site Manager in coordination with SLTT governments should consult with their legal counsel to determine how to proceed.

#### Roles and Responsibilities

ACS site setup requires a variety of staff, services, and supplies along parallel lines of effort. These lines of effort include site oversight, site security, wraparound support, EMS transport, site safety evaluation, onsite medical care, public information messaging, patient/patient support, personal protective equipment (PPE), and case management. The steps below focus on a general model as blueprint for the establishment of an ACS site. All personnel involved with ACS facilities should be housed offsite, not at the site.

##### Site Manager

The ACS Site Manager serves as the site administrator and oversees site selection, setup, operations, and breakdown. It is critical for the Site Manager to be able to see the site through safety, security, medical, and logistical lenses. The responsibilities of the Site Manager include but are not limited to the following:

* Work with various points of contact to coordinate support capabilities;
* Develop site footprint;
* Coordinate with local health department, as needed;
* Establish face-to-face coordination with the Public Information Officer (PIO) during site setup;
* Ensure PIO is aware of patient/site status;
* Provide statements to press when necessary, ensuring appropriate privacy requirements are followed;
* Establish an Incident Management Team (IMT) structure for operations and connect at least twice a day with Operations, Logistics, and Command staff;
* Triage information to send to lead agency;
* Maintain site for duration of activation; and
* Provide and retain notification to patients of quarantine/isolation orders signed, and make copies for onsite security personnel;
* Ensure appropriate reporting and records management requirements are met.

##### Law Enforcement

A strong law enforcement presence is critical to initial setup of an ACS. Law enforcement officers (LEO) will help to guide a contract guard force, if one is present. The responsibilities of law enforcement at an ACS include but are not limited to the following:

* Perform site security assessment of site;
* Determine security needs of site in conjunction with local jurisdictions;
* Determine if site can be adequately secured for operations;
* Provide initial security footprint at site to Site Manager;
* Work with Medical Team, ambulance services, and local healthcare systems to determine routes to and from a hospital;
* Run hospital transport route with ambulance and security; and
* Coordinate and oversee contract guard force once in place.

##### Safety Officer

The ACS Safety Officer should work closely with local safety officials, such as the Fire Marshal, during site assessment and setup. A close working relationship with the Fire Marshal will help the Safety Officer ensure all evacuation plans are in line with local requirements to ensure patient and responder safety. Safety Officers must have knowledge of infection control practices.

The Safety Officer should work with the Fire Marshal on fencing issues that could impact fire department response plans as well as with the building engineer to ensure that the donning and doffing locations for PPE use two different ventilation systems to protect the health of all personnel. The responsibilities for the Safety Officer include but are not limited to the following:

* Develop plan for workplace exposures and illness among healthcare providers;
* Develop plan for the evacuation and relocation of non-acute patients and the need for shelter in place or specialize evacuation and relocation of acute care patients;
* V stands for velocity zone – high risk high hazard during a flooding event. Honestly sites in these kinds of zones should be working closely with the local hospital/care facilities because they will certainly have evacuation plans (thinking some of the Parishes in Louisiana, for example, where much of the land is in V zones…)
* Consider plan for potential future risks (hurricanes, etc.) including how to handle different types of patients;
* Conduct early assessment of site with local Public Safety Agencies (e.g., Fire, EMS, Police) and maintain ongoing liaison role;
* Assess final risk category for site;
* Monitor CDC guidance on the most up-to-date guidance for infection control;
* Implement blueprint for infection control protocols;
* Implement appropriate guidance for isolation;
* Maintain safe practices onsite and site evacuation plan; and
* Demonstrate appropriate knowledge/use of PPE, including donning and doffing procedures;
* Screen for required PPE; and
* Oversee fit testing, as needed.

##### Chief Medical Officer

The Chief Medical Officer (CMO) manages the medical oversight of the medical team, support personnel and patients. The ideal CMO would be a current medical practitioner with emergency care experience. The responsibilities of the CMO include but are not limited to the following:

* Monitor medical conditions of support personnel and patients;
* Monitor health of onsite team; and
* Review medical documentation for site.

##### Public Health Representative

The Public Health Representative works closely with the Site Manager and the CMO to help facilitate a smooth patient experience while maintaining the security and overall health of the site and personnel inside. The responsibilities for the Public Health Representative include but are not limited to the following:

* Keep security personnel and the medical team updated on the arrival or departure of patients and the type of transportation being used;
* Perform isolation standards inspection;
* Confirm site is conforming to latest quarantine/isolation guidance;
* Provide updates to Site Manager and CMO on when to expect incoming patients; and
* Ensure no gross violations of general sequestering protocol.

##### Wraparound Services Contractor

Due to the variation of contract requirements, wraparound services will differ at each ACS. Successful wraparound services will ensure patients are satisfied with their services and will be willing to adapt their processes and protocols to ensure successful execution of their contract. Potential responsibilities for wraparound services include but are not limited to the following:

* Linen and laundry service;
* Food preparation and delivery;
* Fencing;
* Contract security guards;
* Professional cleaning for each room after use;
* Porta-potties;
* Hand-washing stations; and
* Waste (to include medical waste and sharps) and garbage removal.

##### Medical Team

The medical team plays a crucial role in the execution of an ACS and may differ in structure depending on the state or locality setting it up and the medical mission of the ACS. However, all medical teams will provide a similar role for patient care. The medical team at an ACS will need to incorporate certain unique duties due to the COVID-19 situation. Responsibilities include:

* Follow patient monitoring protocol (e.g., take temperature of patient twice a day)
* Provide medical monitoring
* Perform intake/screening
* Deliver food to patients
* Assess patients
* Emergency medical response in the isolation zone
* Identify medical gear to be placed in the isolation zone
* Set up crash cart capability in the isolation zone
* Monitor chronic conditions
* Procure medication refills
* Deliver required care
* Deal with initial acute decompensation of patients
* Request ambulance transfer, if needed
* Assist with transfer of patients to ambulance
* Work with security team to create transport plan in case of decompensation
* Deliver food and packages to patients

##### Logistics and Administrative Staff

Logistics and administrative staff provide necessary 24/7 coverage for patients and medical personnel. They maintain constant contact with patients and resolve any non-medical requests that come up during patient care. They provide essential “front desk” services that are typically found in hotels. They also provide crucial communication between medical and non-medical staff and work to setup the ACS with the Site Manager to ensure smooth operations. Responsibilities include but are not limited to the following:

* Maintain Virtual Town Hall for patient updates;
* Staff a Dispatch Center including the switchboard, daily screening, and all incoming calls and requests;
* Deliver services directly to rooms (e.g., meals, prescription refills, online order deliveries, additional towels, blankets, pillows, etc.);
* Supply over-the-counter medications for patients (e.g., acetaminophen, ibuprofen, cough syrup, cough drops, etc.) with medical team permission; and
* Setup internet services if site cannot provide internet.

##### Ambulance Services

Ambulance services provide additional emergency response capabilities for the medical team to respond to medical emergencies and transport patients to and from the hospital. Ambulance service providers should work with the Site Manager, Law Enforcement, the Safety Officer, and the Medical Team to determine PPE needs, security transport requirements, and practice transport routes to the nearest medical facilities. If local EMS services are unable to meet the need, consider contracting with a private ALS EMS provider for dedicated services. Ambulance services responsibilities include but are not limited to the following:

* Provide onsite ambulance for emergency transport;
* Identify closest definitive care site;
* Establish a location/capability for air transport, if needed;
* Provide reliable transportation of patients to hospital when needed; and
* Practice transport routes to hospital with security team.

##### Personal Protective Equipment (PPE) Coordinator

For ACS sites dealing with COVID-19 or other infectious disease, all personnel working at the site should be trained and competent on the use of all PPE. Personnel should be fit-tested as part of respiratory protection program for N95 respirators. The PPE Coordinator will serve as the lead in ensuring that staff are appropriately trained on the indications and use of PPE and should audit donning and doffing of PPE to ensure it is being done correctly. They should also define PPE requirements for specific parts of the facility, and will determine any changes in PPE requirements over the mission. The same PPE Coordinator can also perform this function for contract staff. Responsibilities include but are not limited to the following:

* Determine required PPE for unique site demographics;
* Coordinate with the CMO for any required medical screening of personnel prior to usage of PPE;
* Acquire PPE; and
* Fit test and certify all site personnel, including contracting staff.

##### Public Affairs/Information Officer

The Public Affairs Officer/Public Information Officer (PAO/PIO) is a critical role to provide communication on the ACS to command staff, local PIOs, and the public, as needed. Each command structure will have its own preference for notification of the PAO/PIO through the command staff, but the establishment of the position is necessary for a public-serving site like an ACS. Responsibilities include but are not limited to the following:

* Provide messaging for site to command staff, local PIOs, media, and the public, as needed;
* Handle onsite press arrivals and coordinate with local jurisdictions, as needed; and
* Interact with state and local jurisdictions regarding coordination of site.

##### Case Management Team

The Case Management Team acts as a liaison between patients, medical staff, non-medical staff, command staff, and families. They provide crucial services to ensure patients have the resources they need, are comfortable, and have their needs addressed in a timely manner. The team also provides support, including mental health, to responders. Their responsibilities include but are not limited to the following:

* Help organize patient transport once released;
* Assist with family connections to facilitate transport home;
* Staff an additional behavioral health specialist to monitor personnel at site; and
* Staff a hotline phone at the front desk to liaise with patient requests.

#### Site Flow Plan

* Develop Site Emergency Plans for key contingencies, such as:
  + Fire Safety Plan. See Appendix F: Sample Fire Safety Plan
  + Medical decompensation of a patient requiring emergency care and transport
  + Compromised staff PPE and exposure requiring decontamination
  + Emergency evacuation from the site to designated rally point (e.g. fires)
  + Running routes from site to local hospital for medical transports
  + Panic button protocol for patients (in the event of a fall, acute needs, etc.)
* Ensure all personnel and practices are consistent with CDC guidance on PPE
  + Calculate on an ongoing basis the PPE to care for **(# of pts) x (# of days)**
    - CDC PPE calculator is available at: <https://www.cdc.gov/coronavirus/2019-ncov/hcp/ppe-strategy/burn-calculator.html>
  + Ensure all personnel are fit-tested for PPE including law enforcement/guard presence
  + Ensure that assigned personnel are provided appropriate PPE and training in proper use
* Ensure communication linkage to receive advance pre-arrival notification of individuals to site
  + Coordinate with EMS Dispatch
  + Coordinate with discharging hospitals
* Ensure coordinated site access control plan
  + Consider using identification tags, colored tape, or colored wristbands for approved personnel allowed onsite
  + Set up fencing around perimeter
  + Stand up pop-up tents for privacy in key areas (e.g. ambulance arrival)
  + Establish onsite security/law enforcement presence
* Ensure clear medical reception plan to receive patients in ambulance staging
* Post Triage Flow Poster for staff; sample triage flow language can include the following:
  + Greet and welcome patient
  + Apply identification bracelet
  + Identify name, cell phone number, date of birth, home origin, country, state, and veteran status (if applicable)
  + Medical history:
    - Current history of present symptoms including: cough, fever, head or body aches, chest pains
    - Current medications including: last dose taken, need for refills, availability of medication, allergies, smoking status, date and location of COVID-19 testing, date of leaving last location
  + Obtain temperature and, if appropriate, SpO2 and heart rate
  + Document any dietary restrictions
  + Assign patient a room based on testing results
  + Instruct patient on how to reach front desk
  + Review room restrictions and fresh air plan
  + Provide patient instructions handout
  + Escort patient to room with belongings
  + Disinfect equipment, chair, table, and any touched surface including: staircase, railings, and elevator if used
* Complete Patient Intake Form. See Appendix G: Patient Intake Form
* Distribute standardized Patient Instructions. See Appendix H: Sample Patient Instructions
* Ensure clear path of patient movement through the site from arrival to room placement
* Ensure onsite communication net to control different parts of the operation (e.g., radios)
* Conduct a daily Virtual Town Hall to keep patients apprised of site status
* Designate an area for patients to spend time outside of their rooms while preserving isolation practices
  + Consider outdoor patios, courtyards, etc.
* Develop combined protocol to coordinate food delivery and conduct Daily Wellness Checks, based on keeping patients isolated in their individual rooms. See Appendix I: Sample Wellness Check Form
  + Temperature checks with no-touch thermometers
  + Patient food delivery 3 times/day with ability to modify for dietary and religious needs
* Coordinate with Swab Teams to laboratory-test patients as indicated
* Coordinate with Site Manager and Case Managers for patient disposition needs

#### Site Security Plan




Figure 1: Sample Site Security Map

* Obtain local/federal law enforcement support (dependent on state/federal quarantine or isolation)
* Coordinate with federal, state and local law enforcement in the operational area
  + Meet with the law enforcement shift supervisor every day
  + Discuss arrest and disturbance procedures with law enforcement supervisor in conjunction with the security lead
  + Develop procedures for investigation of suspicious activity at the site
  + Obtain mechanisms to channel intelligence regarding threats to the operation
  + Plan on how LEOs will respond to low to mid-level policing requests at the site
  + Allow onsite LEOs to mitigate the immediate threats and allow full investigations to take place afterwards
  + Coordinate with local law enforcement PIO to manage local media arriving on scene
* Coordinate with local fire department/EMS department(s) in the operational area
  + Meet with fire department chief officer when establishing the ACS
  + Meet with local Fire Marshal as needed
  + Conduct a site walkthrough with the local fire crew to go over internal procedures and to understand the fire/EMS procedures in the event of a fire or emergency
  + If local EMS services are unable to meet the need, consider contracting with a private ALS EMS provider for dedicated services
  + Coordinate with a senior official representing the EMS vendor and any hospital affiliations
* Perform Site Security Assessment
* Develop an Operations Plan
  + Relay site specific security requirements to medical team
  + Provide PPE for LEOs based on guidance by CDC
  + Review use of force issues
  + Verify scope of authority
  + Establish communications systems (e.g. onsite radios)
  + Ensure fencing/barriers
    - Maintain the integrity of fences and barriers
* Work with contractor regarding private security requirements
  + PPE fit testing
  + Armed vs. less lethal
  + Ability to expand numbers to accommodate hospital details
* Integrate security into the Unified Command for site
* Coordinate with the Safety Officer for the responding medical team
  + Participate in evacuation planning
  + Understand routine LEO response and fire/EMS response procedures
* Work with the CDC or Health Department to verify proper legal documentation is maintained

#### Site Communications Plan

Communication flow and accurate information are critical to effective decision-making. A standardized framework for communications that is capable of ensuring continuous and uninterrupted communications is critical. It is based on the concepts of interoperability, reliability, scalability, portability, and addresses the need for resiliency and redundancy of communications and information systems. Plain language and common terminology should be used. Codes should not be used, and all communications should be confined to essential messages. Use of acronyms should be limited and clarified for safety. Communications equipment should be issued by the SLTT Logistics. Both equipment and protocols are subject to change based upon technological advances, emerging operational requirements, and lessons learned. Communications systems should be:

* Interoperable: able to communicate within and across agencies and jurisdictions as required;
* Reliable: able to function in the context of any kind of emergency;
* Portable: built on standardized radio technologies, protocols, and frequencies;
* Scalable: suitable for use on a small or large scale as the needs of the incident dictate;
* Resilient: able to perform despite damaged or lost infrastructure; and
* Redundant: able to use alternate communications methods when primary systems go out.

#### On-site Plan for Caregivers and Family Members

During displacement due to catastrophic incidents, some patients may present to an ACS along with their home healthcare provider or other caregiver(s). Family members may want to remain together, especially if one member has a need for medical care or treatment.

Policies on family members residing in the ACS with a patient vary by state and should be considered and incorporated into ACS planning.

### Restore Site

Once established, ACS will maintain continuous operations. Endpoint for the site is appropriate disposition of all patients from isolation protocol. The onsite team will maintain the site until site is deactivated or the responsibility is turned over to another appropriate authority. The site will require standard decontamination cleaning in accordance with CDC guidelines prior to turning it back over.

## Reporting and Records Management Requirements

#### Reporting Requirements

Upon achieving initial operating capability (IOC) and throughout the duration of operations, each ACS should provide reports to the SLTT to inform the Common Operating Picture (COP).

Reporting recommendations include details regarding ACS response and recovery activities, at a minimum:

* Number of ACS beds (and cots) occupied;
* Number of ACS beds (and cots) available;
* Number of non-medical attendants (family members or caregivers who are not patients);
* The types of patients being cared for and common disease states encountered;
* Existing or anticipated issues relating to personnel, security, logistics sustainment, or operational capabilities (e.g., personnel, the ACS site or wrap-around services, etc.) other than those already identified/submitted for resolution.

#### Medical Record Requirements

Electronic Medical Records (EMR) may be used at ACS locations. The records maintained by this system and application should adhere to guidelines, applicable legal authorities, and guidance governing the routine collection, use, and storage of personal and patient related data.

Paper medical records may be used as an alternative and should adhere to the same applicable legal authorities and guidance governing the routine collection, use, and storage, of personal information.

## Contact Information for Technical Inquiries and Lessons Learned

* All SLTT entities are encouraged to modify all information contain in this Toolkit to meet the needs of each entity.
* For technical inquiries, please contact your HHS Regional Emergency Coordinators or FEMA Regional Administrators.

Additional information and downloadable tools can be found online at: <https://www.usace.army.mil/Coronavirus/Alternate-Care-Sites/>

## Appendix A: Acronyms and Abbreviations

Table 1: Acronyms and Abbreviations

|  |  |
| --- | --- |
| **Acronym** | **Literal Translation** |
| ACS | Alternate Care Sites |
| ADA | Americans with Disabilities Act |
| ADL | Activities of daily living |
| ASPR | Assistant Secretary for Preparedness and Response |
| CCTV | Closed-Circuit Television |
| CDC | Centers for Disease Control and Prevention |
| CMO | Chief Medical Officer |
| CONOPS | Concept of Operations |
| DMAT | Disaster Medical Assistance Team |
| DoD | Department of Defense |
| EMS | Emergency Medical Services |
| ESF | Emergency Support Function |
| FMS | Federal Medical Service |
| HHS | Health and Human Services |
| HVAC | Heating, Ventilation, and Air-Conditioning |
| ICU | Intensive Care Unit |
| IMT | Incident Management Team |
| LCSW | Licensed Clinical Social Worker |
| LEO | Law Enforcement Officers |
| MLK | Mobile Lifesaving Kit |
| MSW | Masters in Social Work |
| PAO | Public Affairs Officer |
| PAR | Personal Accountability Report |
| PIO | Public Information Officer |
| PPE | Personal Protective Equipment |
| PUI | Person Under Investigation |
| SOFR | Safety Officer |
| U.S. | United States |
| USMS | United States Marshals Service |

## Appendix B: Alternate Care Site Checklist

Site name \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Phone number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Site point of contact \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Phone number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address ­\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ County \_\_\_\_\_\_\_\_\_\_\_ State \_\_\_\_\_\_\_\_\_ Zip \_\_\_\_\_\_\_\_\_\_\_\_

Geo coordinates \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Nearest hospital name / address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Nearest hospital name / address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Structure construction type \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

How many parking spaces for staff \_\_\_\_\_\_\_ trucks \_\_\_\_\_ daily cost \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Loading docks: Yes No Location ­­\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Entry door 48” or greater with no obstructions: Yes No

Location \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Sidewalks ADA compliant: Yes No Helipad: Yes No

Location \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Perimeter lighting \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Entry door locks and have panic bars for exit from inside: Yes No

How many restrooms (1 / 20 people):

Men \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ADA compliant \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Women \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ADA compliant \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

How many showers (3 people / hour / 24 hours):

Men \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ADA compliant \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Women \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ ADA compliant \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Hot water (120 degrees – 6 gallons per patient)

Number of tanks \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Size of tanks (gallons) \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Flooring type \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Protective covering available: Yes No Pallet Jack permitted on flooring: Yes No

Bariatric capable: Yes No

Staff billeting prearranged on-site: Yes No

Site POC \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Local hotels \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ within \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ miles

Pharmacy has a separate room with locking door/limited access: Yes No

Refrigerator size \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Freezer size \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Kitchen facilities: Yes No Available for staff: Yes No

Electrical

40 Amp, 480 volt, 3 phase, 80 Amp Service

200 Amp, 120/240 volt, 3 phase)

Power coming into site

Volts \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Amps \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Phase \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Number of outlets \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Back-up generator on-site: Yes No

Operational: Yes No

Type \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

KW \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Phase \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Volt \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Number of outlets dedicated to generator power \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Fuel on-site: Yes No

Amount in gallons \_\_\_\_\_\_\_\_\_\_\_\_ burn rate \_\_\_\_\_\_\_\_\_\_\_ gallons/hour \_\_\_\_\_\_\_\_\_\_\_

HVAC operational in entire site: Yes No

Location of shut-off valve ­­­­­­­­­­­­­­\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Flood Zone \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Shelter in place areas \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Evacuation areas \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

## Appendix C: Wraparound Services Checklist

Site name \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Phone number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Site point of contact \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Phone number \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address ­\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

City \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ County \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ State \_\_\_\_\_\_\_\_\_\_\_\_ Zip \_\_\_\_\_\_\_\_\_\_\_\_

Geo coordinates \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Nearest hospital name / address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Nearest hospital name / address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Capacity \_\_\_\_\_\_\_\_\_\_ Primary power source \_\_\_\_\_\_\_\_\_\_ Restrooms \_\_\_\_\_\_\_\_\_\_


Helo Pad Yes No Alternate/Back-up power ADA Restrooms

GPS coordinates Available Yes No Showers

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Wrap-around services** | **Quantity** | **Organization name / location** | **POC for service contract information** | **Timeframe in place by** | **Status** | **Comments** |
| Building requirement |  |  |  |  |  | 250-bed = 40K sq. ft.  100-bed = 25K sq. ft.  50-bed = 15K sq. ft. |
| Lease / MOU for use of site |  |  |  |  |  | On-file at: |
| Staffing |  |  |  |  |  |  |
| Security inside (24-hr) |  |  |  |  |  |  |
| Security outside (24-hr) |  |  |  |  |  |  |
| Total occupants  beds / staff / security |  |  |  |  |  |  |
| Billeting for staff |  |  |  |  |  | On-site  On-site list local hotels in comments at end of form |
| Fire Suppression |  |  |  |  |  | System operational |
| Secure room |  |  |  |  |  | For pharmacy |
| Parking for staff |  |  |  |  |  |  |
| Parking for trucks |  |  |  |  |  |  |
| Electrical distribution |  |  |  |  |  | Uninterrupted service for 40+ outlets |
| HVAC |  |  |  |  |  | Operational for entire site |
| Heat |  |  |  |  |  | Operational for entire site |
| Ventilation |  |  |  |  |  | Operational for entire site |
| Set-up labor |  |  |  |  |  |  |
| Forklift |  |  |  |  |  | Operate on pavement |
| Pallet jack |  |  |  |  |  | Permitted to operate on floor |
| Toilet |  |  |  |  |  | 1 / 20  ADA compliant |
| Showers |  |  |  |  |  | 3 persons per hour for 24hrs  ADA compliant |
| Hot water |  |  |  |  |  |  |
| Hand washing station |  |  |  |  |  |  |
| Meals |  |  |  |  |  |  |
| Drinking water |  |  |  |  |  |  |
| Ice |  |  |  |  |  |  |
| Oxygen |  |  |  |  |  |  |
| Medical resupply |  |  |  |  |  |  |
| Lab arrangement with local hospital |  |  |  |  |  | To conduct lab |
| Lab arrangement with local lab |  |  |  |  |  | To conduct lab |
| Transportation for outpatient services |  |  |  |  |  |  |
| Waste removal |  |  |  |  |  | Normal day-to-day waste |
| Biohazard waste removal |  |  |  |  |  | Daily pickup |
| Cleaning services |  |  |  |  |  | Common areas, restrooms, showers |
| Laundry |  |  |  |  |  | Service for 250 set of clothes daily for patients / caregivers |
| Washer / Dryer |  |  |  |  |  | 5 each for emergency laundry service |
| Wi-Fi |  |  |  |  |  | No interference or signal shielding |
| Telephone service |  |  |  |  |  | Number of lines into site |
| EMS / ALS ambulance |  |  |  |  |  |  |
| Mortuary services |  |  |  |  |  |  |
| Additional comments | | | | | | |

## Appendix D: Sample ACS Schematic



## Appendix E: Sample Statement of Work for Wraparound Services

This sample SOW is being sent to all field operations to give everyone visibility on what services we have been providing through XXX. Your site may vary by specification, counts, start and end dates, etc.

**Emergency Response Service Support (ERSS)**

**Statement of Work (SOW)**

**Task Order SAMPLE ONLY Mod N/A**

1. **INTRODUCTION**

The contractor shall provide the following services under the Emergency Response Service Support (ERSS) contract to support the Department of Health and Human Services (DHHS)/Assistant Secretary for Preparedness and Response (ASPR). The services will be for meals, laundry transportation and rooms for up to 120 people for up to 20 days at location listed below (1.2). See section 1.2 below for the dates of services. Demobilization will occur on the day following the last day of service.

1.1 **Services:** All services required by site shall be provided as noted below in (1.2) and final cleaning and demobilization will occur on the day following the last day of service (see chart below for dates of service). Services may include: delivery to each room with individually wrapped catered meals and beverages (see 2.0 chart); transportation to/from the lodging to airport (see 2.2 chart); ALS and/or BLS Ambulance service may be requested to reside on site to transport ill patients to designated medical site/s or airport (see 2.3 chart); perimeter fencing, lighting and barriers (see 2.7 chart); facilities management (see 2.9 chart); laundry pickup from each room and delivery laundry services to each room to include linen exchange (see 2.6 chart); custodial services (see 2.4 chart); biomedical waste removal (see 2.5 & 2.8 charts); and HVAC with generator power and equipment fueling/serving as defined in 2.11 (see 2.11 chart).

1.2 **Support Locations**:

|  |  |
| --- | --- |
| **Name/Location** | **Support Dates** |
|  |  |
|  |  |
|  |  |
|  |  |

1. **REQUIREMENTS**

2.1 **Catered Meals and Beverages**: (PARA 19.3/19.6)

2.1.1 The Contractor shall provide drinking water: Bottled water should be provided with every meal (breakfast, lunch and dinner) (PARA 19.6.1b{4}) of this TO SOW. Additional bottled water shall be provided to ensure each person is provided a minimum of 2 liters per day.

2.1.2 The Contractor shall provide meals: Hot meals three times per day (breakfast, lunch, dinner and daily snack, coffee bar) delivered to lodging location and specifically to each room in (TO SOW Paragraph 1.2). Meals shall be nutritionally balanced and varied daily with servings of meat, vegetables, and starches. Meals Times: Breakfast: 08:00 AM, Lunch: 12:00 PM, Dinner: 6:00 PM. Any dieting or dietary restrictions shall be conveyed per site. On the final day lunch may be required at an earlier time and a bag lunch maybe required. Dinner may or may not be needed for the final day.

|  |  |  |
| --- | --- | --- |
| **Name/Location** | **Meal Type** | **Quantity** |
| Holiday Inn Express | Breakfast | 120 |
| Lunch | 120 |
| Snack | 120 |
| Dinner | 120 |
|  | Breakfast |  |
| Lunch |  |
| Snack |  |
| Dinner |  |
|  | Breakfast |  |
| Lunch |  |
| Snack |  |
| Dinner |  |
|  | Breakfast |  |
| Lunch |  |
| Snack |  |
| Dinner |  |
|  | Breakfast |  |
| Lunch |  |
| Snack |  |
| Dinner |  |

2.2 **Transportation**: The Contractor shall provide vehicle transportation as noted in chart below to lodging locations (TO SOW Paragraph 1.2) and designated international airport provided by ASPR onsite or regional representative. (PARA 19.15). The contractor shall provide baggage handling support (staffing & equipment) in moving passenger baggage as noted in the chart below (PARA 19.15).

Buses will be utilized for transportation of travelers from XXX to local billeting and or airport locations. Stage all buses at or near the location listed above for the potential moves as directed by the Deputy Federal Health Coordinating Officer (DFHCO).

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Name/Location** | **Vehicle Type** | **Quantity** | **Date/s** | **Start Time** | **End Time** |
| Holiday Inn Express | 15-PAX Shuttle Van | 0 |  |  |  |
| 30-PAX Minibus | 0 |  |  |  |
| 56-PAX Coach | 0 |  |  |  |
| Other | 0 |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

Baggage handlers will provide the offloading of baggage from the cruise ship and uploading of baggage to either busses or airplanes. At locations XXX the baggage handlers will provide the unloading of baggage from the airplane, transport from airfield to the billeting location, and offloading of baggage at billeting location. See chart below for details by site.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Name/Location** | **Number of Passengers** | **Quantity of Planes** | **Quantity of luggage** | **Start Time** | **End Time** |
| Holiday Inn Express | 0 |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

2.3 **Ambulance**: Location, Quantity, Types, Schedules noted in chart below.

* + 1. Be equipped to transport patients exhibiting symptoms related to Coronavirus.
    2. Ambulance will be required to transport patients to a predetermined hospital (TBD) within XX miles of the XXXX station. Replace ambulance on site for coverage within one (1) hour of departure of the first ambulance when transport is required as directed by the CO and COR through the onsite IMT. The contractor must notify the CO when 75% of the funding is remaining on the Contract Line Item Number (CLIN) for the replacement ambulances.

2.3.3 Transit destination site solely determined by the government through the CO and COR.

* + 1. Furnish all labor, management, travel, supplies, equipment, materials, and vehicles to perform the work described herein, unless otherwise specifically stated.
    2. Comply with applicable federal, state, and local laws, regulations, and guidance; and perform all work in accordance with these requirements and any applicable agreements.

2.3.6 Provide a dispatch-managed standby full service transportation 24 hours a day. The Contractor shall manage dispatch requirements, transport schedules and requests for transport to ensure timely transportation.

* + 1. Maintain a serviceable transportation fleet that meet DOT inspection standard, service ADA loading and unloading equipment, and appropriate safety equipment such as fire extinguishers, breakdown markers. Operators must be properly licensed in accordance with federal and state requirements, to operate in the county.
    2. Must be license to transport to and pick up from local hospitals.
    3. Provide courteous customer service during operations and driver or and assistant should be able to assist non-ambulatory clients in and out of vehicles, and assist into facilities if other support is not available, if required by the patient.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Name/Location** | **Vehicle Type** | **Quantity** | **Date/s** | **Start Time** | **End Time** |
| Holiday Inn Express | BLS Ambulance (2-EMTs, 1-Driver) | 0 |  |  |  |
| ALS Ambulance (2-EMT-Ps, 1-Driver) | 0 |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |

2.4 **Custodial Services**: The Contractor shall provide house cleaning service and daily waste removal to community housing occupants at lodging locations, as noted in chat below (TO SOW Paragraph 1.2) and dispose at authorized trash sites per local laws. (PARA 19.20) Waste should be disposed of in accordance with PARA 19.13.1.

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Name/Location** | **Total Patients** | **Total Rooms** | **Cleaning Type** | **Start Time** | **End Time** |
| Holiday Inn Express | 120 | 120 | Daily | 1100 | 1400 |
| 120 | 120 | Final | Start after patients depart | Complete NLT 2330 on final day |
|  |  |  |  |  |  |
|  |  |  |  |  |

2.5 **Biomedical Bodily Fluids Cleanup:** The contractor shall provide biomedical bodily fluid removal as required. This will be added via option CLIN and funded as noted in chart below. If more incidents are need they will be added via modification.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Name/Location** | **Total Events Funded** | **Total Rooms** | **Cleaning Type** | **Remarks** |
| Holiday Inn Express | 2-Per Day | All | Biomed | As required |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

2.6 **Laundry Services**: The Contractor shall perform laundry operations for community housing occupants at lodging locations (TO SOW Paragraph 1.2) as stated in section 19.71 and noted in chart below. (PARA: 19.7). Contractor will initially provide two (2) sets of linens for all patients. All individuals may not require laundry service every day, but it should be available daily. (Wash and fold). All laundry must be returned by the evening of the day prior to the end of the period of performance.

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Name/Location** | **Laundry  Pick-Up** | **Number Of Patients** | **Cleaning Type** | **Remarks** |
| Holiday Inn Express | Daily | 120 | Fluff-N-Fold | Pick-up and return to central location |
| Final | 120 | Fluff-N-Fold | Must be returned by 1700 prior to departure day |
|  |  |  |  |  |
|  |  |  |  |

2.7 **Perimeter Fencing**: The Contractor shall provide perimeter fencing or crowd control barriers with personnel and vehicle gates to create and maintain zones and separations as defined by the government. (PARA: 19.29.7) see chart below for locations and linear feet required.

|  |  |
| --- | --- |
| **Name/Location** | **Linear Feet Required** |
| Holiday Inn Express | 1,500 |
|  |  |
|  |  |
|  |  |
|  |  |

2.8 **Biomedical Waste Removal**: The Contractor shall provide routine pickup of biomedical waste items (biohazard, medical/surgical, expired and partly used pharmaceuticals) at government occupied sites or facilities and disposal of such items per Federal and state laws. Service shall include all sharps containers and red bags at designated locations. (PARA: 19.13).

|  |  |
| --- | --- |
| **Name/Location** | **Frequency** |
| Holiday Inn Express | As Required |
|  |  |
|  |  |
|  |  |
|  |  |

2.9 **Facilities Management**: The Contractor shall provide on-call Operations and Maintenance (O&M) Services such as plumbing and handy-man repairs to maximize life expectancy of government occupied sites or facilities. (PARA: 19.27).

|  |  |
| --- | --- |
| **Name/Location** | **Service Required**  **(Yes/No)** |
| Holiday Inn Express | Yes |
|  |  |
|  |  |
|  |  |
|  |  |

2.10 **Final/Exit Day Cleaning:** Cleaning rooms and common areas will be a requirement at end of mission. Routine cleaning is required. If this changes during the task order period of performance, a modification will be issued for this change. Full final cleaning to comply with CDC guidelines after site shut down.

|  |  |
| --- | --- |
| **Name/Location** | **Date** |
| Holiday Inn Express | 04/05/20 |
|  |  |
|  |  |
|  |  |
|  |  |

2.11 **HVAC:** (reference: basic contract SOW para-19.10.2): Provide HVAC units, cabling, ducting and power generation/fueling capable of cooling/heating in accordance with industry standards. (4-tons per 400s.f.).

|  |  |
| --- | --- |
| **Name/Location** | **Number HVAC Units** |
| Holiday Inn Express | 0 |
|  |  |

2.12 Americans with Disabilities Act (**ADA) compliant Latrines, Showers and Ablution units (19.29.8/19.28.9)**: Provide trailer mounted Latrines and Showers for both male and female patients (note: anticipate 50/50 gender requirement) see chart below for needs by site. Must meet OSHA minimum requirements for capacity. Facilities must provide privacy and come with internal lighting, toilet paper, paper towels, and liquid soap. Provide daily custodial cleaning services two times per day to clean and replace supplies (toilet paper etc.). Contractors must provide their own water supply and waste removal. Comply with the 2010 ADA Standards for Accessible Design to the greatest extend possible. Additional information can be found online at: <https://www.ada.gov/2010ADAstandards_index.htm>2.12.1 All units shall be fully serviced once weekly, or as site capacity requires, or as directed by the COR.

2.12.2 All wastewater if generated shall be collected with vacuum trucks, transported offsite, and disposed of through legally permissible methods.

2.12.3 When available, public utilities shall be utilized pending authorization with local authorities vetted (by the local IMT) through the CO and COR.

2.12.4 Ten percent (10%) of restroom facilities must be ADA compliant.

2.12.5 The Contractor shall ensure the toilets are adequately stocked with toilet paper.

2.12.6 The Contractor shall ensure the hand wash stations remain stocked with water, hand soap and paper towels and cleanliness maintained at all times.

2.12.7 Disposal trucks shall maintain a service schedule to remove the wastewater and portable toilets from the site and transport offsite to dispose of at a permitted treatment site. Local utilities shall be used if available.

|  |  |  |  |
| --- | --- | --- | --- |
| **Name/Location** | **Hand Washing Stations** | **Latrines** | **Showers** |
| Holiday Inn Express | 10 | 10 | 0 |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

2.13 **Light Tower with Generator:** Provide light towers (4,000 watt min) with generator to include fueling services. Quantity needed per site listed in chart below.

|  |  |
| --- | --- |
| **Name/Location** | **Number Light Towers** |
| Holiday Inn Express | 10 |
|  |  |
|  |  |
|  |  |
|  |  |

1. **GOVERNMENT FURNISHED EQUIPMENT/PROPERTY**

No Government furnished equipment/Property will be provided.

## Appendix F: Sample Fire Safety Plan

FIRE SAFETY INSTRUCTIONS

* Site Safety Office has implemented a 24-hour fire watch at this site
* Medical personnel and or Safety Officer (SOFR) will carry out this responsibility, and radio any issues that are identified
* Security stationed around the sire will radio any observed issues
* If a fire is confirmed via patient, the following procedures will take place:
  + Site Dispatch will call 911 and communicate over the radio that 911 has been called
  + Fire Watch will begin knocking on doors of the impacted building ([number] patient buildings and [number] administration buildings on site)
  + Front Gate Security and the Site Manager will meet the fire department and provide access
  + Below items can occur simultaneously:
    - Site Dispatch [phone number] will help to identify patients in affected building(s)
    - An “all hands on deck” will be called with the building number(s) affected
  + Personnel working inside the Q zone will assist patients to the designated primary safe zone (or another location within the Q zone as appropriate)
  + All personnel on site (with the exception of perimeter security) will stand by to support surge needs including donning personal protective equipment (PPE), then assist patients from the impacted buildings to:
    - Primary and secondary egress points that have been identified on site map
    - Conduct Personal Accountability Report (PAR) checks with Patient Accountability and personnel

## Appendix G: Sample Patient Intake Form

**Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Time:\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ DOB: \_\_\_\_\_\_\_\_\_\_ Room #\_\_\_\_\_**

**Country of Origin: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ If US, State of Residence: \_\_\_\_\_\_\_\_**

**Veteran’s Status Yes / No**

**Previous COVID Testing Yes / No Date of Collection: \_\_\_\_\_\_\_\_\_\_\_ Result:\_\_\_\_\_\_\_\_**

**Medical History:**

**Allergies:**

**Current Meds:**

**Vital Signs: Temp \_\_\_\_\_\_\_\_ B/P \_\_\_\_\_\_\_\_ HR \_\_\_\_\_\_\_ Resp \_\_\_\_\_\_ POx\_\_\_\_\_\_\_**

**Abnormal Findings:**

## Appendix H: Sample Patient Instructions

**<Name of Hotel>**

**Resident Information**

**<DATE>**

During your stay, providing you with access to accurate and up-to-date information is important to us. We are providing you with the following information to assist you during your stay. We welcome the opportunity to answer any questions that you may have. There may be questions that we cannot answer, but be assured that we will diligently work with our partners to get responses to you as soon as possible. We are here to assist you during your stay. We thank you for your patience.

**Important Reminders:**

* We request that each of you remain in your room at all times until we finalize a plan that will allow scheduled visits outdoors.
* Should you require assistance, please contact the staff by dialing “0” on the room telephone.
* We must adhere to Center for Disease Control (CDC) requirements and <state> laws and regulations that may prevent us from meeting some requests. We apologize for the inconvenience that this may cause for you and your family, and we acknowledge the difficulties you have each been experiencing.
* Twice a day, you will be visited by someone who will obtain your temperature and ask a series of questions about how you are feeling. Please note that it is very important for us to know if you begin to feel ill while you are here. If, at any time, you begin to feel ill, please contact the front desk by dialing “0” on the room telephone.

**Medical Emergencies:**

If you experience a medical emergency during your stay, call the front desk by dialing “0” from your room telephone. Please provide your name and room number. We have medical personnel on site and able to respond to your needs.

**Meals**

Meals are provided to you at no charge and will be brought to your room. If you have any special dietary needs or requests, please contact the front desk by dialing “0” on your room telephone, and we will work to accommodate your needs.

* Breakfast will be brought to your room approximately between 7am and 8am.
* Lunch will be brought to your room approximately between 12pm and 1pm.
* Dinner will be brought to your room approximately between 5pm and 6pm.
* If you are hungry at other times, we have a limited selection of snacks and other foods for you. For more information, please call the front desk by dialing “0” from your room telephone.

**Food Safety**

* Store all leftover food in sealed containers and place immediately into your room refrigerator.
* Reheat all your food within 24-48 hours.
* Only reheat food one time. Reheating food multiple times increases the risk of food poisoning.
* Make sure the food is hot and thoroughly reheated before eating. If you are unsure about the food safety, do not eat it.

**Laundry**

* We will let you know the days and times for laundry pickup.
* Bedsheets, linens and towels.

1. Place these items in the bag provided to you
2. Place the bag outside your door for pickup.
3. Clean bedsheets, linens and towels will be placed outside your door.

* Clothing

1. Place all dirty clothes in a bag provided to you. This will be a different bag than the one for the bedsheets, linens and towels.
2. Place this bag outside your door for pickup.
3. When these are cleaned, dried and folded, they will be returned by placing them outside your door.

**Please note that your clothes will be washed in hot water with a strong detergent to optimize environmental infection control within the site.**

**Trash Pickup**

Please place all trash into a trash bag that will be provided to you and put the trash bag outside your room by 12:30pm. If you need trash picked up at other times, please call the front desk by dialing “0” on your room telephone.

**Room Maintenance**

Please help us by cleaning your room while you are staying here. We will provide cleaning supplies for you. Vacuum cleaners, in these circumstances, cause more problems than they prevent, so they will not be provided. Please try keep the floor as clean as possible.

**Pharmacy**

Prescription refills can be obtained by calling one of the pharmacies at:

<Local Pharmacy Contact Information>

If you request a refill from one of the pharmacies, please contact the front desk by dialing “0” from your room telephone so we can pick up your prescription refill.

If you have no refills left on your current prescription, please contact the front desk by dialing “0” from your room telephone, and we will have a medical doctor assist you.

In either event, you will need to arrange to pay for the medications.

**Telephone**

People can telephone you by calling the main telephone number for the hotel, which is (xxx) xxx-xxxx and asking for you by name or your room number. To protect your privacy, we will not give out your room number to any caller, nor will we tell any caller that you are here. Callers will need to give us your name or room number in order for us to transfer the call to you.

You can make calls to people outside of the hotel by dialing 9 and then the area code and telephone number that you wish to call.

**Internet Access**

The hotel has w-fi. Connect to *<Wi-Fi >*. A password is not needed to connect to this Wi-Fi network.

**Mail and Shipping**

Orders can be placed through businesses and the items shipped to the following address

*Your own name and room number*

<Hotel Address>

Remember to include your name and room number in the above address so we can bring your package to you.

**Please do not order anything that will not arrive before you leave here.**

**Centers for Disease Control and Prevention (CDC)**

For general information related to coronavirus, please refer to the CDC website:

<https://www.cdc.gov/coronavirus/2019-ncov/index.html>

**Support**

Are you feeling stressed, overwhelmed or depressed? Do you need to talk to someone? We are here to listen, <name> MSW LCSW can be reached by dialing the front desk “O”.

## Appendix I: Sample Wellness Check Form

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | **Last Name** | **First Name** | **AGE** | **Room #** | **AM TEMP** | **PM TEMP** | **COMMENTS** |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |

## Appendix J: Sample Site Photos

Figure 1: Site Perimeter Fencing

****

Figure 2: Dedicated PPE Donning Area

****

Figure 3: Sample Plastic Barrier to Isolation Zone Area

****

Figure 4: Lobby as Administrative Area

****

Figure 5: Posted Triage Flow Instructions


****

Figure 6: Mobile Laundry Tent/Trailer Set-Up

****

## SUPPLEMENT 1: Additional Guidance for General (non-acute) Care ACS Model

**There are two size options for the General (non-acute) Care ACS Model:**

* 50-bed footprint
* 250-bed footprint

**50-Bed Footprint**

|  |  |
| --- | --- |
| **Medical Staffing for 50-bed footprint** | **24 hours** |
| Physician | 2 |
| Advanced providers (PA / NP) | 4 |
| Patient Care Providers (Combination of Nurses / Intermediate Care Technicians / EMTs / Paramedics) | 20 |
| **Total** | **26** |

Note on Personal Protective Equipment

Based on the current COVID-19 situation and availability of PPE, CDC has specific recommendations PPE use. Please refer to current CDC guidance to ensure that all staff (e.g., security, support staff, logistics, medical providers) caring for patients with COVID-19 have appropriate PPE. PPE is a component of an overall infection prevention and control strategy that includes administrative and environmental controls in addition to hand hygiene, PPE and other measures to ensure safe provision of care and limiting the risk of nosocomial spread of infection. Please refer to CDC current guidance for infection prevention and control strategies.

It is recommended that each site measure amount of PPE at the beginning and end of each day and monitor the burn rate of PPE on a daily basis. The online [CDC Personal Protective Equipment (PPE) Burn Rate Calculator](https://www.cdc.gov/coronavirus/2019-ncov/hcp/ppe-strategy/burn-calculator.html) is a spreadsheet-based model that provides information for healthcare facilities to plan and optimize the use of PPE for response to coronavirus disease 2019 (COVID-19). This tool can also be used for planning PPE use outside the context of COVID-19, where PPE shortages may also occur due to supply chain issues related to the COVID-19 response (e.g. manufacturing facilities).

Based on previous experience the table below is a reference for the potential burn rate of PPE for a General (non-acute) Care 50-bed site for 10 days.

|  |  |  |
| --- | --- | --- |
| **Item** | **Qty** | **Unit of measure** |
| XL Exam Gloves 14-680C | 3000 | each |
| L Exam Gloves 14-678C | 4000 | each |
| M Exam Gloves | 4000 | each |
| Small Exam Gloves | 4000 | each |
| 3 M 1860 Respirators (Regular) | 4000 | each |
| 3M 1860 Respirators (Small) | 3000 | each |
| 10 Pack Cover Gowns | 60 | 10-Pack |
| Earloop Surgical Mask | 40 | Box |
| Face Shields | 1000 | each |
| Hand Sanitizer 937916 | 100 | Bottles |
| Yellow Isolation Gowns (XL) | 2000 | each |
| Yellow Isolation Gowns (l) | 2000 | each |
| Coveralls (non Tyvek) | 2000 | each |
| Tyvek Coveralls (XL) | 200 | each |
| Tyvek Coveralls (L) | 200 | each |
| Tyvek Coveralls (M) | 200 | each |

|  |  |  |
| --- | --- | --- |
| **General (non-acute) Care / 50-bed / Medical-Biomed Recommendations** | | |
| **Description** | **Unit of Measure** | **Quantity** |
| AED, Defibrillator | EA | 1 |
| Aneroid, BP Cuff, Adult | EA | 2 |
| Aneroid, BP Cuff, Adult | EA | 1 |
| Aneroid, BP Cuff, Adult | EA | 1 |
| Aneroid, BP Cuff, Child | EA | 2 |
| Aneroid, BP Cuff, Child | EA | 1 |
| Aneroid, BP Cuff, Child | EA | 1 |
| Aneroid, BP Cuff, Infant | EA | 2 |
| Aneroid, BP Cuff, Infant | EA | 1 |
| Aneroid, BP Cuff, Infant | EA | 1 |
| Aneroid, BP Cuff, Obese | EA | 2 |
| Aneroid, BP Cuff, Obese | EA | 1 |
| Aneroid, BP Cuff, Obese | EA | 1 |
| Anti-Microbial Solution, 4%, 32 oz. | PKG | 1 |
| Arm Bands, Staff ID | EA | 100 |
| Aspirator, Portable w/ Charger | EA | 1 |
| Backboard (Adult) w/ Straps | EA | 1 |
| Backboard (Child) w/ Straps | EA | 1 |
| Bag, Ambu, Adult, Disposable w/ mask | EA1 | 6 |
| Bag, Ambu, Infant, Disposable w/ mask | EA1 | 1 |
| Bag, Ambu, Pediatric, Disposable w/mask | EA1 | 2 |
| Bag, Biohazard Specimen | EA1 | 1000 |
| Bag, Body (Adult) | PKG | 1 |
| Bag, Body (Child) | EA | 10 |
| Bag, Hamper | EA | 12 |
| Bag, Infectious Waste | EA | 300 |
| Bag, Patient Belongings | EA | 50 |
| Bag, Patient Belongings | EA | 50 |
| Bag, Trash, Liner, Clear | EA | 500 |
| Bag, Urinary Meter, 500mL | PKG | 1 |
| Bag, Urinary, Drainage | PKG | 1 |
| Band, ID (Adult) | EA | 250 |
| Band, ID (Child) | PKG | 1 |
| Basin, Emesis | EA | 50 |
| Basin, Emesis | EA | 250 |
| Basin, Wash | EA | 100 |
| Battery Pack, AED Defibrillator | EA | 1 |
| Battery, Alkaline, Size C | EA | 16 |
| Battery, Alkaline, Size D | EA | 40 |
| Bed, Bariatric (Set) | EA | 1 |
| Bed, Bariatric (Set) | EA | 1 |
| Bed, Bariatric (Set) | EA | 1 |
| Bed, Bariatric (Set) | EA | 1 |
| Bed, Bariatric (Set) | EA | 1 |
| Bed, Hospital, Adjustable | EA | 1 |
| Bed, Hospital, Adjustable | EA | 1 |
| Bed, Westcot (Standard) | EA | 5 |
| Bed, Westcot (Standard) | EA | 5 |
| Bed, Westcot (Standard) | EA | 5 |
| Bed, Westcot (Standard) | EA | 5 |
| Bed, Westcot (Standard) | EA | 5 |
| Bed, Westcot (Standard) | EA | 5 |
| Bed, Westcot (Standard) | EA | 5 |
| Bed, Westcot (Standard) | EA | 5 |
| Bed, Westcot (Standard) | EA | 5 |
| Bed, Westcot (Standard) | EA | 5 |
| Bedpan | 050 | 1 |
| Bedpan | 050 | 1 |
| Binder, 3 Ring, 1" | EA | 5 |
| Binder, 3 Ring, 2" | EA | 5 |
| Binder, 3 Ring, 3" | EA | 5 |
| Binder, 3 Ring, 3" | EA | 1 |
| Blanket, Cotton | EA | 25 |
| Blanket, Cotton | EA | 25 |
| Blanket, Cotton | EA | 30 |
| Blanket, Emergency | EA | 25 |
| Blanket, Emergency | EA | 25 |
| Blanket, Emergency | EA | 30 |
| Blanket, Space (Mylar) | EA | 250 |
| Blanket, Wool Blend | EA | 54 |
| Book, Record | EA | 2 |
| Bottle, Nursing, Starter, Kit | EA | 6 |
| Bottle, Spray, Quart, w/Trigger | EA | 6 |
| Box, File Storage w/Lid | EA | 25 |
| Brief, Adult, Bariatric | EA | 128 |
| Briefs, Ultra, Adult, Large | EA | 72 |
| Briefs, Ultra, Adult, Medium | EA | 96 |
| Briefs, Ultra, Adult, Small | EA | 90 |
| Briefs, Ultra, Adult, X-Large | EA | 60 |
| Broom, Push (Two Piece) | EA | 1 |
| Broselow Bag (Ped Resuscitation Sys.) | EA | 1 |
| Bucket, 3 Gallon, Pour Spout, w/Handle | EA | 3 |
| Bucket, Mop, w/Ringer | EA | 2 |
| Bulb, Light, 120v, RS 60W | PKG | 4 |
| Bulb, Light, Perimeter Flood Lighting | EA | 2 |
| Bungee Cord Assortment | EA | 10 |
| Cable Ties, Black | PKG | 1 |
| Calculator, Metric Conversion | EA1 | 3 |
| Can, Trash, Lid, Red, 32 Gallon | EA | 3 |
| Can, Trash, Red, 32 Gallon | EA | 3 |
| Cane, Quad (700 lbs) | EA | 5 |
| Canister, Suction Tubing | EA | 50 |
| Canister, Suction, 800cc | 012 | 2 |
| Cannula Tubing (Adult) | EA | 500 |
| Cannula Tubing (Child) | EA | 50 |
| Case, Contact Lens | EA | 6 |
| Catheter, Foley Tray, 6 FR (Child) | EA | 10 |
| Catheter IV, 18G X 1 1/4", Green Safety Tip | PKG | 0 |
| Catheter IV, 20G X 1 1/4", Pink Safety Tip | PKG | 4 |
| Catheter IV, 22G X 1 " | PKG | 2 |
| Catheter IV, 24G X 3/4" | PKG | 2 |
| Catheter Kit, Foley Tray,16fr, Closed System | EA | 100 |
| Catheter Kit, Foley Tray,18fr, Closed System | EA | 10 |
| Catheter Plug & Drain Tube Protector | EA1 | 100 |
| Catheter, Self, 18FR (Robnell) | EA | 10 |
| Catheter, Urinary, External Large | PKG | 2 |
| Catheter, Urinary, External Medium | PKG | 2 |
| Catheter, Urinary, External Small | PKG | 2 |
| Caviwipes | EA | 2 |
| Chart Holder, Patient, Plastic | EA | 25 |
| Chart Holder, Patient, Plastic | EA | 25 |
| Chart Holder, Patient, Plastic | EA | 15 |
| Chart, Pain, Childrens | EA | 1 |
| Chest, Ice 48 QT | EA | 2 |
| Cleaner, Floor, Powdered | EA | 1 |
| Clipboard, 9" x 12.5" | EA | 5 |
| Clipboard, 9" x 12.5" | EA | 5 |
| Clips, Binder, Medium | PKG | 5 |
| Clips, Binder, Medium | PKG | 1 |
| Clips, Paper, Jumbo | PKG | 3 |
| Clips, Paper, Jumbo | PKG | 1 |
| Comb, Two-Sided | EA | 60 |
| Commode, Bedside | EA | 1 |
| Commode, Bedside (1000 lbs) | EA | 5 |
| Compressor, Pulmo-Aide, Aerosol | EA | 2 |
| Container, Action Packer | EA | 1 |
| Container, Specimen | PKG | 1 |
| Cot, Toddler | EA | 5 |
| Cover, Shoe, Non Skid | EA | 400 |
| CPAP Machine | EA | 5 |
| CPAP Machine | EA | 1 |
| Crib, Portable | EA | 5 |
| Cup, Denture w/ Lid | EA | 5 |
| Cup, Denture w/ Lid | EA | 50 |
| Cup, Hot / Cold, 12 oz. | EA | 1000 |
| Cup, Medicine | PKG | 2 |
| Cup, Toddler | EA | 12 |
| Cutlery Combo Pack | PKG | 2 |
| Cylinder, Oxygen (D) | EA | 5 |
| Cylinder, Oxygen (E) | EA | 7 |
| Cystoscopy Irrigation Set | PKG | 1 |
| Diapers, Baby (Medium Size 3) 12-24 Lbs. | EA | 48 |
| Diapers, Baby, (Large - Size 4) | EA | 40 |
| Diapers, Baby, (Small - Size 2) | EA | 84 |
| Diapers, Baby, (XXLarge - Size 6) | EA | 15 |
| Disinfectant, Cleaning (Microcide) | PKG | 1 |
| Divider, Binder, Alphabet | EA | 5 |
| Divider, Binder, Alphabet | EA | 1 |
| Dolly, Handtruck | EA | 1 |
| Dolly, Trash Can | EA | 3 |
| Door Stop, Rubber | EA | 3 |
| Drape, Disposable (Sterile) | PKG | 1 |
| Dressing, DuoDERM | PKG | 6 |
| Ear Plugs (PR) | EA | 300 |
| Easel, Flip Board | EA | 2 |
| EDS 120V Extension Cable with Twist Lock Black Connectors, 50ft | EA | 10 |
| EDS 120V Wall Outlet Adapter Cable, 1.5ft w/Black Plugs | EA | 4 |
| EDS Outlet Tester (Red) | EA | 1 |
| Electrodes, Defibrillation, Infant/Child | EA | 1 |
| Electrodes, Defribrillation, Adult | EA | 2 |
| Envelope, Manila, 9" x 12" | PKG | 2 |
| Feminine Hygiene Kit | KT | 1 |
| Fire Extinguishers | EA | 2 |
| Flashlight | EA | 12 |
| Flashlight | EA | 1 |
| Folder, Manila | PKG | 1 |
| Glasses, Safety (Large) | EA | 20 |
| Glasses, Safety (Small) | PKG | 1 |
| Gloves, Exam, Nitrile, Powder Free, Large | EA | 400 |
| Gloves, Exam, Nitrile, Powder Free, Large | EA | 100 |
| Gloves, Exam, Nitrile, Powder Free, Large | EA | 200 |
| Gloves, Exam, Nitrile, Powder Free, Medium | EA | 400 |
| Gloves, Exam, Nitrile, Powder Free, Medium | EA | 100 |
| Gloves, Exam, Nitrile, Powder Free, Medium | EA | 200 |
| Gloves, Exam, Nitrile, Powder Free, Small | EA | 400 |
| Gloves, Exam, Nitrile, Powder Free, Small | EA | 100 |
| Gloves, Exam, Nitrile, Powder Free, Small | EA | 200 |
| Gloves, Surgeons, Sterile, Non-Latex, Size 6.5 (PAIR) | EA | 25 |
| Gloves, Surgeons, Sterile, Non-Latex, Size 7.0 (PAIR) | EA | 25 |
| Gloves, Surgeons, Sterile, Non-Latex, Size 7.5 (PAIR) | EA | 100 |
| Gloves, Surgeons, Sterile, Non-Latex, Size 7.5 (PAIR) | EA | 25 |
| Gloves, Surgeons, Sterile, Non-Latex, Size 8.0 (PAIR) | EA | 25 |
| Gloves, Surgeons, Sterile, Non-Latex, Size 8.5 (PAIR) | EA | 25 |
| Glucometer, Lancets | PKG | 8 |
| Glucometer, One Touch Ultra II, Test Strips | PKG | 2 |
| Glucometer, One Touch, Ultra II | EA | 2 |
| Gown, Patient, Child (Large) | EA | 24 |
| Gown, Patient, Child (Medium) | EA | 24 |
| Gown, Patient, Child (Small) | EA | 24 |
| Gown, Patient, Obesity | PKG | 5 |
| Gown, Provider, Impervious | EA | 100 |
| Hamper, Stand, Single | EA | 2 |
| Hand Sanitizer, Foam | EA | 120 |
| Head Set, Magnifying Glass and Light | EA | 1 |
| Headlamp, LED | EA | 2 |
| Headlamp, LED | EA | 1 |
| Hi-Lighter Pack | PKG | 1 |
| Humidifier | EA | 2 |
| Irrigating Kit, Type 1, w/Syringe | PKG | 2 |
| IV Administration Set | EA | 50 |
| IV Set (Child) | EA | 50 |
| IV Starter Kit (Adult) | PKG | 2 |
| Jug, Collapsible, 5 Gal. | EA | 2 |
| Kit Wound Dressing | EA | 12 |
| Labels, 1" x 3" | EA | 2000 |
| Labels, 1" x 3" | PKG | 4 |
| Lid, Cup, Hot / Cold, 12 oz. | PKG | 1 |
| Light, Goose Neck | EA | 12 |
| Lighting, Perimeter Flood | EA | 4 |
| Litter Stands, Support, Pair | EA | 1 |
| Litter, De-Con Mesh Type | EA | 1 |
| Lubricant, Surgical | PKG | 12 |
| Marker, Expo, 6/set w/ eraser | EA | 2 |
| Marker, Expo, 6/set w/ eraser | EA | 1 |
| Marker, Fine Point (sharpie) | EA | 24 |
| Mask, Cone (3M) | EA | 120 |
| Mask, CPAP (Large) | EA | 5 |
| Mask, CPAP (Large) | EA | 1 |
| Mask, CPAP (Medium) | EA | 5 |
| Mask, CPAP (Medium) | EA | 1 |
| Mask, CPAP (Small) | EA | 5 |
| Mask, CPAP (Small) | EA | 1 |
| Mask, Duck (Regular) | EA | 35 |
| Mask, Duck (Small) | EA | 35 |
| Mask, Non-Rebreather (Adult) | PKG | 1 |
| Mask, Non-Rebreather (Child) | EA | 50 |
| Mask, Surgical | EA | 150 |
| Mask, Surgical | EA | 50 |
| Mask, Surgical | EA | 50 |
| Mask, Surgical | EA | 50 |
| Mask, Surgical | EA | 100 |
| Mat, Child | EA | 5 |
| Meter, Peak Flow | EA | 10 |
| Meter, Peak Flow, Mouthpiece (Adult) | EA | 100 |
| Meter, Peak Flow, Mouthpiece (Peds) | EA | 100 |
| Mop, Wet, Handle | EA | 2 |
| Mop, Wet, Head | EA | 6 |
| Name Badge/Holder | PKG | 1 |
| Needle, Hypodermic, 20G x 1 1/2" | EA | 1000 |
| Notepads, White | PKG | 2 |
| Notepads, White | PKG | 1 |
| OB KIT | EA | 2 |
| Ostomy, Closed - End Pouch | PKG | 1 |
| Ostomy, Drainable Pouch | PKG | 1 |
| Ostomy, Wafer | PKG | 1 |
| Oxygen Concentrator | EA | 5 |
| Oxygen Cylinder Cart | EA | 12 |
| Oxygen Nebulizer, Handheld | PKG | 1 |
| Oxygen, Cylinder, Wrench | EA | 12 |
| Oxygen, Hose | EA | 6 |
| Oxygen, Manifold (Minilator) | EA | 6 |
| Oxygen, Regulator, D | EA | 15 |
| Oxygen, Tubing, 100' | EA | 6 |
| Oxymeter, Pulse | EA | 12 |
| Oxymeter, Pulse, Carrying Case | EA | 12 |
| Pacifiers, Orthodontic, Silicone (Large) | EA | 18 |
| Pack, Cold (Instant) | EA | 1 |
| Pack, Warm Solar-First Aid Size | PKG | 1 |
| Pad, ABD | EA | 1 |
| Pad, Chux, Absorbent | EA | 50 |
| Pad, Chux, Absorbent | EA | 50 |
| Pad, Convoluted (Egg crate) | EA | 8 |
| Pad, Easel | PKG | 2 |
| Pads, Gauze (Sterile) | EA | 3000 |
| Pads, Mattress, Crib | EA | 80 |
| Pallet, Hand Jack | EA | 1 |
| Paper, Copy 8.5 x 11 (1 ream) | PKG | 5 |
| Paper, Copy 8.5 x 11 (1 ream) | PKG | 1 |
| Paste, Stomahesive 2oz | EA | 2 |
| Patient lift, 1000 lb, Hydraulic | EA | 1 |
| Pens, Standard, Black / Blue | BX | 5 |
| Pens, Standard, Black / Blue | BX | 1 |
| Pillow | EA | 50 |
| Pillow | EA | 50 |
| Pillow | EA | 51 |
| Pillow Case, Disposable | EA | 50 |
| Pillow Case, Disposable | EA | 200 |
| Pillow Case, Disposable | EA | 50 |
| Pillow Case, Disposable | EA | 100 |
| Plugs, Child Protective | EA | 30 |
| Power Cord, Electric, 100' | EA | 6 |
| Power Cord, Electric, 50' | EA | 7 |
| Power, Outlet Box, 6-Outlet Surge Type w/Cord | EA | 12 |
| Prep Pad, Alcohol | PKG | 1 |
| Privacy Screen, 3 Fold Panel | EA1 | 15 |
| Protective Underwear Pullups, Large | EA | 72 |
| Protective Underwear Pullups, Medium | EA | 80 |
| Protective Underwear Pullups, Small | EA | 88 |
| Protective Underwear Pullups, XLarge | EA | 56 |
| Protectors, Paper Sheet, Non-Glare | 050 | 3 |
| Protectors, Paper Sheet, Non-Glare | 050 | 2 |
| Razor, Disposable | EA | 100 |
| Rope Nylon | EA | 1 |
| Safety Pin, Large | PKG | 1 |
| Safety Pin, Large | PKG | 1 |
| Safety Pin, Medium | PKG | 1 |
| Scissor, Lister | EA | 1 |
| Scissor, Lister | EA | 3 |
| Scissors | EA | 2 |
| Set, Gravity Feeding | PKG | 1 |
| Shampoo, Personal | EA | 50 |
| Sharps Container, Large | EA | 3 |
| Sharps Container, Large | EA | 1 |
| Sharps Container, Small | EA | 10 |
| Sharps Container, Small | EA | 1 |
| Shaving Cream | EA | 150 |
| Sheet, Bed, White, Disposable | EA | 50 |
| Sheet, Bed, White, Disposable | EA | 200 |
| Sheet, Bed, White, Disposable | EA | 50 |
| Sheet, Bed, White, Disposable | EA | 100 |
| Shield, Face | EA | 96 |
| Shower Seat w/Back | EA | 1 |
| Shower Seat w/Back (700 lbs) | EA | 5 |
| Sign Language Board | EA | 1 |
| Slide Board, PT Transfer | EA | 1 |
| Soap, Bar | EA | 50 |
| Soap, Lotion | PKG | 3 |
| Stand, IV | EA | 10 |
| Staple Remover | EA | 3 |
| Staple Remover | EA | 1 |
| Stapler | EA | 3 |
| Stapler | EA | 1 |
| Staples | CS | 3 |
| Staples | CS | 1 |
| Station, Hand Wash, Wheelchair Accessible | EA | 1 |
| Step Stool | EA | 1 |
| Stethoscope | EA | 1 |
| Stethoscope | EA | 3 |
| Stickers, Kids | EA | 1 |
| Stockinette 4" Roll | EA | 2 |
| Straw, Drinking | EA | 1000 |
| Stretcher, Bariatric (guerney) | EA | 1 |
| Stretcher, IV Rod | EA | 1 |
| Suction Catheter 14 FR | EA | 1 |
| Suture Kit, Laceration Tray | EA | 16 |
| Syringe, Luer-Lock, 5cc | EA | 600 |
| Syringe, Luer-Lock, Disposable 10cc | EA | 400 |
| Syringe, Piston 60cc | BX | 1 |
| Table, Folding | EA | 9 |
| Tag, Triage | PKG | 1 |
| Tape Dispenser w/ 6 rolls of tape | EA | 3 |
| Tape Dispenser w/ 6 rolls of tape | EA | 1 |
| Tape, Coban, 1" | EA | 30 |
| Tape, Coban, 4" | EA | 18 |
| Tape, Duct | EA | 5 |
| Tape, Electrical | EA | 2 |
| Tape, Masking | EA | 12 |
| Tape, Medipore 2" | EA | 12 |
| Tape, Surgical, Durapore 1" | EA | 24 |
| Tarp, Blue | EA | 4 |
| Thermometer, Bat Powered w/Probe (Welch Allyn) | EA | 3 |
| Thermometer, Probe Cover (Welch Allyn) | EA | 1000 |
| Thermometer, Probe Cover (Welch Allyn) | EA | 100 |
| Tissue, Facial | EA | 72 |
| Tissue, Facial | EA | 50 |
| Toilet Brush & Cup Combo | EA | 3 |
| Toilet Paper | EA | 80 |
| Toilet Paper | EA | 50 |
| Tongue Depressor | PKG | 1 |
| Tongue Depressor | PKG | 2 |
| Tool Kit | EA | 1 |
| Toothbrush, Adult | EA | 36 |
| Toothbrush, Adult | EA | 50 |
| Toothbrush, Child | EA | 10 |
| Tourniquets | EA | 1 |
| Tourniquets | EA | 1 |
| Towel, Bath, Cotton | EA | 50 |
| Towel, Bath, Cotton | EA | 60 |
| Towel, Bath, Cotton | EA | 50 |
| Towel, Bath, Cotton | EA | 72 |
| Towel, Folded, Paper | EA | 50 |
| Towel, Folded, Paper | EA | 24 |
| Towel, Folded, Paper | EA | 1 |
| Towel, Paper Roll | CS | 1 |
| Transfer Bench w/ Back, 700lb | EA | 5 |
| Trauma Pack, Back Pack, Empty | EA | 1 |
| Trauma Pack, Back Pack, Full | EA | 1 |
| Trauma Pack, Bag, Empty | EA | 1 |
| Trauma Pack, Bag, Full | EA | 1 |
| Tray, Tracheostomy Care Kit | PKG | 1 |
| Tube, Nasal Gastric (14FR) | EA | 1 |
| Tube, Nasal Gastric (16FR) | EA | 1 |
| Tube, Yankauer | PKG | 1 |
| Tubing, CPAP | EA | 5 |
| Tubing, CPAP | EA | 1 |
| Urinal, Male, Disposable | EA | 50 |
| Walker, 300lbs | EA | 1 |
| Walker, 700lb | EA | 5 |
| Wash Cloth, Cotton, White | EA | 50 |
| Wash Cloth, Cotton, White | EA | 50 |
| Wash Cloth, Cotton, White | EA | 75 |
| Wash Cloth, Disposable, Face | EA | 2500 |
| Wash Cloth, Disposable, Face | EA | 500 |
| Water, Sterile | EA | 20 |
| Wedge, Foam | EA | 2 |
| Wheel Kit, Walker, 700lb | EA1 | 10 |
| Wheelchair, 22" | EA | 1 |
| Wheelchair, 24" | EA | 1 |
| Wheelchair, 26" | EA | 2 |
| Wheelchair, 26" | EA | 1 |
| Wheelchair, 26" | EA | 2 |
| Wheelchair, 18" | EA | 1 |
| Wipes, Baby | EA | 12 |

|  |  |  |
| --- | --- | --- |
| **General (non-acute) Care / 50-bed / Pharmacy Recommendations** | | |
| **Item Description** | **Unit of Measure** | **Qty** |
| Acetaminophen Infant Drops 100mg/1mL, 15mL | Each | 1 |
| Acetaminophen Oral Susp. 160mg/5mL, 120mL | Each | 1 |
| Acetaminophen Suppositories 120mg | Each | 2 |
| Acetaminophen Suppositories 325mg | Each | 2 |
| Acetaminophen Tablets 325mg | Each | 80 |
| Acetaminophen w/Codeine Tablets 300mg/30mg UD | Each | 20 |
| Acetazolamide Tablets 250mg | Each | 20 |
| Acyclovir Capsules 200mg | Each | 40 |
| Adenosine Inj. 3mg/mL, 2mL vial | Each | 3 |
| Afterbite Bee Sting | Each | 1 |
| Albendazole Tablets 200mg | Each | 6 |
| Albuterol Inhalation Solution 0.083%, 3mL ampoule | Each | 20 |
| Albuterol Metered Dose Inhaler, HFA | Each | 5 |
| Albuterol Sulfate Syrup 2mg/5mL, 480mL | Each | 1 |
| Alcohol Prep Pad | Each | 40 |
| Allopurinol Tablets 100mg | Each | 20 |
| Alteplase 50mg Vial (29 mil units) | Each | 1 |
| Amiodarone HCl Inj., 150mg/3mL vial | Each | 5 |
| Amiodarone HCl Tablets 200mg | Each | 20 |
| Amlodipine Tablets 5mg | Each | 40 |
| Amoxicillin Capsules 250mg | Each | 100 |
| Amoxicillin Oral Susp. 250mg/5mL, 150mL | Each | 1 |
| Amoxicillin/Clavulanic Oral Susp. 200mg/28.5mg/5mL, 100mL | Each | 2 |
| Amoxicillin/Clavulanic Tablets 875mg/125mg | Each | 20 |
| Amphetamine Mixed Salts Capsules XR 5mg | Each | 20 |
| Ampicillin Sodium Inj. 1gm vial | Each | 2 |
| Antacid Liquid Regular Strength 12oz. | Each | 1 |
| Antipyrine/Benzocaine Otic Solution | Each | 1 |
| Artificial Tears Ophthalmic Solution, 15mL | Each | 1 |
| Aspirin Chewable Tablets 81mg | Each | 90 |
| Aspirin Tablets 325mg | Each | 100 |
| Atenolol Tablets 50mg | Each | 20 |
| Atropine Sulfate Inj. 0.1mg/mL, 10mL syringe | Each | 2 |
| Azithromycin Suspension 200mg/5mL, 30mL | Each | 2 |
| Azithromycin Tablets 250mg, 3 x 6's | Each | 2 |
| Bacitracin Ointment 0.9gm, UD | Each | 30 |
| Baclofen Tablets 10mg | Each | 20 |
| Beclomethasone Dipropionate Inhaler 40mcg, 8.7gm | Each | 5 |
| Benzoin Compound Tincture, 120mL | Each | 1 |
| Benztropine Mesylate 1mg/mL, 2mL ampoule | Each | 2 |
| Benztropine Mesylate Tablets 1mg | Each | 20 |
| Bisacodyl Suppositories 10mg | Each | 24 |
| Bisacodyl Tablets 5mg | Each | 20 |
| Bismuth Subsalicylate Tablets 262mg UD | Each | 20 |
| Bottle, Plastic, Amber, Liquid, 120mL | Each | 20 |
| Brimonidine Tarate Ophth. Sol. 0.2%, 5mL | Each | 1 |
| Brinzolamide Ophthalmic Suspension 1%, 10mL | Each | 1 |
| Brush, Cylinder Cleaning, Medium | Each | 1 |
| Bupivacaine HCl Inj. 0.5%, 30mL vial | Each | 5 |
| Bupropion HCl XR Tablets 150mg | Each | 20 |
| Calamine Lotion, Phenolated, 6 oz. | Each | 1 |
| Calcium Carbonate Chewable Tablets 500mg | Each | 60 |
| Calcium Chloride Inj. 10% (100mg/mL), 10mL syringe | Each | 2 |
| Carbamazepine Chew Tablets 100mg | Each | 20 |
| Carbamazepine Tablets 200mg | Each | 40 |
| Carbidopa/Levodopa Tablets 25mg/250mg | Each | 20 |
| Carpuject Holder | Each | 1 |
| Carvedilol Tablets 12.5mg | Each | 20 |
| Cefazolin Sodium Inj. 1gm vial | Each | 5 |
| Ceftriaxone Sodium Inj. 1gm vial | Each | 4 |
| Cephalexin Capsules 500mg | Each | 80 |
| Cephalexin Oral Susp. 250mg/5mL, 200mL | Each | 1 |
| Cetirizine HCl Syrup 1mg/1mL, 120mL | Each | 1 |
| Charcoal, Activated with Sorbitol, 240mL | Each | 1 |
| Ciprofloxacin HCl Ophth. Sol. 0.3% (3.5mg/mL), 5mL | Each | 1 |
| Ciprofloxacin Tablets 500mg | Each | 80 |
| Citalopram Tablets 10mg | Each | 20 |
| Clindamycin HCl Capsules 150mg | Each | 40 |
| Clindamycin Phosphate Inj. 150mg/mL, 4mL vial | Each | 5 |
| Clonazepam Tablets 0.5mg UD | Each | 20 |
| Clonidine HCl Tablets 0.1mg | Each | 40 |
| Clopidogrel Bisulfate Tablets 75mg | Each | 40 |
| Condom, Lubricated | Each | 5 |
| Conjugated Estrogens Tablets 0.625mg | Each | 20 |
| Counting Tray & Spatula | Each | 2 |
| Cyanocobalamin Injection 1000mcg/mL, 1mL vial | Each | 5 |
| Cyclobenzaprine HCl Tablets 10mg | Each | 40 |
| Cyclopentolate HCl Ophthalmic Solution 1%, 15 mL | Each | 1 |
| Dexamethasone Sodium Phosphate Inj. 4mg/mL, 5mL vial | Each | 5 |
| Dextrose 5% & Sodium Chloride 0.45% Inj., 1000mL IV bag | Each | 5 |
| Dextrose 5% & Sodium Chloride 0.9% Inj., 1000mL IV bag | Each | 5 |
| Dextrose Inj. 5%, 50mL IV bag | Each | 20 |
| Dextrose Inj. 50%, 50mL syringe | Each | 4 |
| Prescription Blanks, 100/pad | Each | 200 |
| Diaper Rash Ointment, 30gm | Each | 1 |
| Diazepam Inj. 5mg/mL, 2mL Carpuject | Each | 2 |
| Diazepam Tablets 5mg UD | Each | 20 |
| Dibucaine Ointment 1%, 30gm | Each | 1 |
| Diclofenac Sodium Ophthalmic Solution 0.1%, 5mL | Each | 1 |
| Digoxin Inj. 0.25mg/mL, 2mL ampoule | Each | 2 |
| Digoxin Tablets 0.125mg | Each | 20 |
| Diltiazem HCl Inj. 5mg/mL, 5mL vial | Each | 2 |
| Diltiazem HCl IR Tablets 60mg | Each | 20 |
| Diltiazem HCl XR Capsules 120mg | Each | 20 |
| Diphenhydramine Caplets 25mg | Each | 60 |
| Diphenhydramine Elixir 12.5mg/5mL, 120mL | Each | 1 |
| Diphenhydramine HCl Inj. 50mg/mL,1mL vial | Each | 5 |
| Divalproex Sodium DR Tablets 250mg | Each | 20 |
| Dobutamine HCl Inj. 12.5mg/mL, 20mL vial | Each | 2 |
| Dopamine HCl Inj. 40mg/mL, 10mL vial | Each | 5 |
| Doxycycline Hyclate Tablets/Capsules 100mg | Each | 20 |
| Enalapril Inj. 1.25mg/mL, 2mL vial | Each | 2 |
| Enoxaparin Inj. 40mg/0.4mL syringe | Each | 2 |
| Epinephrine Auto Injector 0.3mg | Each | 2 |
| Epinephrine Auto Injector, Jr, 0.15mg | Each | 2 |
| Epinephrine Inj. 1:1,000 (1mg/mL), 30mL vial | Each | 1 |
| Epinephrine Inj. 1:10,000 (0.1mg/mL), 10mL syringe | Each | 4 |
| Erythromycin DR Tablets, Enteric Coated, 250mg | Each | 20 |
| Erythromycin Ophth. Oint.0.5% (5mg/gm), 3.5gm Tube | Each | 3 |
| Ethambutol HCl Tablets 400mg | Each | 20 |
| Etomidate HCl Inj. 2mg/mL, 20mL vial | Each | 4 |
| Eugenol 1/8 oz | Each | 1 |
| Famotidine Tablets 20mg | Each | 40 |
| Fentanyl Citrate Inj. 50mcg/mL, 2mL vial | Each | 1 |
| Ferrous Gluconate Tablets 324mg | Each | 20 |
| Fluconazole Tablets 200mg | Each | 20 |
| Flumazenil Inj. 0.1mL/mL, 10mL vial | Each | 1 |
| Flunisolide Nasal Spray 29mcg/spray, 25mL | Each | 1 |
| Fluocinolone Acetonide Cream 0.025%, 15gm | Each | 1 |
| Fluorescein Sodium Ophthalmic Strips, Sterile | Each | 20 |
| Fluoxetine Capsules 20mg | Each | 40 |
| Fluticasone Propionate HFA MDI 220mcg/Puff | Each | 1 |
| Fluticasone Propionate HFA MDI 44mcg/Puff | Each | 1 |
| Folic Acid Tablets 1mg | Each | 20 |
| Formula, Infant, 60/40 Powder, 400gm | Each | 1 |
| Formula, Infant, Soy and Iron Powder, 366gm | Each | 1 |
| Fosphenytoin Sodium Inj., 50mg/mL, 2mL vial | Each | 5 |
| Furosemide Inj. 10mg/mL, 10mL vial | Each | 5 |
| Furosemide Tablets 40mg | Each | 20 |
| Gabapentin Capsules 100mg | Each | 20 |
| Gabapentin Capsules 300mg | Each | 40 |
| Gentamicin Ophthalmic Solution 3% (3mg/mL), 5mL | Each | 1 |
| Glipizide Tablets 5mg | Each | 40 |
| Glucagon for Inj. 1mg w/1mL water | Each | 1 |
| Glucose Tablets | Each | 10 |
| Glyburide Tablets 5mg | Each | 20 |
| Graduated Cylinder, 125mL | Each | 1 |
| Graduated Cylinder, 30mL | Each | 1 |
| Guaifenesin AC Syrup 100mg-10mg/5mL 120mL | Each | 1 |
| Guaifenesin DM Syrup, 120mL | Each | 2 |
| Guaifenesin Syrup, 120mL | Each | 2 |
| Haloperidol Lacatate Inj. 5mg/mL, 1mL vial | Each | 5 |
| Haloperidol Tablets 1mg | Each | 20 |
| Heparin Lock Flush Kit, 100 units/mL, 1mL vial | Each | 5 |
| Heparin Sodium Inj. 1000 units/mL, 10mL vial | Each | 5 |
| Hydrochlorothiazide Tablets 25mg | Each | 40 |
| Hydrocodone Bitartrate/APAP Tablets 5mg/300mg | Each | 60 |
| Hydrocortisone Acetate Suppository, 25mg | Each | 5 |
| Hydrocortisone Cream 1%, 30gm | Each | 2 |
| Hydrocortisone Sod. Succ. Inj. 100mg/2mL vial | Each | 1 |
| Hydromorphone Inj. 1mg/mL Carpuject | Each | 6 |
| Ibuprofen Oral Drops 15mL | Each | 1 |
| Ibuprofen Oral Susp. 100mg/5mL, 120mL | Each | 1 |
| Ibuprofen Tablets 400mg | Each | 120 |
| Ibuprofen Tablets 600mg | Each | 80 |
| Inhalation Chamber Spacer for MDI | Each | 2 |
| Inhalation Chamber with Mask, size Medium | Each | 1 |
| Insulin Human and Insulin Isophane Susp. 70/30, 10mL vial | Each | 1 |
| Insulin NPH 100 units/mL, 10mL vial | Each | 2 |
| Insulin Regular 100 units/mL, 10mL vial | Each | 2 |
| Insulin, Glargine 10mL | Each | 2 |
| Ipratropium Bromide Inhalation Aerosol HFA, 12.9gm | Each | 2 |
| Ipratropium Bromide Inhalation Solution 0.2%, 2.5mL ampoule | Each | 10 |
| Isoniazid Tablets 300mg | Each | 20 |
| Isopropyl Alcohol 70%, 16oz. | Each | 1 |
| Isosorbide Dinitrate Tablets 10mg | Each | 20 |
| Ketamine HCl Inj. 50mg/mL, 10mL vial | Each | 1 |
| Ketoralac Inj. 30mg/mL, 2mL vial | Each | 5 |
| Label Printer, Thermal, Desktop (Dymo LabelWriter 450 Turbo), Labels 300/roll | Each | 100 |
| Label, Chew Tablets, 1000/box | Each | 1 |
| Label, Discoloration of Urine and Feces, 1000/box | Each | 1 |
| Label, Drowsiness/No Alcohol, 1000/box | Each | 1 |
| Label, External Use Only, 1000/box | Each | 1 |
| Label, For the Ear, 1000/box | Each | 1 |
| Label, For the Eye, 1000/box | Each | 1 |
| Label, For the Nose, 1000/box | Each | 1 |
| Label, May Cause Drowsiness, 1000/box | Each | 1 |
| Label, No Milk, Dairy, 1000/box | Each | 1 |
| Label, Prescription, DHHS | Each | 1 |
| Label, Rectal Use, 1000/box | Each | 1 |
| Label, Shake Well, 1000/box | Each | 1 |
| Label, Take with Food/Milk, 1000/box | Each | 1 |
| Label, Take With Water Only, 1000/box | Each | 1 |
| Label, Vaginal Use Only, 1000/box | Each | 1 |
| Labels, Prescription, DHHS | Each | 1 |
| Lactated Ringer's Inj. 1000mL IV bag | Each | 5 |
| Lamotrigine Tablets 100mg | Each | 20 |
| Latanoprost Ophthalmic Solution 0.005%, 2.5mL | Each | 1 |
| Levofloxacin Tablets 500mg | Each | 40 |
| Levonorgestrel/Ethinyl Estradoil Tablets 0.15mg/0.03mg | Each | 40 |
| Levothyroxine Sodium Tablets 0.05 mg (50mcg) | Each | 20 |
| Levothyroxine Sodium Tablets 0.1 mg (100mcg) | Each | 20 |
| Lidocaine HCl 1% w/Epinephrine Inj., 10mL vial | Each | 5 |
| Lidocaine HCl Inj. 1%, 20mL vial | Each | 5 |
| Lidocaine HCl Inj. 1%, 5mL syringe | Each | 2 |
| Lidocaine Topical Solution 4%, 50mL | Each | 1 |
| Lidocaine Viscous 2%, 100mL | Each | 2 |
| Lidocaine/Prilocaine Cream 2.5%/2.5%, 5gm | Each | 2 |
| Lisinopril Tablets 10mg | Each | 60 |
| Lithium Carbonate Tablets 300mg | Each | 40 |
| Loperamide HCl Capsules 2mg | Each | 40 |
| Loperamide HCl Solution 1mg/5mL, 120mL | Each | 1 |
| Loratadine Tablets 10mg | Each | 20 |
| Lorazepam Tablets 1mg UD | Each | 20 |
| Losartan Potassium Tablets 25mg | Each | 36 |
| Magnesium Sulfate Inj. 50% (500mg/mL), 10mL syringe | Each | 2 |
| Mannitol Inj. 25% (12.5gm/50mL), 50mL vial | Each | 5 |
| Meclizine HCl Tablets 25mg | Each | 40 |
| Medroxyprogesterone Acetate Tablets 10mg | Each | 20 |
| Metformin HCl Tablets 500mg | Each | 100 |
| Methylergonovine Inj. 0.2mg/mL ampoule | Each | 4 |
| Methylphenidate Tablets XR 18mg | Each | 20 |
| Methylprednisolone Sodium Succinate Inj. 1000mg (1gm) vial | Each | 1 |
| Methylprednisolone Sodium Succinate Inj. 125mg/2mL vial | Each | 5 |
| Methylprednisolone Tablets 4mg dosepack | Each | 105 |
| Metoclopramide HCl Inj. 5mg/mL, 2mL vial | Each | 5 |
| Metoclopramide HCl Tablets 10mg | Each | 20 |
| Metoprolol Inj. 1mg/mL, 5mL vial | Each | 2 |
| Metoprolol Tartrate Tablets 50mg | Each | 40 |
| Metronidazole Inj. 500mg/100mL IV bag | Each | 5 |
| Metronidazole Tablets 500mg | Each | 40 |
| Miconazole Vaginal Cream 2%, 45gm | Each | 2 |
| Midazolam Inj. 5mg/mL, 2mL vial | Each | 4 |
| Moisturizing Lotion, 6oz. | Each | 2 |
| Montelukast Sodium Tablets 10mg | Each | 20 |
| Morphine Sulfate Inj. 10mg/mL, 1mL vial | Each | 20 |
| Morphine Sulfate Tablets CR 30mg UD | Each | 40 |
| Mortar and Pestle, 8oz, glass | Each | 1 |
| Mupirocin Ointment 2%, 22gm | Each | 1 |
| Naloxone HCl Inj. 0.4mg/mL, 1mL vial | Each | 4 |
| Naproxen Tablets 500mg | Each | 40 |
| Needle, 18G, 1.5inch | Each | 1 |
| Neomycin/PolyB/Bacitracin HC Ophth Ointment, 3.5gm | Each | 3 |
| Nicardipene Inj. 40mg/200mL, IV bag | Each | 1 |
| Nifedipine SA Tablets 30mg | Each | 20 |
| Nitrofurantoin Monohydrate Capsules 100mg | Each | 40 |
| Nitroglycerin Inj. 5mg/mL, 10mL vial | Each | 5 |
| Nitroglycerin Ointment 2%, 30gm | Each | 1 |
| Nitroglycerin Sublingual Tablets 0.4mg (25 count) | Each | 2 |
| Nitroglycerin Transdermal System 0.2mg/hr Patch | Each | 6 |
| Nortriptyline HCl Capsules 25mg | Each | 20 |
| Nutritional Supplement, Glucose Control (Boost), 8oz. | Each | 6 |
| Nutritional Supplement, Powder, Vanilla (Ensure), 14oz. | Each | 2 |
| Nystatin Cream 100,000units/gm, 15gm | Each | 2 |
| Nystatin Oral Susp. 100,000units/mL, 60mL | Each | 1 |
| Olanzapine Oral Disintegrating Tablets 5mg | Each | 6 |
| Olanzapine Tablets 5mg | Each | 20 |
| Omeprazole Capsule DR 20mg | Each | 100 |
| Ondansetron Inj. 2mg/mL, 2mL vial | Each | 5 |
| One Touch Ultra Control Solution | Each | 2 |
| One Touch ULTRA Test Strips, 50 strips | Each | 2 |
| Ophthalmic Irrigating Solution 120mL | Each | 2 |
| Oral Electrolyte Solution 33.8oz | Each | 2 |
| Oxybutynin HCl Tablets 5mg | Each | 20 |
| Oxycodone/Acetaminophen Tablets 5mg/325mg UD | Each | 60 |
| Oxymetazoline Nasal Spray 0.05%, 15mL | Each | 5 |
| Oxytocin Inj. 10units/mL, 1mL vial | Each | 5 |
| Pantoprazole Inj. 40mg/mL vial | Each | 2 |
| Penicillin G for Inj., 5 mill units vial | Each | 2 |
| Permethrin Cream 5%, 60gm | Each | 3 |
| Permethrin Topical Lotion 1% 60mL | Each | 3 |
| Petrolatum Jelly, 5gm UD | Each | 144 |
| Phenaphtazine Paper | Each | 1 |
| Phenobarbital Elixir 20mg/5mL, 473mL | Each | 1 |
| Phenobarbital Tablets 32.4mg UD | Each | 20 |
| Phenytoin Sodium Capsules ER 100mg | Each | 40 |
| Phenytoin Sodium Inj. 50mg/mL, 5mL vial | Each | 5 |
| Phenytoin Sodium Oral Susp. 125mg/5mL, 237mL | Each | 1 |
| Phytonadione Tablets 5mg (Vitamin K) | Each | 20 |
| Pioglitazone Tablets 15mg | Each | 20 |
| Piperacillin Sodium/Tazobactam Sodium Inj. 3.375mg vial | Each | 2 |
| Potassium Chloride ER Tablets 10mEq (750mg) | Each | 20 |
| Potassium Chloride Inj. 2mEq/mL, 10mL vial | Each | 5 |
| Prednisolone Acetate Ophth. Susp. 0.12%, 5ml | Each | 1 |
| Prednisolone Syrup, 15mg/5mL, 240mL | Each | 1 |
| Prednisone Tablets 20mg | Each | 40 |
| Prednisone Tablets 5mg | Each | 40 |
| Prenatal Vitamins | Each | 20 |
| Prochlorperazine Inj. 5mg/mL, 2mL vial | Each | 4 |
| Prochlorperazine Maleate Tablets 10mg | Each | 20 |
| Prochlorperazine Suppository 25mg | Each | 5 |
| Promethazine HCl Inj. 25mg/mL, 1mL vial | Each | 5 |
| Promethazine Suppositories 25mg | Each | 3 |
| Promethazine Suppositories, Pediatric 12.5mg | Each | 3 |
| Propofol Inj. 10mg/mL, 100mL vial | Each | 2 |
| Propranolol HCl Inj. 1mg/mL vial | Each | 2 |
| Protamine Sulfate 10mg/mL, 5mL vial | Each | 5 |
| Pyrazinamide Tablets 500mg | Each | 20 |
| Pyridoxine HCl Tablets 50mg | Each | 20 |
| Quetiapine Fumerate Tablets 25mg | Each | 20 |
| Racepinephrine Inhalation Solution 0.5mL ampoule | Each | 6 |
| Ranitidine HCl Inj. 25mg/mL, 2mL vial | Each | 2 |
| Refrigerator, Portable (60 Liter) | Each | 1 |
| Rifampin Capsules 300mg | Each | 20 |
| Risperidone Tablets 1mg | Each | 30 |
| Saline Nasal Spray, 45mL | Each | 3 |
| Sennosides Tablets 8.6mg | Each | 20 |
| Sharps Container, w/Needle Remover, 1 Quart | Each | 1 |
| Silver Sulfadiazine Cream 1%, 50gm | Each | 3 |
| Simvastatin Tablets 40mg | Each | 20 |
| Sodium Bicarbonate Inj. 8.4% (50mEq/50mL) 50mL syringe | Each | 2 |
| Sodium Chloride Inhalation Solution 0.9%, 3mL ampoule | Each | 20 |
| Sodium Chloride Inj. 0.9%, 1000mL IV bag | Each | 20 |
| Sodium Chloride Inj. 0.9%, 250mL IV bag | Each | 5 |
| Sodium Chloride Inj. 0.9%, 500mL IV bag | Each | 20 |
| Sodium Chloride Inj. 0.9%, 50mL IV bag | Each | 16 |
| Sodium Chloride Inj. 0.9%, Bacteriostatic, 30mL vial | Each | 5 |
| Sodium Chloride Irrigation 0.9%, 1000mL | Each | 7 |
| Sodium Phosphate Rectal Enema, USP | Each | 3 |
| Sodium Polystyrene Sulfonate Suspension 15gm/60mL, 473mL | Each | 1 |
| Spironolactone Tablets 25mg | Each | 40 |
| Succinylcholine Chloride Inj. 20mg/mL, 10mL vial | Each | 1 |
| Sulfacetamide Sodium Ophthalmic Solution 10%, 15mL | Each | 2 |
| Sulfamethox/Trimethoprim Oral Susp. 200mg/40mg/5mL, 473mL | Each | 1 |
| Sulfamethoxazole/Trimethoprim DS Tablets 800mg/160mg | Each | 40 |
| Sulfasalazine DR Tablets, Enteric Coated, 500mg | Each | 20 |
| Syringe, 3mL, LL | Each | 1 |
| Syringe, Dosing, 10mL | Each | 10 |
| Syringe, Dosing, 5mL | Each | 10 |
| Syringe/Needle, 1cc, w/28g or 29/g Needle (Safety Tip), Insulin (Latex Free) | Each | 60 |
| Tablet Cut and Crush | Each | 1 |
| Tears Naturale, Single-Use Bullets | Each | 60 |
| Terazosin HCl Capsules 1mg | Each | 20 |
| Terbutaline Sulfate Inj. 1mg/mL, 1mL vial | Each | 5 |
| Tetanus & Diphtheria Toxoids Abs Inj., Adult, 0.5mL syringe | Each | 10 |
| Tetanus & Diphtheria Toxoids Abs Inj., Peds, 1mL vial | Each | 2 |
| Tetanus Immune Globulin Inj.m, 250units/syringe | Each | 1 |
| Tetracaine Ophthalmic Solution 0.5%, 15mL | Each | 1 |
| Tetrahydrazoline HCl Ophthalmic Solution, 0.05%, 15mL | Each | 5 |
| Thermometer, Digital (For Refrigerator Monitoring) | Each | 1 |
| Thiamine HCl Inj. 100mg/mL, 2mL vial | Each | 5 |
| Throat Lozenges | Each | 20 |
| Timolol Maleate Ophthalmic Solution 0.5%, 5mL | Each | 1 |
| Tobramycin Inj. 40mg/mL, 2mL vial | Each | 5 |
| Trazodone HCl Tablets 50mg | Each | 40 |
| Triamcinolone Acetonide Cream 0.1%, 15gm | Each | 2 |
| Triple Antibiotic Ointment, 15gm | Each | 2 |
| Urine Test Strips (Multistix 10 SG), 100 strips | Each | 1 |
| Valproic Acid Capsules 250mg | Each | 20 |
| Vancomycin HCl Inj. 1gm vial | Each | 2 |
| Vecuronium Bromide Inj. 10mg/10mL vial | Each | 2 |
| Venlafaxine HCl ER Tablets/Capsules 37.5mg | Each | 20 |
| Verapamil Tablets 80mg | Each | 60 |
| Vials, Clear View, 20 dram | Each | 40 |
| Vials, Clear View, 8 dram | Each | 80 |
| Vials, Screw Lock Caps, 20 dram | Each | 40 |
| Vials, Screw Lock Caps, 8 dram | Each | 80 |
| Warfarin Sodium Tablets 1mg | Each | 40 |
| Warfarin Sodium Tablets 5mg | Each | 40 |
| Water For Inj., Sterile, 20mL vial | Each | 10 |
| Water For Irrigation, Sterile, 1000mL | Each | 7 |
| Water, Distilled, 1 gallon (for Rx compounding) | Each | 2 |
| Zinc Oxide Ointment, 28gm | Each | 3 |
| Zolmitriptan Tablets 5mg | Each | 3 |
| Zolpidem Tartrate Tablets 10mg UD | Each | 20 |

|  |  |  |
| --- | --- | --- |
| **General (non-acute) Care / 50-bed / Lab Recommendations** | | |
| **Item Description** | **Unit of Measure** | **Quantity** |
| Analyzer, Urinalysis, Clinitek, Status Plus | Each | 1 |
| Analyzer, Clinitek Status Plus Test Table | Each | 1 |
| Analyzer, Clinitek Status Plus Carriage | Each | 1 |
| Analyzer, Clinitek Status Plus AC Power Adapter | Each | 1 |
| Analyzer, Clinitek, Printer Paper, Thermal | Each | 2 |
| Analyzer, Clinitek Status Plus Manual | Each | 1 |
| Battery, Alkaline, Size AA (1.5 Volt) | Each | 7 |
| Analyzer, Clinitek Status Plus AC Power Cord | Each | 1 |
| Analyzer, i-STAT 1 | Each | 1 |
| Analyzer (i-STAT), Printer | Each | 1 |
| Analyzer (iStat 300), Printer, Battery, Rechargable | Each | 2 |
| Analyzer (i-STAT), Printer, Paper | Each | 1 |
| Analyzer, i-Stat, Printer, AC Power Cord | Each | 1 |
| Analyzer (i-STAT), Electronic Simulator | Each | 1 |
| Battery, Lithium, Size 9 Volt, Non-Rechargable | Each | 2 |
| Timer, 24 Hr, Battery Operated | Each | 1 |
| Glucometer Kit (One-Touch Ultra): Glucose Meter | Each | 1 |
| One Touch ULTRA Test Strips, 50 strips | Each | 1 |
| One Touch Ultra Control Solution | Each | 1 |
| Glucometer Kit (One-Touch Ultra): Lancets | Each | 10 |
| Glucometer Kit (One-Touch Ultra): Battery, Lithium (3.0 Volt) | Each | 1 |
| Cardiac Marker Test Kit (MI 3 in 1 StatusFirst Myoglobin, CK-MB, Troponin I) | Each | 5 |
| Pregnancy Test (hCG Urine Test) | Each | 5 |
| Urine Test Strips (Multistix 10 SG), 100 strips | Each | 1 |
| Thermometer, Traceable | Each | 1 |
| Forms, Laboratory Results | Each | 100 |
| Log Book, Hematology Manual and Instrument | Each | 1 |
| Analyzer, Hematology, Coulter AcT Diff2 | Each | 1 |
| Analyzer, Hematology, Coulter AcT Diff 2 Manual | Each | 1 |
| Analyzer, Hematology, Coulter Waste Tubing | Each | 1 |
| Analyzer, Hematology, Coulter AcT Tainer Pickup Tubes Kit | Each | 1 |
| Printer, Lexmark, E360D | Each | 1 |
| Printer, Lexmark E360H11A Toner | Each | 1 |
| Paper, Copy, 8½" x 11", Ream | Each | 1 |
| Printer, Laser, Okidata B4600, Power Supply | Each | 1 |
| Power Conditioner Box, 3.0 Amp, 120v | Each | 1 |
| Power Conditioner Box, 3.0 Amp, 120V, AC Power Cord | Each | 1 |
| Analyzer, Blood Chemistry, Piccolo Xpress | Each | 1 |
| Analyzer, Blood Chemistry, Piccolo Xpress, Paper (Roll) | Each | 1 |
| Analyzer, Blood Chemistry, Piccolo Xpress, Manual | Each | 1 |
| Pipette Tip, 0.1ml, Disposable | Each | 1 |
| Pipette, Micro, 0.1ml | Each | 1 |
| Analyzer, Blood Chemistry, Piccolo Xpress, AC Power Cord | Each | 1 |
| Surge Protector, UPS | Each | 1 |
| Tool, Screwdriver, Pocket, 4 in 1 | Each | 1 |
| Alcohol Pad, Isopropyl, 2" x 2", Sterile | Each | 200 |
| Wooden Applicators, 6" | Each | 1000 |
| Bag, Bio-Hazard, Specimen, 6" x 9" | Each | 200 |
| Bag, Infectious Waste, Red, 25" X 34" | Each | 25 |
| Binder, 3-Ring, 1", Black | Each | 1 |
| Cleanser, Hand, BZK Antiseptic, Single Use | Each | 100 |
| Clipboard, Plastic | Each | 2 |
| Copy of CLIA License | Each | 1 |
| Container, Waste Drainage, 10L | Each | 1 |
| Coulter diff AcT Tainer Reagent Kit | Each | 1 |
| Sharps Container, w/Needle Remover, 1 Quart | BX | 3 |
| Gloves, Examination, Nitrile, Large (Powder Free & Latex Free) | Each | 100 |
| Gloves, Examination, Nitrile, Medium (Powder Free & Latex Free) | Each | 100 |
| Gloves, Examination, Nitrile, X-Large (Powder Free & Latex Free) | Each | 100 |
| Goggles, Safety, Chem Splash | Each | 2 |
| Hand Sanitizer (Purell® Instant Hand Sanitizer, 12 oz.) | Each | 1 |
| Rocker, Tabletop Hemo-Dyne, 14 Tube Cap | Each | 1 |
| IV, Starter Set | Each | 100 |
| Lab Coat, Knee Length, Long Sleeve, Medium | Each | 6 |
| Lab Coat, Knee Length, Long Sleeve, Large | Each | 6 |
| Lab Coat, Knee Length, Long Sleeve, X-Large | Each | 6 |
| Needle, Blood Collection, 23G x 3/4"x12" | Each | 100 |
| Needle, Blood Collection, 21G x 1-1/4" | Each | 200 |
| Arterial Blood Gas Sampling Kit | Each | 25 |
| Shears, Trauma | Each | 1 |
| Sponge, Gauze, 4" x 4", Non-sterile | Each | 200 |
| Hemoccult® Test Kit | Each | 100 |
| Test Kit, Drug Abuse Panel (DOA), 25 Tests | Each | 1 |
| Tube, Capillary, 100 mcl, Lithium Heparin | Each | 100 |
| Tube, Blood Collection, EDTA 4ml, Purple | Each | 100 |
| Tube, Blood Collection, Green Top, Heparin, 4ml | Each | 100 |
| Tube, Blood Collection, Red Top 7ml (Vac-U-Tainer) | Each | 100 |
| Tube, Blood Collection, (Vac-U-Tainer Barrel) | Each | 250 |
| Tube, Blood Collection, Holder (Vac-U-Tainer) | Each | 1 |
| Urine Collection Kit (Easy Catch) | Each | 25 |
| Wash Bottle, Nalgene, 500ml | Each | 1 |
| Microscope, Binocular w/Light Source | Each | 1 |
| Microscope, Binocular, Spare Bulb | Each | 1 |
| Microscope, Glass Slide, 25mm x 75mm | Each | 144 |
| Microscope, Glass Slide, Cover (1 oz. box) | Each | 200 |
| Microscope, Lens Paper (1cm x 15 cm), 50 Sheets/Pack | Each | 50 |

**250-Bed Footprint**

|  |  |
| --- | --- |
| **Medical Staffing for 250-bed footprint** | **24 hours** |
| Physician | 2 |
| Advanced providers (PA / NP) | 4 |
| Patient Care Providers (Combination of Nurses / Intermediate Care Technicians / EMTs / Paramedics) | 60 |
| **Total** | **66** |

Note on Personal Protective Equipment

Based on the current COVID-19 situation and availability of PPE, CDC has specific recommendations PPE use. Please refer to current CDC guidance to ensure that all staff (e.g., security, support staff, logistics, medical providers) caring for patients with COVID-19 have appropriate PPE. PPE is a component of an overall infection prevention and control strategy that includes administrative and environmental controls in addition to hand hygiene, PPE and other measures to ensure safe provision of care and limiting the risk of nosocomial spread of infection. Please refer to CDC current guidance for infection prevention and control strategies.

It is recommended that each site measure amount of PPE at the beginning and end of each day and monitor the burn rate of PPE on a daily basis. The online [CDC Personal Protective Equipment (PPE) Burn Rate Calculator](https://www.cdc.gov/coronavirus/2019-ncov/hcp/ppe-strategy/burn-calculator.html) is a spreadsheet-based model that provides information for healthcare facilities to plan and optimize the use of PPE for response to coronavirus disease 2019 (COVID-19). This tool can also be used for planning PPE use outside the context of COVID-19, where PPE shortages may also occur due to supply chain issues related to the COVID-19 response (e.g. manufacturing facilities).

Based on previous experience the table below is a reference for the potential burn rate of PPE for a General (non-acute) Care 50-bed site for 10 days.

|  |  |  |
| --- | --- | --- |
| **Item** | **Qty** | **Unit of measure** |
| XL Exam Gloves 14-680C | 3000 | each |
| L Exam Gloves 14-678C | 4000 | each |
| M Exam Gloves | 4000 | each |
| Small Exam Gloves | 4000 | each |
| 3 M 1860 Respirators (Regular) | 4000 | each |
| 3M 1860 Respirators (Small) | 3000 | each |
| 10 Pack Cover Gowns | 60 | 10-Pack |
| Earloop Surgical Mask | 40 | Box |
| Face Shields | 1000 | each |
| Hand Sanitizer 937916 | 100 | Bottles |
| Yellow Isolation Gowns (XL) | 2000 | each |
| Yellow Isolation Gowns (l) | 2000 | each |
| Coveralls (non Tyvek) | 2000 | each |
| Tyvek Coveralls (XL) | 200 | each |
| Tyvek Coveralls (L) | 200 | each |
| Tyvek Coveralls (M) | 200 | each |

|  |  |  |
| --- | --- | --- |
| **General (non-acute) Care / 250-bed / Medical-Biomed Recommendations** | | |
| **Item Description** | **Quantity** | **Unit of Measure** |
| AED, Defibrillator | 1 | Each |
| Aneroid, BP Cuff, Adult | 5 | Each |
| Aneroid, BP Cuff, Adult | 5 | Each |
| Aneroid, BP Cuff, Adult | 6 | Each |
| Aneroid, BP Cuff, Child | 5 | Each |
| Aneroid, BP Cuff, Child | 5 | Each |
| Aneroid, BP Cuff, Child | 6 | Each |
| Aneroid, BP Cuff, Infant | 5 | Each |
| Aneroid, BP Cuff, Infant | 5 | Each |
| Aneroid, BP Cuff, Infant | 6 | Each |
| Aneroid, BP Cuff, Obese | 5 | Each |
| Aneroid, BP Cuff, Obese | 2 | Each |
| Aneroid, BP Cuff, Obese | 6 | Each |
| Anti-Microbial Solution, 4%, 32 oz. | 1 | Pkg 12 |
| Arm Bands, Staff ID (20 PKG of 5 =100) | 100 | Pkg 5 |
| Aspirator, Portable w/ Charger | 4 | Each |
| Backboard (Adult) w/ Straps | 5 | Each |
| Backboard (Child) w/ Straps | 3 | Each |
| Bag, Ambu, Adult, Disposable w/ mask | 6 | Pkg 6 |
| Bag, Ambu, Infant, Disposable w/ mask | 3 | Each |
| Bag, Ambu, Pediatric, Disposable w/ mask | 7 | Each |
| Bag, Biohazard Specimen | 1000 | Each |
| Bag, Body (Adult) | 1 | Pkg 10 |
| Bag, Body (Child) | 10 | Each |
| Bag, Hamper | 36 | Each |
| Bag, Infectious Waste | 10 | Pkg 100 |
| Bag, Patient Belongings | 500 | Each |
| Bag, Patient Belongings (2 EA x 25 x 10) | 500 | Each |
| Bag, Trash, Liner, Clear | 1000 | Each |
| Bag, Urinary Meter, 500mL | 3 | Pkg 10 |
| Bag, Urinary, Drainage | 3 | Pkg 20 |
| Band, ID (Adult) | 500 | Each |
| Band, ID (Child) | 2 | Pkg 250 |
| Basin, Emesis | 1250 | Each |
| Basin, Emesis (50 x 5) | 250 | Each |
| Basin, Wash, Round | 300 | Each |
| Battery Pack, AED Defibrillator | 1 | Each |
| Battery, Alkaline, Size AA (80 EA) | 80 | Each |
| Battery, Alkaline, Size AAA | 1 | Pkg 24 |
| Battery, Alkaline, Size AAA (168 EA Total) | 1 | Case 144 |
| Battery, Alkaline, Size C (64 EA) | 64 | Each |
| Battery, Alkaline, Size D (184 EA) | 184 | Each |
| Bed, Bariactric Set 600 lbs | 5 | Each |
| Bed, General Use (GUB) | 200 | Each |
| Bed, Hospital, Adjustable | 10 | Each |
| Bed, Westcot (Standard) | 50 | Each |
| Bedpan | 50 | Each |
| Bedpan (50 x 5) | 250 | Each |
| Binder, 3 Ring, 1" | 24 | Each |
| Binder, 3 Ring, 2" | 24 | Each |
| Binder, 3 Ring, 3" | 5 | Each |
| Binder, 3 Ring, 3" | 24 | Each |
| Blanket, Cotton | 150 | Each |
| Blanket, Cotton | 250 | Each |
| Blanket, Emergency | 144 | Each |
| Blanket, Emergency | 250 | Each |
| Blanket, Space, Mylar | 500 | Each |
| Blanket, Wool Blend (90 x 3) | 270 | Each |
| Bleach, Clorox | 0 | Each |
| Book, Record | 10 | Each |
| Bottle, Nursing, Starter, Kit | 25 | Each |
| Bottle, Spray, Quart, w/Trigger | 18 | Each |
| Bowl, 12 oz. | 2000 | Each |
| Box, File Storage w/Lid | 25 | Each |
| Brief, Adult, Bariatric (128 Ea Total) | 4 | Case 32 |
| Brief, Ultra, Adult, Extra Large | 2 | Case 80 |
| Brief, Ultra, Adult, Large | 2 | Case 80 |
| Brief, Ultra, Adult, Medium | 192 | Each |
| Brief, Ultra, Adult, Small | 192 | Each |
| Broom, Push (Two Piece) | 2 | Each |
| Broselow Bag (Ped Resuscitation Sys.) | 2 | Each |
| Bucket, 3 Gallon, Pour Spout, w/Handle | 12 | Each |
| Bucket, Mop, w/Ringer | 6 | Each |
| Bulb, Light, 120v, RS 60W | 72 | Each |
| Bulb, Light, Perimeter Flood Lighting | 10 | Each |
| Bungee Cord Assortment | 48 | Each |
| Cable Ties, Black | 15 | Pkg 100 |
| Calculator, Metric Conversion | 11 | Each |
| Can, Trash, 32 Gallon | 15 | Each |
| Can, Trash, Lid, 32 Gallon | 15 | Each |
| Can, Trash, Lid, Red, 32 Gallon | 15 | Each |
| Can, Trash, Red, 32 Gallon | 15 | Each |
| Cane, Quad (700 lbs) | 5 | Each |
| Canister, Suction Tubing | 100 | Each |
| Canister, Suction, 800CC | 48 | Each |
| Cannula Cushion PED, 7ft tube, CS/50 | 5 | Case 50 |
| Cannula Tubing (Adult) | 10 | Case 50 |
| Case, Contact Lens | 30 | Each |
| Catheter IV, 18G X 1 1/4", Green Safety Tip | 1 | Pkg 200 |
| Catheter IV, 20G X 1 1/4", Pink Safety Tip | 1 | Pkg 200 |
| Catheter Kit, Foley Tray,18fr, Closed System | 20 | Each |
| Catheter Kit, Foley, Tray, 16 Fr Closed System | 100 | Each |
| Catheter Plug & Drain Tube Protector | 1 | Case 100 |
| Catheter, Foley Tray, 6FR (Child) | 1 | Case 10 |
| Catheter, IV, 22G x 1" | 100 | Each |
| Catheter, IV, 24G x 3/4" | 2 | Bx 50 |
| Catheter, Self, 18FR (Robnell) | 10 | Each |
| Catheter, Urinary, External Large | 2 | Pkg |
| Catheter, Urinary, External Medium | 2 | Pkg |
| Catheter, Urinary, External Small | 2 | Pkg |
| CaviWipes | 2 | Containers |
| Chair, Metal, Folding | 400 | Each |
| Chart Holder, Patient, Plastic | 48 | Each |
| Chart Holder, Patient, Plastic | 250 | Each |
| Chart, Pain, Childrens | 5 | Each |
| Chest, Ice 48 QT | 6 | Each |
| Cleaner, Floor, Powdered | 2 | Each |
| Clipboard, 9" x 12.5" | 25 | Each |
| Clipboard, 9" x 12.5" | 25 | Each |
| Clips, Binder, Medium | 5 | Pkg 12 |
| Clips, Binder, Medium | 24 | Pkg 12 |
| Clips, Paper, Jumbo | 5 | Pkg 100 |
| Clips, Paper, Jumbo | 11 | Pkg 100 |
| Comb, Two-Sided | 252 | Each |
| Commode, Bedside | 5 | Each |
| Commode, Bedside (1000 lbs) | 5 | Each |
| Compressor, Pulmo-Aide, Aerosol | 6 | Each |
| Container, Action Packer | 5 | Each |
| Container, Specimen | 1 | Pkg 100 |
| Cot, Toddler | 25 | Each |
| Cover, Shoe, Non Skid | 20 | Bx 100 |
| CPAP Machine | 5 | Each |
| CPAP Machine | 5 | Each |
| Crib, Portable (12 Ea. Per triwall - Total 24) | 12 | Each |
| Cup, Denture w/ Lid | 25 | Each |
| Cup, Denture w/ Lid | 250 | Each |
| Cup, Hot / Cold, 12 oz. | 4000 | Each |
| Cup, Medicine | 10 | Pkg 100 |
| Cup, Toddler | 50 | Each |
| Cutlery Combo Pack | 8 | Case 250 |
| Cylinder, Oxygen (D) | 5 | Each |
| Cylinder, Oxygen (E) | 7 | Each |
| Cylinder, Oxygen (M6) | 3 | Each |
| Cystoscopy Irrigation Set | 5 | Pkg 20 |
| Diapers, Baby, (Large - Size 4) | 120 | Each |
| Diapers, Baby, (Medium - Size 3) | 1 | Pkg 192 |
| Diapers, Baby, (Small - Size 2) | 364 | Each |
| Diapers, Baby, (XXLarge - Size 6) | 75 | Each |
| Disinfectant, Cleaning (Microcide) | 12 | Each |
| Divider, Binder, Alphabet | 5 | Each |
| Divider, Binder, Alphabet | 24 | Each |
| Dolly, Handtruck | 2 | Each |
| Dolly, Trash Can | 30 | Each |
| Door Stop, Rubber | 12 | Each |
| Drape, Disposable (Sterile) | 3 | Pkg 50 |
| Dressing Change Tray (Kit Wound Dressing Sub) | 12 | Each |
| Dressing, DuoDERM | 24 | Pkg 5 |
| Ear Plugs | 750 | PAIR |
| Easel, Flip Board | 8 | Each |
| Electrical Distribution System | 1 | Each |
| Envelope, Manila, 9" x 12" | 10 | Pkg 100 |
| Feminine Hygiene Kits (KT=16 EA x 5 =80)) | 5 | KT |
| Fire Extinguishers | 8 | Each |
| Fit Test Kit (N95 Mask) | 3 | Each |
| Flashlight | 5 | Each |
| Flashlight | 60 | Each |
| Folder, Manila | 5 | Pkg 100 |
| Gate, Child 6-Panel | 12 | Each |
| Glasses, Safety (Large) | 2 | Pkg 20 |
| Glasses, Safety (Small) | 2 | Pkg 20 |
| Gloves, Exam, Nitrile, Powder Free, Large | 500 | Each |
| Gloves, Exam, Nitrile, Powder Free, Large | 1000 | Each |
| Gloves, Exam, Nitrile, Powder Free, Large | 2000 | Each |
| Gloves, Exam, Nitrile, Powder Free, Medium | 500 | Each |
| Gloves, Exam, Nitrile, Powder Free, Medium | 1000 | Each |
| Gloves, Exam, Nitrile, Powder Free, Medium | 2000 | Each |
| Gloves, Exam, Nitrile, Powder Free, Small | 500 | Each |
| Gloves, Exam, Nitrile, Powder Free, Small | 1000 | Each |
| Gloves, Exam, Nitrile, Powder Free, Small | 2000 | Each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 6.5 (PAIR | 100 | Each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 7.0 (PAIR | 100 | Each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 7.5 (PAIR | 100 | Each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 7.5 (PAIR | 400 | Each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 8.0 (PAIR | 100 | Each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 8.5 (PAIR | 50 | Each |
| Glucometer, Lancets | 8 | Pkg 100 |
| Glucometer, One Touch Ultra II, Test Strips | 800 | Each |
| Glucometer, One Touch, Ultra II | 8 | Each |
| Gown, Patient, Child (Large) | 72 | Each |
| Gown, Patient, Child (Medium) | 72 | Each |
| Gown, Patient, Child (Small) | 72 | Each |
| Gown, Patient, Obesity | 5 | Pkg 12 |
| Gown, Patient, Solid | 300 | Each |
| Gown, Provider, Impervious | 350 | Each |
| Hamper, Stand, Single | 10 | Each |
| Hand Sanitizer, Foam | 480 | Each |
| Head Set, Magnifying Glass and Light | 2 | Each |
| Headlamp, LED | 2 | Each |
| Headlamp, LED | 10 | Each |
| Hi-Lighter Pack (4 colors) | 5 | Pkg |
| Hooks, Shower Curtain | 30 | Pkg 12 |
| Humidifier | 6 | Each |
| Irrigating Kit, Type 1, w/Syringe | 10 | Pkg 20 |
| IV Administration Kit | 1 | Case 50 |
| IV Set (Child) | 1 | Pkg 50 |
| IV Starter Kit (Adult) | 2 | Pkg 100 |
| Jug, Collapsible, 5 Gal. | 6 | Each |
| Kit, Wound Dressing (Change Dressing Tray) | 12 | Each |
| Labels, 1" x 3" | 20 | Pkg 250 |
| Labels, 1" x 3" | 40 | Pkg 250 |
| Laundry Detergent | 4 | Each |
| Lid, Cup, Hot / Cold, 12 oz. | 2 | Pkg 2,000 |
| Lift, Patient w/ Sling (450 lbs) | 1 | Each |
| Light, Goose Neck | 60 | Each |
| Lighting, Perimeter Flood | 18 | Each |
| Litter Stands, Support, Pair | 1 | Each |
| Litter, De-Con Mesh Type | 4 | Each |
| Lubricant, Surgical | 12 | Each |
| Marker, Expo, 6/set w/ eraser | 5 | Each |
| Marker, Expo, 6/set w/ eraser | 10 | Each |
| Marker, Fine Point (sharpie) | 10 | Pkg 12 |
| Mask, Cone (3M) | 5 | Case 120 |
| Mask, CPAP (Large) | 5 | Each |
| Mask, CPAP (Large) | 5 | Each |
| Mask, CPAP (Medium) | 5 | Each |
| Mask, CPAP (Medium) | 5 | Each |
| Mask, CPAP (Small) | 5 | Each |
| Mask, CPAP (Small) | 5 | Each |
| Mask, Duck (Regular) | 2 | Box 35 |
| Mask, Duck (Small) | 2 | Box 35 |
| Mask, Non-Rebreather (Adult) | 2 | Pkg 50 |
| Mask, Non-Rebreather (Child) | 200 | Each |
| Mask, Surgical | 5 | Box 50 |
| Mask, Surgical | 6 | Box 50 |
| Mask, Surgical | 18 | Box 50 |
| Mask, Surgical | 12 | Box 50 |
| Mask, Surgical | 750 | Each |
| Mat, Child | 24 | Each |
| Meter, Peak Flow | 10 | Each |
| Meter, Peak Flow, Mouthpiece (Adult) | 100 | Each |
| Meter, Peak Flow, Mouthpiece (Peds) | 100 | Each |
| Mop, Wet, Handle | 6 | Each |
| Mop, Wet, Head | 2 | Pkg 6 |
| Name, Badge Holder | 1 | Pkg 50 |
| Napkins | 2 | Pkg 400 |
| Needle, Hypodermic, 20G x 1 1/2" | 1 | Case 1000 |
| Notepads, White | 5 | Pkg 12 |
| Notepads, White | 7 | Pkg 12 |
| OB Kit | 2 | Each |
| Ostomy, Closed - End Pouch | 1 | Pkg 30 |
| Ostomy, Drainable Pouch | 5 | Pkg 10 |
| Ostomy, Wafer | 3 | Pkg 10 |
| OxImeter, Pulse | 12 | Each |
| OxImeter, Pulse, Carrying Case | 12 | Each |
| Oxygen Concentrator | 6 | Each |
| Oxygen Cylinder Cart | 12 | Each |
| Oxygen Nebulizer, Handheld | 1 | Pkg 50 |
| Oxygen, Cylinder, Wrench | 12 | Each |
| Oxygen, Hose | 6 | Each |
| Oxygen, MiniLator | 6 | Each |
| Oxygen, Regulator, D | 15 | Each |
| Oxygen, Tubing, 100' | 6 | Each |
| Pacifiers, Orthodontic, Silicone (Large) | 4 | Pkg 25 |
| Pack, Cold (Instant) | 2 | Pkg 50 |
| Pack, Warm Solar-First Aid Size | 2 | Pkg 24 |
| Pad, ABD | 1 | Pkg 360 |
| Pad, Chux, Absorbent | 300 | Each |
| Pad, Chux, Absorbent | 500 | Each |
| Pad, Convoluted (Egg crate) | 24 | Each |
| Pad, Easel | 8 | Pkg 2 |
| Pads, Gauze (Sterile) | 1 | Case 3000 |
| Pads, Mattress, Crib | 144 | Each |
| Pallet, Hand Jack | 2 | Each |
| Paper, Copy 8.5 x 11 (1 ream) | 5 | Pkg 500 |
| Paper, Copy 8.5 x 11 (1 ream) | 22 | Pkg 500 |
| Paste, Stomahesive 2oz | 10 | Each |
| Patient lift, 1000 lb. Hydraulic w /washable sling | 1 | Each |
| Pens, Standard, Black / Blue | 5 | Box 12 |
| Pens, Standard, Black / Blue | 29 | Box 12 |
| Pillow (126 EA) | 252 | Each |
| Pillow (BEDPACK 2 EA per bag x 25) | 500 | Each |
| Pillow Case, Disposable (2 EA per 25 x 5)) | 500 | Each |
| Pillow Case, Disposable (200 EA per x 5) | 1000 | Each |
| Pillow Case, Disposable (5 CS x 100) | 500 | Each |
| Plate, Dinner, Heavyweight ( 4 PKG per CS x 4) | 16 | Pkg 125 |
| Plugs, Child Protective | 120 | Each |
| Power Cord, Electric, 100' | 26 | Each |
| Power Cord, Electric, 50' | 32 | Each |
| Power, Outlet Box, 6-Outlet Surge Type w/Cord | 60 | Each |
| Prep Pad, Alcohol | 2 | Pkg 3000 |
| Privacy Screen, 3 Fold Panel ( 15 EA per) | 45 | Each |
| Protective Underwear Pullups, Extra Large | 3 | Pkg 56 |
| Protective Underwear Pullups, Large | 2 | Pkg 72 |
| Protective Underwear Pullups, Medium | 2 | Pkg 80 |
| Protective Underwear Pullups, Small | 2 | Pkg 88 |
| Protectors, Paper Sheet, Non-Glare | 10 | Pkg 50 |
| Protectors, Paper Sheet, Non-Glare | 12 | Pkg 50 |
| Razor, Disposable | 300 | Each |
| Repellent, Insect | 252 | Each |
| Rope Nylon | 5 | Each |
| Safety Pin, Large | 5 | Pkg 144 |
| Safety Pin, Large | 2 | Pkg 144 |
| Safety Pin, Medium | 2 | Pkg 144 |
| Scissor, Lister | 5 | Each |
| Scissor, Lister | 10 | Each |
| Scissor, Lister | 2 | Each |
| Scissors | 10 | Each |
| Set, Gravity Feeding | 2 | Pkg 30 |
| Shampoo, Personal | 250 | Each |
| Sharps Container, Large | 1 | Each |
| Sharps Container, Large | 12 | Each |
| Sharps Container, Small | 5 | Each |
| Sharps Container, Small | 48 | Each |
| Shaving Cream, Non-Aerosol | 1 | Case 144 |
| Sheet, Bed, White, Disposable | 500 | Each |
| Sheet, Bed, White, Disposable | 1000 | Each |
| Sheet, Bed, White, Disposable( 2 ea X 25 X 10) | 500 | Each |
| Shield, Face (2 X 96) | 192 | Each |
| Shower Curtain | 30 | Each |
| Shower Seat w/Back | 4 | Each |
| Shower Seat w/Back (700 lbs) | 5 | Each |
| Sign Language Board | 3 | Each |
| Slide Board, PT Transfer | 2 | Each |
| Sling, Patient Lift, 450 lbs. | 5 | Each |
| Sling, Patient Lift, Washable, 1000 lbs. | 5 | Each |
| Soap, Bar (50 bags x 5) | 250 | Each |
| Soap, Lotion | 12 | Pkg 12 |
| Stand, IV | 50 | Each |
| Staple Remover | 5 | Each |
| Staple Remover | 11 | Each |
| Stapler | 5 | Each |
| Stapler | 11 | Each |
| Staples | 5 | Case 5000 |
| Staples | 11 | Case 5000 |
| Station, Hand Wash ( 2 EA Per) | 6 | Each |
| Acc.Accessible | 2 | Each |
| Step Stool | 4 | Each |
| Stethoscope | 5 | Each |
| Stethoscope | 10 | Each |
| Stethoscope | 5 | Each |
| Stickers, Kids (Rolls) | 5 | Each |
| Stockinette 4" Roll | 10 | Each |
| Straw, Drinking | 8 | Box 500 |
| Stretcher (guerney) | 1 | Each |
| Stretcher, Bariatric (guerney) | 1 | Each |
| Stretcher, IV Rod | 2 | Each |
| Suction Catheter 14 FR | 1 | Case 100 |
| Sunblock | 21 | Case 12 |
| Suture Kit, Laceration Tray (2 X 16) | 32 | Each |
| Suture, Monosof 4-0 18" black PC-3/PC-11 needle | 1 | Box 12 |
| Suture, Monosof 5-0 18" black p-3/p-13 needle | 1 | Box 12 |
| Syringe, Luer-Lock, 5cc | 600 | Each |
| Syringe, Luer-Lock, Disposable 10cc | 3 | Pkg 100 |
| Syringe, Piston 60cc | 2 | Case 50 |
| Table, Folding (9 EA x 6) | 54 | Each |
| Tag, Triage | 1 | Pkg 500 |
| Tape Dispenser w/ 6 rolls of tape | 5 | Each |
| Tape Dispenser w/ 6 rolls of tape | 11 | Each |
| Tape, Coban, 1" | 90 | Each |
| Tape, Coban, 4" | 54 | Each |
| Tape, Duct | 24 | Each |
| Tape, Electrical | 12 | Each |
| Tape, Masking | 24 | Each |
| Tape, Surgical, Durapore 1" | 6 | Box 12 |
| Tape, Surgical, Medipore 2" | 12 | Box 6 |
| Tarp | 18 | Each |
| Thermometer, Bat Powered w/Probe (Welch Allyn) | 15 | Each |
| Thermometer, Probe Cover (Welch Allyn) | 500 | Each |
| Thermometer, Probe Cover (Welch Allyn) | 3000 | Each |
| Tissue, Facial | 360 | Each |
| Tissue, Facial (50 x 5) | 250 | Each |
| Toilet Brush & Cup Combo | 12 | Each |
| Toilet Paper | 288 | Each |
| Toilet Paper (50 x 5) | 250 | Each |
| Tongue Depressor | 6 | Pkg 500 |
| Tongue Depressor | 2 | Pkg 500 |
| Tool Kit | 1 | Each |
| Toothbrush, Adult | 2 | Case 72 |
| Toothbrush, Adult (50 x 5) | 250 | Each |
| Toothbrush, Child | 50 | Each |
| Toothpaste | 432 | Each |
| Tourniquets | 250 | Each |
| Tourniquets | 250 | Each |
| Towel, Bath, Cotton | 360 | Each |
| Towel, Bath, Cotton ( 60 x 5) | 300 | Each |
| Towel, Bath, Cotton (2 EA x 25 x 10) | 500 | Each |
| Towel, Paper Roll | 4 | Case 30 |
| Towel, Paper, Folded (Brick) | 5 | Each |
| Towel, Paper, Folded (Brick) | 120 | Each |
| Towel, Paper, Folded (Brick) (50 x 5) | 250 | Each |
| Towelettes, Antimicrobial | 15 | Pkg 1000 |
| Transfer Bench w/ Back, 700lb | 5 | Each |
| Trauma Pack, Back Pack, Empty | 4 | Each |
| Trauma Pack, Back Pack, Full | 4 | Each |
| Trauma Pack, Bag, Empty | 4 | Each |
| Trauma Pack, Bag, Full | 4 | Each |
| Tray, Tracheostomy Care Kit | 1 | Pkg 20 |
| Tube, Nasal Gastric (14FR) | 1 | Case 50 |
| Tube, Nasal Gastric (16FR) | 1 | Pkg 50 |
| Tube, Yankauer | 2 | Pkg 50 |
| Tubing, CPAP 6 ft | 5 | Each |
| Urinal, Male, Disposable | 1 | Case 50 |
| Walker, 300 lbs | 4 | Each |
| Walker, 700 lbs | 5 | Each |
| Walkie-Talkie Set | 8 | Each |
| Wash Cloth, Cotton, White | 300 | Each |
| Wash Cloth, Cotton, White (50 x 10) | 500 | Each |
| Wash Cloth, Disposable, Face | 2 | Case 500 |
| Wash Cloth, Disposable, Face (5 CS per) | 25 | Case 500 |
| Water, Sterile | 1 | Case 20 |
| Wedge, Foam | 2 | Each |
| Wheel Kit, Walker, 700 lbs. | 5 | Pair |
| Wheelchair, 22" | 2 | Each |
| Wheelchair, 26" | 5 | Each |
| Wheelchair, 18" | 4 | Each |
| Wheelchair, 24" | 3 | Each |
| Wipes, Baby (Tub) | 50 | Each |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **General (non-acute) Care / 50-bed / Pharmacy Recommendations** | | | | |
| **Item Description** | **Brand Name** | **Unit of Measure** | **Qty** |
| Acetaminophen Infant Drops 100mg/1mL, 15mL | Tylenol | Each | 5 |
| Acetaminophen Oral Susp. 160mg/5mL, 120mL | Tylenol | Each | 6 |
| Acetaminophen Suppositories 120mg | Tylenol | Each | 12 |
| Acetaminophen Suppositories 325mg | Tylenol | Each | 12 |
| Acetaminophen Tablets 325mg | Tylenol | Each | 400 |
| Acetaminophen w/Codeine Tablets 300mg/30mg UD | Tylenol/Cod #3 | Each | 100 |
| Acetazolamide Tablets 250mg | Diamox | Each | 100 |
| Acyclovir Capsules 200mg | Zovirax | Each | 200 |
| Adenosine Inj. 3mg/mL, 2mL vial | Adencard | Each | 15 |
| Afterbite Bee Sting | Afterbite | Each | 1 |
| Albendazole Tablets 200mg | Albenza | Each | 28 |
| Albuterol Inhalation Solution 0.083%, 3mL ampoule | Proventil | Each | 100 |
| Albuterol Metered Dose Inhaler, HFA | Proventil | Each | 25 |
| Albuterol Sulfate Syrup 2mg/5mL, 480mL | Ventolin | Each | 1 |
| Alcohol Prep Pad | Alcohol | Each | 200 |
| Allopurinol Tablets 100mg | Zyloprim | Each | 100 |
| Alteplase 50mg Vial (29 mil units) | Ateplase | Each | 2 |
| Amiodarone HCl Inj., 150mg/3mL vial | Cordarone | Each | 25 |
| Amiodarone HCl Tablets 200mg | Cordarone | Each | 90 |
| Amlodipine Tablets 5mg | Novasc | Each | 180 |
| Amoxicillin Capsules 250mg | Amoxil | Each | 500 |
| Amoxicillin Oral Susp. 250mg/5mL, 150mL | Amoxil | Each | 6 |
| Amoxicillin/Clavulanic Oral Susp. 200mg/28.5mg/5mL, 100mL | Augmentin | Each | 12 |
| Amoxicillin/Clavulanic Tablets 875mg/125mg | Augmentin | Each | 100 |
| Amphetamine Mixed Salts Capsules XR 5mg | Adderall XR | Each | 100 |
| Ampicillin Sodium Inj. 1gm vial | Ampicillin | Each | 10 |
| Antacid Liquid Regular Strength 12oz. | Maalox | Each | 6 |
| Antipyrine/Benzocaine Otic Solution | Auralgan | Each | 6 |
| Artificial Tears Ophthalmic Solution, 15mL | Liquifilm | Each | 6 |
| Aspirin Chewable Tablets 81mg | Aspirin | Each | 432 |
| Aspirin Tablets 325mg | Aspirin | Each | 500 |
| Atenolol Tablets 50mg | Tenormin | Each | 100 |
| Atropine Sulfate Inj. 0.1mg/mL, 10mL syringe | Atropine | Each | 10 |
| Azithromycin Suspension 200mg/5mL, 30mL | Zithromax | Each | 8 |
| Azithromycin Tablets 250mg, 3 x 6's | Z-Pak | Each | 12 |
| Bacitracin Ointment 0.9gm, UD | Bacitracin | Each | 144 |
| Baclofen Tablets 10mg | Lioresal | Each | 100 |
| Beclomethasone Dipropionate Inhaler 40mcg, 8.7gm | Qvar | Each | 5 |
| Benzoin Compound Tincture, 120mL | Benzoin | Each | 1 |
| Benztropine Mesylate 1mg/mL, 2mL ampoule | Cogentin | Each | 5 |
| Benztropine Mesylate Tablets 1mg | Cogentin | Each | 100 |
| Bisacodyl Suppositories 10mg | Dulcolax | Each | 24 |
| Bisacodyl Tablets 5mg | Ducolax | Each | 100 |
| Bismuth Subsalicylate Tablets 262mg UD | Pepto Bismol | Each | 90 |
| Bottle, Plastic, Amber, Liquid, 120mL | Bottle | Each | 100 |
| Brimonidine Tarate Ophth. Sol. 0.2%, 5mL | Alphagan P | Each | 5 |
| Brinzolamide Ophthalmic Suspension 1%, 10mL | Azopt | Each | 5 |
| Brush, Cylinder Cleaning, Medium | Cylinder Brush | Each | 1 |
| Bupivacaine HCl Inj. 0.5%, 30mL vial | Marcaine | Each | 25 |
| Bupropion HCl XR Tablets 150mg | Wellbutrin XR | Each | 60 |
| Calamine Lotion, Phenolated, 6 oz. | Calamine | Each | 6 |
| Calcium Carbonate Chewable Tablets 500mg | Tums | Each | 300 |
| Calcium Chloride Inj. 10% (100mg/mL), 10mL syringe | Calcium Chloride | Each | 10 |
| Carbamazepine Chew Tablets 100mg | Tegretol | Each | 100 |
| Carbamazepine Tablets 200mg | Tegretol | Each | 200 |
| Carbidopa/Levodopa Tablets 25mg/250mg | Sinemet | Each | 100 |
| Carpuject Holder | Carpuject Holder | Each | 2 |
| Carvedilol Tablets 12.5mg | Coreg | Each | 100 |
| Cefazolin Sodium Inj. 1gm vial | Ancef | Each | 25 |
| Ceftriaxone Sodium Inj. 1gm vial | Rocephin | Each | 20 |
| Cephalexin Capsules 500mg | Keflex | Each | 400 |
| Cephalexin Oral Susp. 250mg/5mL, 200mL | Keflex | Each | 2 |
| Cetirizine HCl Syrup 1mg/1mL, 120mL | Zyrtec | Each | 2 |
| Charcoal, Activated with Sorbitol, 240mL | Charcoal | Each | 3 |
| Ciprofloxacin HCl Ophth. Sol. 0.3% (3.5mg/mL), 5mL | Ciloxan | Each | 5 |
| Ciprofloxacin Tablets 500mg | Cipro | Each | 400 |
| Citalopram Tablets 10mg | Celexa | Each | 100 |
| Clindamycin HCl Capsules 150mg | Cleocin | Each | 200 |
| Clindamycin Phosphate Inj. 150mg/mL, 4mL vial | Cleocin | Each | 25 |
| Clonazepam Tablets 0.5mg UD | Klonopin | Each | 100 |
| Clonidine HCl Tablets 0.1mg | Catapres | Each | 200 |
| Clopidogrel Bisulfate Tablets 75mg | Plavix | Each | 180 |
| Condom, Lubricated | Trojan | Each | 24 |
| Conjugated Estrogens Tablets 0.625mg | Premarin | Each | 100 |
| Counting Tray & Spatula | Counting Tray | Each | 5 |
| Cyanocobalamin Injection 1000mcg/mL, 1mL vial | Vitamin B-12 | Each | 25 |
| Cyclobenzaprine HCl Tablets 10mg | Flexeril | Each | 200 |
| Cyclopentolate HCl Ophthalmic Solution 1%, 15 mL | Cyclogel | Each | 2 |
| Dexamethasone Sodium Phosphate Inj. 4mg/mL, 5mL vial | Decadron | Each | 25 |
| Dextrose 5% & Sodium Chloride 0.45% Inj., 1000mL IV bag | Dextrose/Na Cl | Each | 24 |
| Dextrose 5% & Sodium Chloride 0.9% Inj., 1000mL IV bag | Dextrose/Na Cl | Each | 24 |
| Dextrose Inj. 5%, 50mL IV bag | Dextrose | Each | 80 |
| Dextrose Inj. 50%, 50mL syringe | Dextrose | Each | 20 |
| Prescription Blanks, 100/pad | Rx Pad | Each | 1000 |
| Diaper Rash Ointment, 30gm | Desitin | Each | 6 |
| Diazepam Inj. 5mg/mL, 2mL Carpuject | Valium | Each | 10 |
| Diazepam Tablets 5mg UD | Valium | Each | 100 |
| Dibucaine Ointment 1%, 30gm | Nupercainal | Each | 5 |
| Diclofenac Sodium Ophthalmic Solution 0.1%, 5mL | Voltaren | Each | 2 |
| Digoxin Inj. 0.25mg/mL, 2mL ampoule | Lanoxin | Each | 10 |
| Digoxin Tablets 0.125mg | Lanoxin | Each | 100 |
| Diltiazem HCl Inj. 5mg/mL, 5mL vial | Cardizem | Each | 10 |
| Diltiazem HCl IR Tablets 60mg | Cardizem | Each | 100 |
| Diltiazem HCl XR Capsules 120mg | Cardizem SR | Each | 90 |
| Diphenhydramine Caplets 25mg | Benadryl | Each | 300 |
| Diphenhydramine Elixir 12.5mg/5mL, 120mL | Benadryl | Each | 4 |
| Diphenhydramine HCl Inj. 50mg/mL,1mL vial | Benadryl | Each | 25 |
| Divalproex Sodium DR Tablets 250mg | Depakote | Each | 100 |
| Dobutamine HCl Inj. 12.5mg/mL, 20mL vial | Dobutamine | Each | 10 |
| Dopamine HCl Inj. 40mg/mL, 10mL vial | Intropin | Each | 25 |
| Doxycycline Hyclate Tablets/Capsules 100mg | Vibramycin | Each | 100 |
| Enalapril Inj. 1.25mg/mL, 2mL vial | Vasotec | Each | 10 |
| Enoxaparin Inj. 40mg/0.4mL syringe | Lovenox | Each | 10 |
| Epinephrine Auto Injector 0.3mg | Epi-Pen Adult | Each | 4 |
| Epinephrine Auto Injector, Jr, 0.15mg | Epi-Pen Jr | Each | 4 |
| Epinephrine Inj. 1:1,000 (1mg/mL), 30mL vial | Adrenalin | Each | 1 |
| Epinephrine Inj. 1:10,000 (0.1mg/mL), 10mL syringe | Adrenalin | Each | 20 |
| Erythromycin DR Tablets, Enteric Coated, 250mg | Ery-tab | Each | 100 |
| Erythromycin Ophth. Oint.0.5% (5mg/gm), 3.5gm Tube | Ilotycin | Each | 6 |
| Ethambutol HCl Tablets 400mg | Myambutol | Each | 100 |
| Etomidate HCl Inj. 2mg/mL, 20mL vial | Amidate | Each | 20 |
| Eugenol 1/8 oz | Eugenol | Each | 1 |
| Famotidine Tablets 20mg | Pepcid | Each | 200 |
| Fentanyl Citrate Inj. 50mcg/mL, 2mL vial | Sublimaze | Each | 5 |
| Ferrous Gluconate Tablets 324mg | Iron Supplement | Each | 100 |
| Fluconazole Tablets 200mg | Diflucan | Each | 100 |
| Flumazenil Inj. 0.1mL/mL, 10mL vial | Romazicon | Each | 1 |
| Flunisolide Nasal Spray 29mcg/spray, 25mL | Nasarel | Each | 6 |
| Fluocinolone Acetonide Cream 0.025%, 15gm | Synalar | Each | 6 |
| Fluorescein Sodium Ophthalmic Strips, Sterile | Fluorescein | Each | 100 |
| Fluoxetine Capsules 20mg | Prozac | Each | 200 |
| Fluticasone Propionate HFA MDI 220mcg/Puff | Flovent | Each | 6 |
| Fluticasone Propionate HFA MDI 44mcg/Puff | Flovent | Each | 6 |
| Folic Acid Tablets 1mg | Folic Acid | Each | 100 |
| Formula, Infant, 60/40 Powder, 400gm | Similac PM 60/40 | Each | 6 |
| Formula, Infant, Soy and Iron Powder, 366gm | Similac Soy Isomil w/ Iron | Each | 6 |
| Fosphenytoin Sodium Inj., 50mg/mL, 2mL vial | Cerebyx | Each | 25 |
| Furosemide Inj. 10mg/mL, 10mL vial | Lasix | Each | 25 |
| Furosemide Tablets 40mg | Lasix | Each | 100 |
| Gabapentin Capsules 100mg | Neurontin | Each | 100 |
| Gabapentin Capsules 300mg | Neurontin | Each | 200 |
| Gentamicin Ophthalmic Solution 3% (3mg/mL), 5mL | Garamycin | Each | 6 |
| Glipizide Tablets 5mg | Glucotrol | Each | 200 |
| Glucagon for Inj. 1mg w/1mL water | Glucagon | Each | 2 |
| Glucose Tablets | Glucose | Each | 50 |
| Glyburide Tablets 5mg | Micronase | Each | 100 |
| Graduated Cylinder, 125mL | Graduated Cylinder | Each | 1 |
| Graduated Cylinder, 30mL | Graduated Cylinder | Each | 1 |
| Guaifenesin AC Syrup 100mg-10mg/5mL 120mL | Robitussin AC | Each | 4 |
| Guaifenesin DM Syrup, 120mL | Robitussin DM | Each | 12 |
| Guaifenesin Syrup, 120mL | Robitussin Exp. | Each | 12 |
| Haloperidol Lacatate Inj. 5mg/mL, 1mL vial | Haldol | Each | 25 |
| Haloperidol Tablets 1mg | Haldol | Each | 100 |
| Heparin Lock Flush Kit, 100 units/mL, 1mL vial | Heparin | Each | 25 |
| Heparin Sodium Inj. 1000 units/mL, 10mL vial | Heparin | Each | 25 |
| Hydrochlorothiazide Tablets 25mg | HydroDiuril | Each | 200 |
| Hydrocodone Bitartrate/APAP Tablets 5mg/300mg | Vicodin (new formulation) | Each | 300 |
| Hydrocortisone Acetate Suppository, 25mg | Anusol-HC | Each | 24 |
| Hydrocortisone Cream 1%, 30gm | Hytone | Each | 12 |
| Hydrocortisone Sod. Succ. Inj. 100mg/2mL vial | Solu-Cortef | Each | 2 |
| Hydromorphone Inj. 1mg/mL Carpuject | Dilaudid | Each | 30 |
| Ibuprofen Oral Drops 15mL | Motrin | Each | 6 |
| Ibuprofen Oral Susp. 100mg/5mL, 120mL | Motrin | Each | 6 |
| Ibuprofen Tablets 400mg | Motrin | Each | 600 |
| Ibuprofen Tablets 600mg | Motrin | Each | 400 |
| Inhalation Chamber Spacer for MDI | Aerochamber | Each | 12 |
| Inhalation Chamber with Mask, size Medium | Aerochamber | Each | 2 |
| Insulin Human and Insulin Isophane Susp. 70/30, 10mL vial | Humulin 70/30 | Each | 5 |
| Insulin NPH 100 units/mL, 10mL vial | Humulin / Novolin | Each | 10 |
| Insulin Regular 100 units/mL, 10mL vial | Humulin / Novolin | Each | 10 |
| Insulin, Glargine 10mL | Lantus | Each | 10 |
| Ipratropium Bromide Inhalation Aerosol HFA, 12.9gm | Atrovent | Each | 12 |
| Ipratropium Bromide Inhalation Solution 0.2%, 2.5mL ampoule | Atrovent | Each | 50 |
| Isoniazid Tablets 300mg | INH | Each | 100 |
| Isopropyl Alcohol 70%, 16oz. | Isopropyl Alcohol | Each | 6 |
| Isosorbide Dinitrate Tablets 10mg | Isordil | Each | 100 |
| Ketamine HCl Inj. 50mg/mL, 10mL vial | Ketalar | Each | 5 |
| Ketoralac Inj. 30mg/mL, 2mL vial | Toradol | Each | 25 |
| Label Printer, Thermal, Desktop (Dymo LabelWriter 450 Turbo), Labels 300/roll | Rx Labels | Each | 500 |
| Label, Chew Tablets, 1000/box | Labels | Each | 1 |
| Label, Discoloration of Urine and Feces, 1000/box | Labels | Each | 1 |
| Label, Drowsiness/No Alcohol, 1000/box | Labels | Each | 1 |
| Label, External Use Only, 1000/box | Labels | Each | 1 |
| Label, For the Ear, 1000/box | Labels | Each | 1 |
| Label, For the Eye, 1000/box | Labels | Each | 1 |
| Label, For the Nose, 1000/box | Labels | Each | 1 |
| Label, May Cause Drowsiness, 1000/box | Labels | Each | 1 |
| Label, No Milk, Dairy, 1000/box | Labels | Each | 1 |
| Label, Prescription, DHHS | Labels | Each | 1 |
| Label, Rectal Use, 1000/box | Labels | Each | 1 |
| Label, Shake Well, 1000/box | Labels | Each | 1 |
| Label, Take with Food/Milk, 1000/box | Labels | Each | 1 |
| Label, Take With Water Only, 1000/box | Labels | Each | 1 |
| Label, Vaginal Use Only, 1000/box | Labels | Each | 1 |
| Labels, Prescription, DHHS | Labels | Each | 1 |
| Lactated Ringer's Inj. 1000mL IV bag | Lactated Ringer's | Each | 24 |
| Lamotrigine Tablets 100mg | Lamictal | Each | 100 |
| Latanoprost Ophthalmic Solution 0.005%, 2.5mL | Xalatan | Each | 5 |
| Levofloxacin Tablets 500mg | Levaquin | Each | 200 |
| Levonorgestrel/Ethinyl Estradoil Tablets 0.15mg/0.03mg | Levlen | Each | 168 |
| Levothyroxine Sodium Tablets 0.05 mg (50mcg) | Synthroid | Each | 90 |
| Levothyroxine Sodium Tablets 0.1 mg (100mcg) | Synthroid | Each | 90 |
| Lidocaine HCl 1% w/Epinephrine Inj., 10mL vial | Xylocaine | Each | 25 |
| Lidocaine HCl Inj. 1%, 20mL vial | Lidocaine | Each | 25 |
| Lidocaine HCl Inj. 1%, 5mL syringe | Lidocaine | Each | 10 |
| Lidocaine Topical Solution 4%, 50mL | Xylocaine | Each | 1 |
| Lidocaine Viscous 2%, 100mL | Xylocaine | Each | 10 |
| Lidocaine/Prilocaine Cream 2.5%/2.5%, 5gm | EmLa | Each | 10 |
| Lisinopril Tablets 10mg | Prinivil | Each | 300 |
| Lithium Carbonate Tablets 300mg | Lithium | Each | 200 |
| Loperamide HCl Capsules 2mg | Imodium | Each | 200 |
| Loperamide HCl Solution 1mg/5mL, 120mL | Imodium | Each | 5 |
| Loratadine Tablets 10mg | Claritin | Each | 100 |
| Lorazepam Tablets 1mg UD | Ativan | Each | 100 |
| Losartan Potassium Tablets 25mg | Cozaar | Each | 180 |
| Magnesium Sulfate Inj. 50% (500mg/mL), 10mL syringe | Magnesium | Each | 10 |
| Mannitol Inj. 25% (12.5gm/50mL), 50mL vial | Osmitrol | Each | 25 |
| Meclizine HCl Tablets 25mg | Antivert | Each | 200 |
| Medroxyprogesterone Acetate Tablets 10mg | Provera | Each | 100 |
| Metformin HCl Tablets 500mg | Glucophage | Each | 500 |
| Methylergonovine Inj. 0.2mg/mL ampoule | Methergine | Each | 20 |
| Methylphenidate Tablets XR 18mg | Concerta | Each | 100 |
| Methylprednisolone Sodium Succinate Inj. 1000mg (1gm) vial | Solu-Medrol | Each | 2 |
| Methylprednisolone Sodium Succinate Inj. 125mg/2mL vial | Solu-Medrol | Each | 25 |
| Methylprednisolone Tablets 4mg dosepack | Medrol | Each | 210 |
| Metoclopramide HCl Inj. 5mg/mL, 2mL vial | Reglan | Each | 25 |
| Metoclopramide HCl Tablets 10mg | Reglan | Each | 100 |
| Metoprolol Inj. 1mg/mL, 5mL vial | Lopressor | Each | 10 |
| Metoprolol Tartrate Tablets 50mg | Lopressor | Each | 200 |
| Metronidazole Inj. 500mg/100mL IV bag | Flagyl | Each | 24 |
| Metronidazole Tablets 500mg | Flagyl | Each | 200 |
| Miconazole Vaginal Cream 2%, 45gm | Monistat | Each | 10 |
| Midazolam Inj. 5mg/mL, 2mL vial | Versed | Each | 20 |
| Moisturizing Lotion, 6oz. | Lubriderm | Each | 6 |
| Montelukast Sodium Tablets 10mg | Singulair | Each | 90 |
| Morphine Sulfate Inj. 10mg/mL, 1mL vial | Morphine | Each | 100 |
| Morphine Sulfate Tablets CR 30mg UD | Morphine | Each | 200 |
| Mortar and Pestle, 8oz, glass | Mortar and Pestle | Each | 2 |
| Mupirocin Ointment 2%, 22gm | Bactroban | Each | 6 |
| Naloxone HCl Inj. 0.4mg/mL, 1mL vial | Narcan | Each | 20 |
| Naproxen Tablets 500mg | Naprosyn | Each | 200 |
| Needle, 18G, 1.5inch | Needle | Each | 5 |
| Neomycin/PolyB/Bacitracin HC Ophth Ointment, 3.5gm | Cortisporin | Each | 12 |
| Nicardipene Inj. 40mg/200mL, IV bag | Cardene | Each | 3 |
| Nifedipine SA Tablets 30mg | Procardia XL | Each | 100 |
| Nitrofurantoin Monohydrate Capsules 100mg | Macrobid | Each | 200 |
| Nitroglycerin Inj. 5mg/mL, 10mL vial | Nitro-Bid | Each | 25 |
| Nitroglycerin Ointment 2%, 30gm | Nitro-Bid | Each | 2 |
| Nitroglycerin Sublingual Tablets 0.4mg (25 count) | Nitro-Stat | Each | 8 |
| Nitroglycerin Transdermal System 0.2mg/hr Patch | Nitrodur | Each | 30 |
| Nortriptyline HCl Capsules 25mg | Pamelor | Each | 100 |
| Nutritional Supplement, Glucose Control (Boost), 8oz. | Boost | Each | 27 |
| Nutritional Supplement, Powder, Vanilla (Ensure), 14oz. | Ensure | Each | 6 |
| Nystatin Cream 100,000units/gm, 15gm | Mycostatin | Each | 6 |
| Nystatin Oral Susp. 100,000units/mL, 60mL | Mycostatin | Each | 4 |
| Olanzapine Oral Disintegrating Tablets 5mg | Zyprexa Zydis | Each | 30 |
| Olanzapine Tablets 5mg | Zyprexa | Each | 100 |
| Omeprazole Capsule DR 20mg | Prilosec | Each | 500 |
| Ondansetron Inj. 2mg/mL, 2mL vial | Zofran | Each | 25 |
| One Touch Ultra Control Solution | One Touch | Each | 6 |
| One Touch ULTRA Test Strips, 50 strips | One Touch | Each | 3 |
| Ophthalmic Irrigating Solution 120mL | Collyrium | Each | 6 |
| Oral Electrolyte Solution 33.8oz | Pedialyte | Each | 6 |
| Oxybutynin HCl Tablets 5mg | Ditropan | Each | 100 |
| Oxycodone/Acetaminophen Tablets 5mg/325mg UD | Percocet | Each | 300 |
| Oxymetazoline Nasal Spray 0.05%, 15mL | Afrin | Each | 24 |
| Oxytocin Inj. 10units/mL, 1mL vial | Pitocin | Each | 25 |
| Pantoprazole Inj. 40mg/mL vial | Protonix | Each | 10 |
| Penicillin G for Inj., 5 mill units vial | Pfizerpen | Each | 10 |
| Permethrin Cream 5%, 60gm | Elimite | Each | 12 |
| Permethrin Topical Lotion 1% 60mL | Nix | Each | 12 |
| Petrolatum Jelly, 5gm UD | Vaseline | Each | 144 |
| Phenaphtazine Paper | Nitratest | Each | 1 |
| Phenobarbital Elixir 20mg/5mL, 473mL | Phenobarbital | Each | 1 |
| Phenobarbital Tablets 32.4mg UD | Phenobarbital | Each | 100 |
| Phenytoin Sodium Capsules ER 100mg | Dilantin | Each | 200 |
| Phenytoin Sodium Inj. 50mg/mL, 5mL vial | Dilantin | Each | 25 |
| Phenytoin Sodium Oral Susp. 125mg/5mL, 237mL | Dilantin | Each | 3 |
| Phytonadione Tablets 5mg (Vitamin K) | Mephyton | Each | 100 |
| Pioglitazone Tablets 15mg | Actos | Each | 90 |
| Piperacillin Sodium/Tazobactam Sodium Inj. 3.375mg vial | Zosyn | Each | 10 |
| Potassium Chloride ER Tablets 10mEq (750mg) | K-Dur | Each | 100 |
| Potassium Chloride Inj. 2mEq/mL, 10mL vial | Potassium Cl | Each | 25 |
| Prednisolone Acetate Ophth. Susp. 0.12%, 5ml | Pred-Mild | Each | 3 |
| Prednisolone Syrup, 15mg/5mL, 240mL | Prelone | Each | 1 |
| Prednisone Tablets 20mg | Deltasone | Each | 200 |
| Prednisone Tablets 5mg | Deltasone | Each | 200 |
| Prenatal Vitamins | Prenatal Vitamin | Each | 100 |
| Prochlorperazine Inj. 5mg/mL, 2mL vial | Compazine | Each | 20 |
| Prochlorperazine Maleate Tablets 10mg | Compazine | Each | 100 |
| Prochlorperazine Suppository 25mg | Compazine | Each | 24 |
| Promethazine HCl Inj. 25mg/mL, 1mL vial | Phenergan | Each | 25 |
| Promethazine Suppositories 25mg | Phenergan | Each | 12 |
| Promethazine Suppositories, Pediatric 12.5mg | Phenergan | Each | 12 |
| Propofol Inj. 10mg/mL, 100mL vial | Diprovin | Each | 10 |
| Propranolol HCl Inj. 1mg/mL vial | Inderal | Each | 10 |
| Protamine Sulfate 10mg/mL, 5mL vial | Protamine | Each | 25 |
| Pyrazinamide Tablets 500mg | Zinamide | Each | 100 |
| Pyridoxine HCl Tablets 50mg | Vitamin B-6 | Each | 100 |
| Quetiapine Fumerate Tablets 25mg | Seroquel | Each | 100 |
| Racepinephrine Inhalation Solution 0.5mL ampoule | S-2 | Each | 30 |
| Ranitidine HCl Inj. 25mg/mL, 2mL vial | Zantac | Each | 10 |
| Refrigerator, Portable (60 Liter) |  | Each | 1 |
| Rifampin Capsules 300mg | Rifadin | Each | 100 |
| Risperidone Tablets 1mg | Risperdal | Each | 120 |
| Saline Nasal Spray, 45mL | Ocean | Each | 12 |
| Sennosides Tablets 8.6mg | Senokot | Each | 100 |
| Sharps Container, w/Needle Remover, 1 Quart | Container | Each | 2 |
| Silver Sulfadiazine Cream 1%, 50gm | Silvadene | Each | 12 |
| Simvastatin Tablets 40mg | Zocor | Each | 90 |
| Sodium Bicarbonate Inj. 8.4% (50mEq/50mL) 50mL syringe | Sodium Bicarb. | Each | 10 |
| Sodium Chloride Inhalation Solution 0.9%, 3mL ampoule | Sod. Chloride | Each | 100 |
| Sodium Chloride Inj. 0.9%, 1000mL IV bag | Sod. Chloride | Each | 96 |
| Sodium Chloride Inj. 0.9%, 250mL IV bag | Sod. Chloride | Each | 24 |
| Sodium Chloride Inj. 0.9%, 500mL IV bag | Sod. Chloride | Each | 96 |
| Sodium Chloride Inj. 0.9%, 50mL IV bag | Sod. Chloride | Each | 80 |
| Sodium Chloride Inj. 0.9%, Bacteriostatic, 30mL vial | Sod. Chloride | Each | 25 |
| Sodium Chloride Irrigation 0.9%, 1000mL | Sod. Chloride | Each | 32 |
| Sodium Phosphate Rectal Enema, USP | Enema | Each | 12 |
| Sodium Polystyrene Sulfonate Suspension 15gm/60mL, 473mL | Kayexalate | Each | 1 |
| Spironolactone Tablets 25mg | Aldactone | Each | 200 |
| Succinylcholine Chloride Inj. 20mg/mL, 10mL vial | Anectine | Each | 5 |
| Sulfacetamide Sodium Ophthalmic Solution 10%, 15mL | Sulamyd | Each | 6 |
| Sulfamethox/Trimethoprim Oral Susp. 200mg/40mg/5mL, 473mL | Bactrim | Each | 1 |
| Sulfamethoxazole/Trimethoprim DS Tablets 800mg/160mg | Bactrim DS | Each | 200 |
| Sulfasalazine DR Tablets, Enteric Coated, 500mg | Azulfidine | Each | 100 |
| Syringe, 3mL, LL | Syringe | Each | 5 |
| Syringe, Dosing, 10mL | Syringe | Each | 50 |
| Syringe, Dosing, 5mL | Syringe | Each | 50 |
| Syringe/Needle, 1cc, w/28g or 29/g Needle (Safety Tip), Insulin (Latex Free) | Syringe | Each | 300 |
| Tablet Cut and Crush | Cut 'N Crush | Each | 5 |
| Tears Naturale, Single-Use Bullets | Tears Naturale | Each | 300 |
| Terazosin HCl Capsules 1mg | Hytrin | Each | 100 |
| Terbutaline Sulfate Inj. 1mg/mL, 1mL vial | Brethine | Each | 25 |
| Tetanus & Diphtheria Toxoids Abs Inj., Adult, 0.5mL syringe | Vaccine | Each | 50 |
| Tetanus & Diphtheria Toxoids Abs Inj., Peds, 1mL vial | Vaccine | Each | 10 |
| Tetanus Immune Globulin Inj.m, 250units/syringe | Hyper-TET | Each | 2 |
| Tetracaine Ophthalmic Solution 0.5%, 15mL | Tetracaine | Each | 2 |
| Tetrahydrazoline HCl Ophthalmic Solution, 0.05%, 15mL | Visine | Each | 24 |
| Thermometer, Digital (For Refrigerator Monitoring) | Thermometer | Each | 1 |
| Thiamine HCl Inj. 100mg/mL, 2mL vial | Vitamin B1 | Each | 25 |
| Throat Lozenges | Cepacol | Each | 80 |
| Timolol Maleate Ophthalmic Solution 0.5%, 5mL | Blocadren | Each | 2 |
| Tobramycin Inj. 40mg/mL, 2mL vial | Nebcin | Each | 25 |
| Trazodone HCl Tablets 50mg | Desyrel | Each | 200 |
| Triamcinolone Acetonide Cream 0.1%, 15gm | Aristocort | Each | 6 |
| Triple Antibiotic Ointment, 15gm | Neosporin | Each | 6 |
| Urine Test Strips (Multistix 10 SG), 100 strips | Multistix 10 | Each | 1 |
| Valproic Acid Capsules 250mg | Depakene | Each | 100 |
| Vancomycin HCl Inj. 1gm vial | Vancocin | Each | 10 |
| Vecuronium Bromide Inj. 10mg/10mL vial | Norcuron | Each | 10 |
| Venlafaxine HCl ER Tablets/Capsules 37.5mg | Effexor XR | Each | 90 |
| Verapamil Tablets 80mg | Calan | Each | 300 |
| Vials, Clear View, 20 dram | Vial | Each | 180 |
| Vials, Clear View, 8 dram | Vial | Each | 400 |
| Vials, Screw Lock Caps, 20 dram | Cap | Each | 200 |
| Vials, Screw Lock Caps, 8 dram | Cap | Each | 400 |
| Warfarin Sodium Tablets 1mg | Coumadin | Each | 200 |
| Warfarin Sodium Tablets 5mg | Coumadin | Each | 200 |
| Water For Inj., Sterile, 20mL vial | Water | Each | 50 |
| Water For Irrigation, Sterile, 1000mL | Water | Each | 32 |
| Water, Distilled, 1 gallon (for Rx compounding) | Distilled Water | Each | 6 |
| Zinc Oxide Ointment, 28gm | Zinc Oxide | Each | 12 |
| Zolmitriptan Tablets 5mg | Zomig | Each | 15 |
| Zolpidem Tartrate Tablets 10mg UD | Ambien | Each | 100 |

|  |  |  |
| --- | --- | --- |
| **General (non-acute) Care / 250-bed / Lab Recommnedations** | | |
| **Item Description** | **Unit of Measure** | **Quantity** |
| Analyzer, Urinalysis, Clinitek, Status Plus | Each | 1 |
| Analyzer, Clinitek Status Plus Test Table | Each | 1 |
| Analyzer, Clinitek Status Plus Carriage | Each | 1 |
| Analyzer, Clinitek Status Plus AC Power Adapter | Each | 1 |
| Analyzer, Clinitek, Printer Paper, Thermal | Each | 2 |
| Analyzer, Clinitek Status Plus Manual | Each | 1 |
| Battery, Alkaline, Size AA (1.5 Volt) | Each | 7 |
| Analyzer, Clinitek Status Plus AC Power Cord | Each | 1 |
| Analyzer, i-STAT 1 | Each | 1 |
| Analyzer (i-STAT), Printer | Each | 1 |
| Analyzer (iStat 300), Printer, Battery, Rechargable | Each | 2 |
| Analyzer (i-STAT), Printer, Paper | Each | 1 |
| Analyzer, i-Stat, Printer, AC Power Cord | Each | 1 |
| Analyzer (i-STAT), Electronic Simulator | Each | 1 |
| Battery, Lithium, Size 9 Volt, Non-Rechargable | Each | 2 |
| Timer, 24 Hr, Battery Operated | Each | 1 |
| Glucometer Kit (One-Touch Ultra): Glucose Meter | Each | 1 |
| One Touch ULTRA Test Strips, 50 strips | Each | 1 |
| One Touch Ultra Control Solution | Each | 1 |
| Glucometer Kit (One-Touch Ultra): Lancets | Each | 10 |
| Glucometer Kit (One-Touch Ultra): Battery, Lithium (3.0 Volt) | Each | 1 |
| Cardiac Marker Test Kit (MI 3 in 1 StatusFirst Myoglobin, CK-MB, Troponin I) | Each | 5 |
| Pregnancy Test (hCG Urine Test) | Each | 5 |
| Urine Test Strips (Multistix 10 SG), 100 strips | Each | 1 |
| Thermometer, Traceable | Each | 1 |
| Forms, Laboratory Results | Each | 100 |
| Log Book, Hematology Manual and Instrument | Each | 1 |
| Analyzer, Hematology, Coulter AcT Diff2 | Each | 1 |
| Analyzer, Hematology, Coulter AcT Diff 2 Manual | Each | 1 |
| Analyzer, Hematology, Coulter Waste Tubing | Each | 1 |
| Analyzer, Hematology, Coulter AcT Tainer Pickup Tubes Kit | Each | 1 |
| Printer, Lexmark, E360D | Each | 1 |
| Printer, Lexmark E360H11A Toner | Each | 1 |
| Paper, Copy, 8½" x 11", Ream | Each | 1 |
| Printer, Laser, Okidata B4600, Power Supply | Each | 1 |
| Power Conditioner Box, 3.0 Amp, 120v | Each | 1 |
| Power Conditioner Box, 3.0 Amp, 120V, AC Power Cord | Each | 1 |
| Analyzer, Blood Chemistry, Piccolo Xpress | Each | 1 |
| Analyzer, Blood Chemistry, Piccolo Xpress, Paper (Roll) | Each | 1 |
| Analyzer, Blood Chemistry, Piccolo Xpress, Manual | Each | 1 |
| Pipette Tip, 0.1ml, Disposable | Each | 1 |
| Pipette, Micro, 0.1ml | Each | 1 |
| Analyzer, Blood Chemistry, Piccolo Xpress, AC Power Cord | Each | 1 |
| Surge Protector, UPS | Each | 1 |
| Tool, Screwdriver, Pocket, 4 in 1 | Each | 1 |
| Alcohol Pad, Isopropyl, 2" x 2", Sterile | Each | 200 |
| Wooden Applicators, 6" | Each | 1000 |
| Bag, Bio-Hazard, Specimen, 6" x 9" | Each | 200 |
| Bag, Infectious Waste, Red, 25" X 34" | Each | 25 |
| Binder, 3-Ring, 1", Black | Each | 1 |
| Cleanser, Hand, BZK Antiseptic, Single Use | Each | 100 |
| Clipboard, Plastic | Each | 2 |
| Copy of CLIA License | Each | 1 |
| Container, Waste Drainage, 10L | Each | 1 |
| Coulter diff AcT Tainer Reagent Kit | Each | 1 |
| Sharps Container, w/Needle Remover, 1 Quart | BX | 3 |
| Gloves, Examination, Nitrile, Large (Powder Free & Latex Free) | Each | 100 |
| Gloves, Examination, Nitrile, Medium (Powder Free & Latex Free) | Each | 100 |
| Gloves, Examination, Nitrile, X-Large (Powder Free & Latex Free) | Each | 100 |
| Goggles, Safety, Chem Splash | Each | 2 |
| Hand Sanitizer (Purell® Instant Hand Sanitizer, 12 oz.) | Each | 1 |
| Rocker, Tabletop Hemo-Dyne, 14 Tube Cap | Each | 1 |
| IV, Starter Set | Each | 100 |
| Lab Coat, Knee Length, Long Sleeve, Medium | Each | 6 |
| Lab Coat, Knee Length, Long Sleeve, Large | Each | 6 |
| Lab Coat, Knee Length, Long Sleeve, X-Large | Each | 6 |
| Needle, Blood Collection, 23G x 3/4"x12" | Each | 100 |
| Needle, Blood Collection, 21G x 1-1/4" | Each | 200 |
| Arterial Blood Gas Sampling Kit | Each | 25 |
| Shears, Trauma | Each | 1 |
| Sponge, Gauze, 4" x 4", Non-sterile | Each | 200 |
| Hemoccult® Test Kit | Each | 100 |
| Test Kit, Drug Abuse Panel (DOA), 25 Tests | Each | 1 |
| Tube, Capillary, 100 mcl, Lithium Heparin | Each | 100 |
| Tube, Blood Collection, EDTA 4ml, Purple | Each | 100 |
| Tube, Blood Collection, Green Top, Heparin, 4ml | Each | 100 |
| Tube, Blood Collection, Red Top 7ml (Vac-U-Tainer) | Each | 100 |
| Tube, Blood Collection, (Vac-U-Tainer Barrel) | Each | 250 |
| Tube, Blood Collection, Holder (Vac-U-Tainer) | Each | 1 |
| Urine Collection Kit (Easy Catch) | Each | 25 |
| Wash Bottle, Nalgene, 500ml | Each | 1 |
| Microscope, Binocular w/Light Source | Each | 1 |
| Microscope, Binocular, Spare Bulb | Each | 1 |
| Microscope, Glass Slide, 25mm x 75mm | Each | 144 |
| Microscope, Glass Slide, Cover (1 oz. box) | Each | 200 |
| Microscope, Lens Paper (1cm x 15 cm), 50 Sheets/Pack | Each | 50 |

**Sample Statement of Work**

Task Order XXX

RFR XXX

Medical and Support Personnel

[Location]

Statement of Work

**1.0 Scope**

The Contractor shall provide experienced medical and support personnel to provide round the clock medical service at a quarantine site between XX/XX/XXXX and XX/XX/XXXX.

**2.0 Tasks**

* 1. The Contractor shall provide contracted medical staff to support the alternative care site at Fairfield Inn. There will be three (3) teams covering three (3) eight hour shifts. Nine (9) personnel per shift for a total of twenty seven (27) personnel.

The composition of each of the teams (X 3) will be as follows: 1 Physician (emergency med or internal meds), 1 Mid-Level (PA/NP), 2 Nurses, 2 Paramedics, 1 Safety Officer (with infection control training), 2 Logistics

* 1. All contract personnel must be on site no later than [Month, Day, and Year] and be ready to begin operations at 08:00 pacific coast time. The contractor should arrange for three shifts of eight (8) hours each and they shall be organized based on contractor preference and arranged in such a manner as to reduce the stress on providers and allow for the safest possible situation for everyone.
  2. This is an assisted living site that has a high volume of patients that have tested positive for the COVID19 so All PPE should meet CDC guidance.
  3. The Contractor shall provide all personnel and equipment.
  4. Contractor shall provision its own transportation, housing, per diem and wrap around services, per industry standards, for mission requirements and for personnel support.
  5. The address of the location is: XXX
  6. Contractor must be able to communicate with the local public health contingent during the operations that will be located at XXX.
  7. Contractor will report daily operational status to the COR and point of contact (POC) that is inclusive of patient information (count, conditions, etc. (final reporting information will be provided)).
  8. POC is XXXXX

**3.0 Period of Performance**

**3.1** The period of performance is March 14, 2020 08:00 PDT through COB April 04, 2020 23:50 PDT

## SUPPLEMENT 2: Additional Guidance for Acute Care ACS Model

|  |  |
| --- | --- |
| **Medical Staffing for 50-bed footprint** | **24 hours** |
| Physician | 4 |
| Advance Care Practitioners | 4 |
| Nurse Anesthetists | 2 |
| RN | 24 |
| Pharmacist | 2 |
| EMT-P | 4 |
| Radiology Technologist | 2 |
| Respiratory Therapist | 8 |
| Total | 50 |

Note on Personal Protective Equipment

Based on the current COVID-19 situation and availability of PPE, CDC has specific recommendations PPE use. Please refer to current CDC guidance to ensure that all staff (e.g., security, support staff, logistics, medical providers) caring for patients with COVID-19 have appropriate PPE. PPE is a component of an overall infection prevention and control strategy that includes administrative and environmental controls in addition to hand hygiene, PPE and other measures to ensure safe provision of care and limiting the risk of nosocomial spread of infection. Please refer to CDC current guidance for infection prevention and control strategies.

It is recommended that each site measure the amount of PPE at the beginning and end of each day and monitor the burn rate of PPE on a daily basis. The online [CDC Personal Protective Equipment (PPE) Burn Rate Calculator](https://www.cdc.gov/coronavirus/2019-ncov/hcp/ppe-strategy/burn-calculator.html) is a spreadsheet-based model that provides information for healthcare facilities to plan and optimize the use of PPE for response to coronavirus disease 2019 (COVID-19). This tool can also be used for planning PPE use outside the context of COVID-19, where PPE shortages may also occur due to supply chain issues related to the COVID-19 response (e.g. manufacturing facilities).

Based on previous experience the table below is a reference for the ***potential*** burn rate of PPE for a General (non-acute) Care 50-bed site for 10 days. Each site must determine its own requirements.

|  |  |  |
| --- | --- | --- |
| **Item** | **Qty** | **Unit of Measure** |
| XL Exam Gloves 14-680C | 3000 | each |
| L Exam Gloves 14-678C | 4000 | each |
| M Exam Gloves | 4000 | each |
| Small Exam Gloves | 4000 | each |
| 3 M 1860 Respirators (Regular) | 4000 | each |
| 3M 1860 Respirators (Small) | 3000 | each |
| 10 Pack Cover Gowns | 60 | 10-Pack |
| Earloop Surgical Mask | 40 | Box |
| Face Shields | 1000 | each |
| Hand Sanitizer 937916 | 100 | Bottles |
| Yellow Isolation Gowns (XL) | 2000 | each |
| Yellow Isolation Gowns (l) | 2000 | each |
| Coveralls (non Tyvek) | 2000 | each |
| Tyvek Coveralls (XL) | 200 | each |
| Tyvek Coveralls (L) | 200 | each |
| Tyvek Coveralls (M) | 200 | each |

|  |  |  |
| --- | --- | --- |
| **Acute Care / 50-bed / Medical-Biomed Recommendations** | | |
| **Description** | **Qty** | **Unit** |
| 2X3 INCH OPSITE | 350 | each |
| 5-IN-1 CONNECTOR | 100 | each |
| ABD PADS LARGE 8IN X7.5IN STERILE 15 TO 20/TRAY 12 TO 16 TRAYS PER PKG (180-320) 240S | 1500 | each |
| ABDOMINAL BINDER | 50 | each |
| ABORhCard WITH ACCESSORIES (FOR BLOOD TYPING) | 50 | per month |
| ABTHERA OPEN ABDOMINAL DRESSING WOUND THERAPY 5S | 10 | units |
| ACE WRAP 4.5 YD X 4 IN WASHABLE PRESSURE | 150 | each |
| ACE WRAP NONSTER 4.5 YD X 3 PKG 12S | 150 | each |
| ACE WRAP, 6 | 150 | each |
| ADAPTER CATHETER TO LUER SYRINGE C.R. BARD FITS 4-6FR CATH 24S | 750 | each |
| ADAPTER CONNECTING VENTILATOR MULTI 15MM ID 22MM OD PLASTIC 50S | 50 | each |
| ADAPTER DIRECT DRAW FOR MULTI SAMPLE LUER ADAP W/HOLDER STER 50S | 750 | each |
| ADAPTER SYRINGE TO TUBING DBL MALE LUER LOCK ADAP PLASTIC 100S | 200 | each |
| ADAPTER TRACHEOSTOMY CANNULA ADAP TO GAS CIRCUIT 15MM ID CONN50S | 100 | each |
| ADHESIVE TAPE SURGICAL MICROFOAM 198 IN X 3 IN WHITE CLOSED CELL VINYL 4S | 400 | each |
| ADMINISTRATION SET INFUSION PUMP 50S | 1500 | each |
| ADMINISTRATION SET USE WITH INFUSION PUMP 50S | 1500 | each |
| AED PRO ECG CABLE AAMI | 5 | each |
| AED, Defibrillator | 5 |  |
| AIRWAY NASOPHARYNGEAL 6MM ID 8MM OD SMOOTH RD EDGES PLAS DISP10S | 20 | each |
| AIRWAY NASOPHARYNGEAL 9MM ID 12MM OD KINK RES SMOOTH RD EDGES10S | 20 | each |
| AIRWAY NASOPHARYNGEAL PORTEX 8MM ID 10.5MM OD KINK RES DISP 10S | 40 | each |
| AIRWAY NASOPHARYNGEAL PORTEX DSGN PLAS 7MM ID 9.5MM OD STER 10S | 20 | each |
| AIRWAY NASOPHARYNGEAL ROBERTAZZI DESIGN 34FR OBLIQUE TIP 12S | 40 | each |
| AIRWAY NASOPHARYNGEAL SZ 32 RUBBER O/A ADJUSTABLE FLANGE 5S | 40 | each |
| AIRWAY ORAL BERMAN DESIGN ADULT EXTRA LARGE 100MM LG PLASTIC 10S | 40 | each |
| AIRWAY PHARYNGEAL BERMAN DESIGN CHILD SIZE 80MM LENGTH 10S | 40 | each |
| AIRWAY PHARYNGEAL BERMAN DSGN LARGE ADULT 100MM LG PLAS DISP 12S | 40 | each |
| AIRWAY PHARYNGEAL BERMAN DSGN MEDIUM 40MM LG OPEN SIDE DISP 12S | 40 | each |
| AIRWAY PHARYNGEAL BERMAN DSGN MEDIUM 90MM LG OPEN SIDE DISP 12S | 40 | each |
| AIRWAY PHARYNGEAL GUEDEL 60MM LG CHILD SIZE PLASTIC DISP 10S | 20 | each |
| AIRWAY PHARYNGEAL GUEDEL DSGN SZ 4 MED/LGE ADL 90MM LG PLAS 30S | 20 | each |
| AIRWAY, KING LTS-D, #3 (Yellow) (Latex Free) | 20 | each |
| AIRWAY, KING LTS-D, #5, (Purple) (Latex Free) | 20 | each |
| AIRWAY, KINGLTS-D, #4, (Red) (Latex Free) | 20 | each |
| AIRWAY, LARYNGEAL MASK (LMA), #2, Disposable (Latex Free) | 40 | each |
| AIRWAY, LARYNGEAL MASK (LMA), #3, Disposable (Latex Free) | 40 | each |
| AIRWAY, LARYNGEAL MASK (LMA), #4, Disposable (Latex Free) | 40 | each |
| AIRWAY, MANAGEMENT, TRACHEAL HOOK | 20 | each |
| AIRWAY, NASOPHARNGEAL, 14 Fr (Latex Free) | 20 | each |
| AIRWAY, NASOPHARNGEAL, 24 Fr (Latex Free) | 20 | each |
| ALARIS BLOOD TUBING | 75 | each |
| ALCOHOL PADS SMALL 200EA | 1500 | each |
| AMBU BAG, NEONATE | 15 | each |
| AMBU BAG, PEDICATRIC | 15 | each |
| Aneroid, BP Cuff, Adult | 18 | each |
| Aneroid, BP Cuff, Adult | 18 | each |
| Aneroid, BP Cuff, Adult | 18 | each |
| Aneroid, BP Cuff, Child | 18 | each |
| Aneroid, BP Cuff, Child | 18 | each |
| Aneroid, BP Cuff, Child | 18 | each |
| Aneroid, BP Cuff, Infant | 18 | each |
| Aneroid, BP Cuff, Infant | 18 | each |
| Aneroid, BP Cuff, Infant | 18 | each |
| Aneroid, BP Cuff, Obese | 18 | each |
| Aneroid, BP Cuff, Obese | 18 | each |
| Aneroid, BP Cuff, Obese | 18 | each |
| ANESTHESIA CIRCUIT HUMIDIFIER | 200 | each |
| ANESTHESIA NERVE STIMULATOR | 4 | each |
| Anti-Microbial Solution, 4%, 32 oz. | 5 | each |
| APPLICATOR GLYCERIN-LEMON OIL IMPREGNATED 4 IN LG DISPOSABLE | 400 | each |
| Arm Bands, Staff ID (20 PKG of 5 =100) | 1 | each |
| Arm Board, Padded, Short | 150 | each |
| ARTERIAL BLOOD GAS SAMPLING KIT | 2 | boxes |
| ARTERIAL LINE SET | 2 | boxes |
| Aspirator, Portable w/ Charger | 50 | similar to suction |
| Backboard (Adult) w/ Straps | 3 | each |
| Backboard (Child) w/ Straps | 1 | each |
| BAG BIOHAZARD DISP 45 X 38 PLAS RED HEAT SEAL TOP 100S | 750 | bags |
| BAG BIOHAZARD, SPECIMEN, 6" X 9" | 4 | packages |
| BAG BLOOD RECOVERY AUTOTRANSFUSION PE SAHARA FITS ALL MDLS 6S | 4 | sets |
| BAG COLLECTION AND TUBING VENTRICULAR KIT | 100 | sets |
| BAG LAUNDRY 46X25 COTTON DUCK NATURAL COLOR SELF-CLOSING VALVE | 500 | bags |
| BAG OSTOMY 16 X 6 PLAS 3J CTR OPENING KARAYA SEAL MICROPOROUS 30S | 100 | each |
| BAG OSTOMY 23X7 PLAS OPEN TOP TO ADMIT STOMA CONE OPEN BOT 20S | 100 | each |
| BAG PLASTIC 39 X 33 IN DARK BROWN GREEN 33 GAL 50 LB 125S | 15000 | each |
| BAG PLASTIC 50S | 30000 | each |
| BAG PLASTIC A4 FLAT 12IN X 12IN HEAT SEAL CLEAR | 45000 | each |
| BAG PLASTIC A4 FLAT 8 X 8 | 45000 | each |
| BAG POUCH OSTOMY 3IN. SIZE 10S | 100 | each |
| BAG STORAGE ACCESSORY HOLDS CPR MASK AND ACCESSORIES 4X6IN 72S | 50 | each |
| BAG URINE COLL DISP 2 LITER CAPACITY 20S | 200 | each |
| Bag, Ambu, Adult, Disposable w/ mask | 10 | each |
| Bag, Ambu, Infant, Disposable w/ mask | 3 | each |
| Bag, Ambu, Pediatric, Disposable w/ mask | 5 | each |
| Bag, Biohazard Specimen | 50 | each |
| Bag, Body (Adult) | 25 | each |
| Bag, Body (Child) | 5 | each |
| Bag, Hamper | 25 | each |
| Bag, Infectious Waste | 250 | each |
| Bag, Patient Belongings (2 EA x 25 x 10) | 5 | 10-packs |
| Bag, Trash, Liner, Clear | 100 | each |
| Bag, Urinary Meter, 500mL | 15 | each |
| Bag, Urinary, Drainage | 15 | each |
| Band, ID (Adult) | 50 | each |
| Band, ID (Child) | 15 | each |
| BANDAGE SCISSORS | 20 | pairs |
| BANDAGE SCISSORS PLASTIC HANDLES | 15 | pairs |
| Bandage, Elastic, 2" (Latex Free) | 150 | each |
| Bandage, Triangular | 150 | each |
| BANDAGE,GAUZE | 45000 | each |
| BAND-AIDS 3 IN X 1 IN STERILE | 3000 | each |
| BASIN WASH 7QT PLASTIC | 600 | each |
| Basin, Emesis (50 x 5) | 50 | each |
| Basin, Wash, Round | 60 | each |
| Battery Pack, AED Defibrillator | 5 | each |
| BATTERY POWER W/VENTILATOR, 6530-01-464-0267, AND SUCTION APPARATUS, SURGICAL, 6515-01-435-0050 | 5 | vents (may need increase by scenario) |
| Battery, Alkaline, Size AA (80 EA) | 20 | packs |
| BATTERY, ALKALINE, SIZE AAA (1.5 VOLT) | 125 | each |
| Battery, Alkaline, Size C (64 EA) | 15 | packs |
| Battery, Alkaline, Size D (184 EA) | 8 | packs |
| BATTERY, LITHIUM, SIZE 3.0 VOLT (BUTTON BATTERY FOR GLUCOMETER) | 125 | each |
| BATTERY, LITHIUM, SIZE 9 VOLT (FOR i-STAT) | 180 | each |
| BEAKER WATER CLEAR PLASTIC 32 OZ 150S | 15 | each |
| Bed, Bariactric Set 600 lbs | 2 | each |
| Bed, General Use (GUB) | 40 | each |
| Bed, Hospital, Adjustable | 2 | each |
| Bed, Westcot (Standard) | 10 | each |
| Bedpan (50 x 5) | 20 | each |
| BEDPAN FRACTURE-TYPE PLAS AUTOCLAVABLE 12S | 50 | each |
| BEDPAN PONTOON STACKABLE AUTOCLAVABLE 20S | 50 | each |
| BELMONT TUBING | 150 | each |
| BETADINE PAINT 4 OZ BOTTLE | 150 | each |
| BETADINE SCRUB 4 OUNCE BOTTLE | 300 | each |
| BETADINE SWAB | 2250 | each |
| Binder, 3 Ring, 1" | 5 | each |
| Binder, 3 Ring, 2" | 5 | each |
| Binder, 3 Ring, 3" | 5 | each |
| Binder, 3 Ring, 3" | 5 | each |
| BINDER,NOTE PAD | 200 | each |
| BLADE LARYNGOSCOPE MAC 2 DISP COMPONENT OF 6515-01-450-9790 | 20 | each |
| BLADE LARYNGOSCOPE MAC 4 DISP COMPONENT OF 6515-01-450-9790 | 20 | each |
| BLADE LARYNGOSCOPE MILLER 0 DISP COMPONENT OF 6515-01-450-9790 | 20 | each |
| BLADE LARYNGOSCOPE MILLER 1 DISP COMPONENT OF 6515-01-450-9790 | 20 | each |
| BLADE LARYNGOSCOPE MILLER 2 DISP COMPONENT OF 6515-01-450-9790 | 20 | each |
| BLADE LARYNGOSCOPE MILLER 3 DISP COMPONENT OF 6515-01-450-9790 | 20 | each |
| BLANKET BED COTTON THERMAL WEAVE WHITE 66X90 INCHES | 600 | each |
| BLANKET BED WOOL OLIVE GREEN 90X66 INCHES | 600 | each |
| BLANKET HYPOTHERMIA ULTRA-PORTABLE A/PROVISIONS RECHARGEABLE BATTERY POWERED | 5 | each |
| Blanket, Cotton | 30 | each |
| Blanket, Cotton | 50 | each |
| Blanket, Emergency | 30 | each |
| Blanket, Emergency | 50 | each |
| Blanket, Space, Mylar | 100 | each |
| Blanket, Wool Blend (90 x 3) | 50 | each |
| Bleach, Clorox | 5 | each |
| BLOOD COLLECTING UNIT PLASTIC 23 GA NEEDLE VACUTAINER 200S | 1000 | each |
| BLOOD RECIPIENT SET INDIRECT TRANSFUSION 48S [M] | 4 | sets |
| BLOOD TRANSFER DEVICE STERILE SAFETY ONE PC PRE-ASSEM W/LUER LOCK 200S | 4 | sets |
| BLOOD-FLUID WARMER SYSTEM | 30 | units |
| BODY BAG, FULL FASTENER; PLASTIC; 36 IN BY 94 IN; NON-CHEM/BIO; EA | 50 | each |
| BOOK POCKET SIZE REF GUIDE F/ADULT CRITICAL CARE 2010 | 25 | each |
| Book, Record | 5 | each |
| Bottle, Nursing, Starter, Kit | 5 | each |
| Bottle, Spray, Quart, w/Trigger | 10 | each |
| Bowl, 12 oz. | 150 | each |
| Box, File Storage w/Lid | 5 | each |
| Brief, Adult, Bariatric (128 Ea Total) | 5 | each |
| Brief, Ultra, Adult, Extra Large | 5 | each |
| Brief, Ultra, Adult, Large | 5 | each |
| Brief, Ultra, Adult, Medium | 5 | each |
| Brief, Ultra, Adult, Small | 5 | each |
| Broom, Push (Two Piece) | 3 | each |
| BROSELOW BAG PEDIATRIC | 25 | each (also refillable from Pharmacy) |
| Broselow Bag (Ped Resuscitation Sys.) | 3 | each |
| BROSELOW TAPE | 50 | each |
| BRUSH SANITARY BLACK CRIMPED NYLON BRISTLE J1 CURVED BRUSH HEAD | 200 | each |
| BRUSH SANITARY STRAIGHT BRUSH HEAD SPIRAL WOUND WOOD HANDLE 17 | 200 | each |
| BRUSH SCRUB WITH CHLORHEXIDINE 300S | 200 | each |
| Bucket, 3 Gallon, Pour Spout, w/Handle | 5 | each |
| Bucket, Mop, w/Ringer | 3 | each |
| Bulb, Light, 120v, RS 60W | 100 | each |
| Bulb, Light, Perimeter Flood Lighting | 5 | each |
| Bungee Cord Assortment | 5 | each |
| Cable Ties, Black | 5 | 50 packs |
| Calculator, Metric Conversion | 20 | each |
| Can, Trash, 32 Gallon | 25 | each |
| Can, Trash, Lid, 32 Gallon | 25 | each |
| Can, Trash, Lid, Red, 32 Gallon | 25 | each |
| Can, Trash, Red, 32 Gallon | 25 | each |
| Cane, Quad (700 lbs) | 3 | each |
| CANISTER ASSY SUCTION SURG PLASTIC 2000CC CAP LID HYDROP FILTER 48S | 200 | each |
| CANISTER KCI INFOVAC 1000ML WITH GEL 5S | 60 | each |
| CANISTER KCI INFOVAC WITH GEL 500ML 5S | 60 | each |
| CANISTER NEGATIVE PRESSURE WOUND THERAPY WITH GEL 5S | 60 | each |
| Canister, Suction Tubing | 20 | each |
| Canister, Suction, 800CC | 10 | each |
| CANNUAL NASAL OXYGEN PLASTIC 252 DISPOSABLE NON-FLARED TIP | 200 | each |
| Cannula Cushion PED, 7ft tube, CS/50 | 50 | each |
| Cannula Tubing (Adult) | 100 | each |
| CARDIAC MARKER TEST KIT (LIFESIGN MI 3-IN-1 MYOGLOBIN, CK-MB, TROPONIN I) | 30 | boxes |
| CART CRASH EMERGENCY RED COLD ROLLED STEEL DBL WALL CONSTRUCTION | 50 | each |
| Case, Contact Lens | 1 | each |
| CATHETER CONNECTOR SUCTION TRACH 6FR PLASTIC STER DISP 50S | 60 | each |
| CATHETER CONNECTOR SUCTION TRACH 8FR PLASTIC STER DISP 50S | 60 | each |
| CATHETER BALLOON PACING ELECTRODE RADIOPAQUE 5FR 110CM STER DISP | 40 | each |
| CATHETER INTRAVENOUS 14G X 3.25 INCH, CHEST DECOMPRESSION | 50 | each |
| CATHETER INTRAVENOUS SAFETY 14 GA 1-1/4 200S | 400 | each |
| CATHETER INTRAVENOUS SAFETY 18 GA 1-1/4 200S | 400 | each |
| CATHETER INTRAVENOUS SAFETY 20 GA 1-1/4 200S | 400 | each |
| CATHETER INTRAVENOUS SAFETY 22 GA 1-1/4 200S | 400 | each |
| CATHETER INTRAVENOUS, SAFETY; 24 GA; 0.55 IN LONG; 200S | 400 | each |
| CATHETER IV INTROCAN SAFETY 16 GA 1.25 IN LG 200S | 400 | each |
| Catheter IV, 18G X 1 1/4", Green Safety Tip | 40 | each |
| Catheter IV, 20G X 1 1/4", Pink Safety Tip | 40 | each |
| Catheter Kit, Foley Tray,18fr, Closed System | 40 | each |
| Catheter Kit, Foley, Tray, 16 Fr Closed System | 40 | each |
| Catheter Plug & Drain Tube Protector | 40 | each |
| CATHETER SET INTRACOMPARTMENTAL PRESS MNTR 18GAX8 CATH STER 12S | 48 | each |
| CATHETER TRACH CARE 72-HOUR BALLARD 21.3IN SWIVEL ELBOW 14 FR/4.6MM 20S | 100 | each |
| CATHETER TRIPLE LUMEN VENOUS VANTEX TRAY 5S | 20 | each |
| CATHETER URETHRAL FOLEY 16FR RD TIP 5CC BALLOON ADL RBBR DISP12S | 50 | each |
| CATHETER URETHRAL FOLEY 18FR ROUND TIP SILICONE | 50 | each |
| Catheter, Foley Tray, 6FR (Child) | 20 | each |
| CATHETER, FOLEY, 10FR, UR (LATEX FREE) | 40 | each |
| CATHETER, FOLEY, 12FR, UR (LATEX FREE) | 40 | each |
| CATHETER, FOLEY, 3.5FR, UR (LATEX FREE) | 20 | each |
| CATHETER, FOLEY, 5FR, UR (LATEX FREE) | 20 | each |
| CATHETER, FOLEY, 6FR, UR (LATEX FREE) | 20 | each |
| CATHETER, FOLEY, 8FR, UR (LATEX FREE) | 20 | each |
| Catheter, IV, 22G x 1" | 20 | each |
| Catheter, IV, 24G x 3/4" | 20 | each |
| Catheter, Self, 18FR (Robnell) | 2 | each |
| Catheter, Urinary, External Large | 1 | each |
| Catheter, Urinary, External Medium | 1 | each |
| Catheter, Urinary, External Small | 1 | each |
| CATHETERIZATION KIT CARDIO 20GAX1.75 RADPQ POLYTETRAFLUOROETHYLENE CATH STER 50S | 10 | each |
| CaviWipes | 25 | each |
| Cervical Collar, Adjustable, Plastic | 25 | each |
| Chair, Metal, Folding | 25 | each |
| Chart Holder, Patient, Plastic | 50 | each |
| Chart, Pain, Childrens | 1 | each |
| CHEST SEAL BOLIN OCCLUSIVE 6IN. DIA 10S | 10 | each |
| CHEST TUBE INSERTION TRAY WITH KELLY HEMOSTATS | 50 | each |
| CHEST TUBE, 24 FR STRAIGHT | 20 | each |
| CHEST TUBE, 36 FR STRAIGHT | 20 | each |
| Chest, Ice 48 QT | 3 | each |
| CHRISTMAS TREE, XMAS TREE, GREEN, OXYGEN ADAPTOR | 100 | each |
| CIRCUIT VENT WYE ADULT / PEDI SINGLE LIMB 15S | 20 | each |
| CLAMP DRAINAGE POUCH OSTOMY ONE-PIECE PLAS REUSABLE HINGED 20S | 40 | each |
| Cleaner, Floor, Powdered | 5 | each |
| CLINITEK CONTROL, URINE DIPPER WITH LEVEL 1 AND 2 | 2 | sets |
| Clipboard, 9" x 12.5" | 50 | each |
| Clips, Binder, Medium | 50 | each |
| Clips, Paper, Jumbo | 50 | each |
| CLOTH CLEANING WHITE 15 X12 900S | 500 | each |
| COBAN 4 X 5 YDS STER | 100 | each |
| Comb, Two-Sided | 50 | each |
| COMMODE FIELD FOLDING | 20 | each |
| Commode, Bedside | 25 | each |
| Commode, Bedside (1000 lbs) | 1 | each |
| COMPRESS SALINE WET SOAKS 8 X 4 W/NACL | 200 | each |
| Compressor, Pulmo-Aide, Aerosol | 2 | each |
| CONNECTOR SALINE LOCK/HEPARIN LOCK HUBS 100S | 200 | each |
| Container, Action Packer | 1 | each |
| Container, Specimen | 20 | each |
| CONTROL SET, HIV 1 AND 2, CHEMBIO (NONREACTIVE, REACTIVE HIV-1 AND REACTIVE HIV-2) | 2 | sets |
| CONTROL SET, PBM QUALITATIVE CARDIAC MARKER (CK-MB, MYOGLOBIN, TROPONIN I), LEVEL 1 AND 2 | 2 | sets |
| CORDIS IV CATHETER 8.5 FR 2 5 CC SYRINGES | 50 | each |
| Cot, Toddler | 5 | each |
| COTTON TIPPED APPLICTOR PLASTIC OR WOOD ROD 6 IN | 600 | each |
| COULTER 4C PLUS TRI-PAK CONTROLS WITH (LOW, NORMAL, AND HIGH) | 2 | sets |
| COULTER CALIBRATOR KIT S-CAL | 2 | sets |
| COULTER DIFF ACT TAINER REAGENT KIT | 2 | sets |
| COULTER WASTE CONTAINER, 10 L | 2 | sets |
| COVER ELECTRIC BLANKET 60 X 30 DISP SMS SPUNBOND 25S | 100 | each |
| Cover, Shoe, Non Skid | 50 | each |
| COVER,BOTTOM OPTION | 1000 | each |
| CPAP Machine | 2 | each |
| CRADLE HOSPITAL BED CLOTHING FIELD TYPE | 20 | each |
| CRADLE HOSPITAL BED CLOTHING FIELD TYPE | 20 | each |
| Crib, Portable (12 Ea. Per triwall - Total 24) | 3 | each |
| CRICOTHYROTOMY SET FIELD PACK | 20 | each |
| CSF DRAINAGE BAGS | 20 | each |
| CSF DRAINAGE SYSTEM | 20 | each |
| CUFF SET SPHYGMOMANOMETER W/ANEROID CASE LATEX FREE SZ ADULT THEIGH | 10 | each |
| CUFF SET SPHYGMOMANOMETER W/ANEROID CASE LATEX FREE SZ ADULT XL | 50 | each |
| CUP MEDICINE PLAS 1 OZ 1.3X1.5FLAT TRANSPARENT NESTING TYPE5000 | 2000 | each |
| CUP MEDICINE PLASTIC 1 OZ | 2000 | each |
| CUP PAPER | 4000 | each |
| Cup, Denture w/ Lid | 5 | each |
| Cup, Hot / Cold, 12 oz. | 75 | each |
| Cup, Medicine | 250 | each |
| Cup, Toddler | 10 | each |
| CUP, URINE COLLECTION, STERILE | 20 | boxes |
| CUP,DISPOSABLE | 4000 | each |
| CURETTE, EAR, 4MM, DISPOSABLE | 100 | each |
| Cutlery Combo Pack | 1 | each |
| Cylinder, Oxygen (D) | 4 | each |
| Cylinder, Oxygen (E) | 5 | each |
| Cylinder, Oxygen (M6) | 3 | each |
| Cystoscopy Irrigation Set | 20 | each |
| DD 2064 DEATH, CERTIFI | 20 | certificates |
| DEFIBRILLATOR, PROPAQ-MD, FILTER LINE H SET, Adult/Ped | 50 | each |
| DEFIBRILLATOR, PROPAQ-MD, FILTER LINE, Adult/Ped | 50 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, NIBP Cuff, Adult (11) | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, NIBP Cuff, Child (9) | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, NIBP Cuff, Infant (7) | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, NIBP Cuff, Lg Adult (12) | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, NIBP Cuff, Sm Adult (10) | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, NIBP Cuff, Sm Child (8) | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, NIBP Dual Lumen Tubing Assembly | 25 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, NIPB Cuff, Thigh (13) | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, Sensor, SPO2, Cable Extension, Reusable | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, Sensor, SPO2, Reusable | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, Skin Temperature Probe, Adult, Reusable | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ MD, Stat-Padz, Adult Electrodes | 100 | each |
| Defibrillator, Zoll Propaq, Cable, 12 Lead ECG (6 Wire & 4 Wire Combo) | 5 | each |
| Defibrillator, Zoll Propaq, Cable, Multi-Function (red) | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ, ELECTRODES, EKG (4 per pack) | 480 | packs |
| Defibrillator, Zoll Propaq, Electrodes, Multi Function, Pedi | 5 | each |
| DEFIBRILLATOR, ZOLL PROPAQ, SMART CAPNO (ADULT) | 50 | packs |
| DEFIBRILLATOR, ZOLL PROPAQ, SMART CAPNO (PEDS) | 50 | packs |
| DEFIBRILLATOR/MONITOR-RECORDER SYSTEM | 24 | packs |
| DELUXE CORPSMAN KIT EAR-NOSE-THROAT | 13 | kits |
| DEPRESSOR TONGUE 6X0.75X0.0675 PARALLEL EDGES ROUNDED ENDS 100S | 2000 | each (2 boxes) |
| DERMABOND TOPICAL SKIN ADHESIVE HIGH VICOSITY DOME TIP .5 ML | 200 | each |
| DERM-APPLY 100S | 2000 | each |
| DIAL-A-FLOW EXTENSIN SET (Latex Free) | 250 | each |
| DIAPER INFANTS PLASTIC POLYETHYLENE INFANT 20 TO 35 LBS 19 IN. LONG 13 IN. WIDE 160S | 1000 | each |
| DIAPER INFANTS PLASTIC POLYETHYLENE INFANT UP TO 6 LBS 11 IN. LONG 9 IN. WIDE WHITE DISPOSABLE 180S. | 1000 | each |
| DIAPER, SIZE 2, 12-18 LBS 136S | 1000 | each |
| Diapers, Baby, (Large - Size 4) | 25 | packs |
| Diapers, Baby, (Medium - Size 3) | 40 | packs |
| Diapers, Baby, (Small - Size 2) | 75 | packs |
| Diapers, Baby, (XXLarge - Size 6) | 15 | packs |
| Disinfectant, Cleaning (Microcide) (gallon) | 3 | each |
| DISINFECTANT-DETERG GP O-PHENYLPHENOLP-TERTIARY AMYPHENOLAR1GL4 | 40 | gallons |
| Divider, Binder, Alphabet | 5 | each |
| Divider, Binder, Alphabet | 5 | each |
| Dolly, Handtruck | 1 | each |
| Dolly, Trash Can | 1 | each |
| Door Stop, Rubber | 3 | each |
| DOPPLER PROBE VERSATONE | 30 | each |
| DRAINAGE KIT LUMBAR C/046CM SILICON LUMBAR CATHETER LI.D. 76MM | 20 | each |
| DRAPE SURGICAL NONWOVEN DISPOSABLE AND STERILE 18 X 26 IN 300S | 1000 | each |
| Drape, Disposable (Sterile) | 30 | each |
| DRESSING BURN 24 X 36 STERILE ABSORBENT COTTON GAUZE 15S | 200 | each |
| Dressing Change Tray (Kit Wound Dressing Sub) | 30 | each |
| DRESSING KIT HAND GRANUFOAM VACUUM ASSISTED CLOSURE 5S | 60 | each |
| DRESSING OPSITE POSTOPERATIVE TRANSPARENT WATERPROOF 17 3/4 X 21 5/8 40S | 200 | each |
| DRESSING SIGNAL DUODERM 5.5IN. X 5.5IN. 5S | 200 | each |
| DRESSING WOUND CONTACT 10 BY 12 INCH ANTIMICROBIAL 5S | 200 | each |
| Dressing, DuoDERM | 25 | each |
| DRESSING, STERILE, 2 X 2, 100S | 2000 | each |
| DRUG OF ABUSE PANEL | 2 | boxes |
| DRUG OF ABUSE PANEL, DOA CONTROL LEVEL 1 | 2 | boxes |
| DRUG OF ABUSE PANEL, DOA CONTROL LEVEL 2 | 2 | boxes |
| DUAL CANNULA DEVICE TWINPAK 1000/CASE | 200 | each |
| DURAPORE TAPE SILK WOVEN 3 IN X 10 YDS | 500 | each |
| Ear Plugs | 50 | each |
| Easel, Flip Board | 1 | each |
| Electrical Distribution System | 10 | each |
| ELECTRODE ELECTROCARDIOGRAPH ADULT PATIENT MONITORING 1000S | 480 | each |
| ELECTRODE ELECTROCARDIOGRAPH SILVER CHL DISP ADULT PREGELL 1000S | 480 | each |
| EMERGENCY BLANKET | 200 | each |
| EMOLLIENT LOTION | 400 | each |
| ENDOTRACHEAL TUBE (ORAL/NASAL) SIZE 2.5FR., prefereable is cuffed | 20 | each |
| ENDOTRACHEAL TUBE (ORAL/NASAL) SIZE 3.0FR, prefereable is cuffed | 20 | each |
| ENDOTRACHEAL TUBE (ORAL/NASAL) SIZE 3.5FR, prefereable is cuffed | 20 | each |
| ENDOTRACHEAL TUBE (ORAL/NASAL) SIZE 4.0FR, prefereable is cuffed | 20 | each |
| ENDOTRACHEAL TUBE (ORAL/NASAL) SIZE 4.5FR, prefereable is cuffed | 20 | each |
| ENDOTRACHEAL TUBE (ORAL/NASAL) SIZE 5.0FR, prefereable is cuffed | 20 | each |
| ENDOTRACHEAL TUBE (ORAL/NASAL) SIZE 5.5FR, prefereable is cuffed | 40 | each |
| ENDOTRACHEAL TUBE (ORAL/NASAL) SIZE 6.0FR, prefereable is cuffed | 40 | each |
| ENDOTRACHEAL TUBE (ORAL/NASAL) SIZE 8.0FR, prefereable is cuffed | 40 | each |
| Envelope, Manila, 9" x 12" | 10 | each |
| EPISTAXIS DEVICE, RAPID RHINO, 5.5cm | 50 | each |
| EPISTAXIS DEVICE, RAPID RHINO, 7.5cm | 50 | each |
| EUCERIN CREAM | 300 | each |
| EXERCISER, LUNG, INHALATION THERPY; INCENTIVE SPIROMETRY LUNG PLAS 3 CHAM 600CC-1200CC PER SEC 12S | 100 | each |
| EXTINGUISHER,FIRE | 40 | each |
| EYE PADS | 200 | each |
| FACIAL TISSUE WHITE, 2-PLY, BOX DISPENSER, 100 SHEETS | 100 | boxes |
| Feminine Hygiene Kits (KT=16 EA x 5 =80)) | 10 | each |
| FILTER UNIT SYRINGE HYPODERMIC STER DISP PLASTIC 0.22 MICRON 50S | 200 | each |
| Fire Extinguishers | 3 | each |
| Fit Test Kit (N95 Mask) | 1 | each |
| Flashlight | 25 | each |
| FLUFFS KERLIX 5/ENV 10 ENV/TRAY 12 TRAYS/BOX 600S | 200 | each |
| FLUID SOLIDIFIER F/CANISTER 1500CC 64S | 200 | each |
| FOAM DONUT | 20 | each |
| Folder, Manila | 50 | each |
| FOR BAIR HUGGER, E/I 6530015677143 | 100 | each |
| FORCEPS HEMO 5.5O/A LG CRILE DESIGN SLIGHTLY CURVED JAW STR HDL | 20 | each |
| FORCEPS HEMO HALSTED 5LG 0.875JAW STRAIGHT JAW CRS BOX LOCK | 20 | each |
| FORCEPS HEMO PEAN DESIGN SLIGHTLY CURVED JAW 9O/A LG CRS | 20 | each |
| FORCEPS, MAGILL, ADULT | 25 | each |
| FORCEPS, MAGILL, PEDICATRIC | 25 | each |
| FORM PRINTED CLINICAL RECORD-BLOOD TRANSFUSION STD FRM 518 100S | 400 | each |
| FORM PRINTED CLINICAL RECORD-DOCTORS ORDERS STD FORM 508 | 400 | each |
| FORM PRINTED LABORATORY REPORT DISPLAY 8IN W X 10.5IN L 100S | 4000 | each |
| FRAME CLOTH BASKET CORROSION RESISTING STEEL TUBING 31IN DEEP | 10 | each |
| FREEDOM VAC (WOUND VAC) | 6 | units |
| Gate, Child 6-Panel | 1 | each |
| GAUZE IODOFORM IMPREGNATED .25 X 5 YD 12S | 100 | each |
| GAUZE IODOFORM IMPREGNATED 2 IN X 5 YDS | 100 | each |
| GAUZE, STERILE, 4" x 4", 12-PLY, 25'S | 1000 | each |
| Glasses, Safety (Large) | 10 | each |
| Glasses, Safety (Small) | 10 | each |
| GLOVE EXAM NON STERILE SYNTHETIC POWDER FREE BEADED CUFF VINYL XLG SMOOTH POLYMER COATED BX 100S | 1000 | each |
| GLOVE PATIENT EXAM 9.5 IN LONG N-DEX DSGN NITRILE RUBBER SZ SMALL 100S | 2000 | each |
| GLOVE PATIENT EXAM 9.5IN LG N-DEX DSGN NITRILE RBBR SZ MED 100S | 4000 | each |
| GLOVE PATIENT EXAMINING TREATMENT SZ 10 LG PURPLE 4.3 MIL 100S | 4000 | each |
| Gloves, Exam, Nitrile, Powder Free, Large | 100 | each |
| Gloves, Exam, Nitrile, Powder Free, Large | 200 | each |
| Gloves, Exam, Nitrile, Powder Free, Large | 400 | each |
| Gloves, Exam, Nitrile, Powder Free, Medium | 100 | each |
| Gloves, Exam, Nitrile, Powder Free, Medium | 200 | each |
| Gloves, Exam, Nitrile, Powder Free, Medium | 400 | each |
| Gloves, Exam, Nitrile, Powder Free, Small | 100 | each |
| Gloves, Exam, Nitrile, Powder Free, Small | 200 | each |
| Gloves, Exam, Nitrile, Powder Free, Small | 400 | each |
| GLOVES, SURGEONS, INNER LAYER, LATEX POWDER FREE, SIZE 6.5, STERILE, 200 PAIR | 2000 | each |
| GLOVES, SURGEONS, INNER LAYER, LATEX POWDER FREE, SIZE 7, STERILE, 200 PAIR | 2000 | each |
| GLOVES, SURGEONS, INNER LAYER, LATEX POWDER FREE, SIZE 7.5, STERILE, 200 PAIR | 4000 | each |
| GLOVES, SURGEONS, INNER LAYER, LATEX POWDER FREE, SIZE 8, STERILE, 200 PAIR | 400 | each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 6.5 (PAIR) | 20 | each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 7.0 (PAIR) | 20 | each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 7.5 (PAIR) | 20 | each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 7.5 (PAIR) | 20 | each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 8.0 (PAIR) | 60 | each |
| Gloves, Surgeons, Sterile, Non-Latex, Size 8.5 (PAIR) | 10 | each |
| GLOVES,MEN'S | 20 | each |
| Glucometer, Lancets (safety) | 200 | each |
| Glucometer, One Touch Ultra II, Test Strips | 200 | each |
| Glucometer, One Touch, Ultra II | 3 | each |
| GOWN HOSPITAL PATIENT BLUE PATTERN W/WHITE BACKGROUND BACK TIE LARGE | 200 | each |
| GOWN ISOLATION DISPOSABLE YELLOW LARGE ELASTIC CUFF 100S | 60 | each |
| Gown, Patient, Child (Large) | 15 | each |
| Gown, Patient, Child (Medium) | 15 | each |
| Gown, Patient, Child (Small) | 15 | each |
| Gown, Patient, Obesity | 10 | each |
| Gown, Patient, Solid | 50 | each |
| Gown, Provider, Impervious | 150 | each |
| GRADUATE PITCHER | 60 | each |
| GS900 PROCEDURE LIGHT WITH MOBILE STAND | 2 | each |
| HAMMER REFLEX TESTING TAYLOR LARGE 7-8 LG 0.75 THK TRIANGULAR | 15 | each |
| Hamper, Stand, Single | 20 | each |
| HAND SANITIZER (8 oz) | 600 | each |
| Hand Sanitizer, Foam | 50 | each |
| HANDLE LARYNGOSCOPE | 20 | each |
| HANGING MULTICOMPARTMENT BAG | 15 | each |
| hCG URINE TEST (PREGNANCY) | 2 | boxes |
| Head Set, Magnifying Glass and Light | 1 | each |
| HEAD WARMING HAT | 100 | each |
| HEADLAMP MEDICAL-SURGICAL BLACK | 20 | each |
| Headlamp, LED | 15 | each |
| HEIMLICH VALVE | 60 | each |
| HEMOCCULT TEST KIT | 2 | boxes |
| HEMOVAC DRAIN WITH TROCAR | 1 | each |
| HIBICLENS 8 oz | 200 | bottles |
| Hi-Lighter Pack (4 colors) | 5 | each |
| HIV RAPID TEST KIT (CHEMBIO) | 1 | box per month |
| HOLDER CATHETER LEGBAND W/TAPELESS CATH LOCKING DVC 10S | 100 | each |
| HOLDER,BLOOD COLLECTING TUBE | 500 | each |
| Hooks, Shower Curtain | 10 | each |
| Humidifier | 3 | each |
| HUMIDIFIER INHALATION THERAPY APPARATUS 300MM RESERVOIR CAP 50S | 40 | each |
| HUMIDIFIER INHALATION THERAPY APPARATUS PLAS DISP IP 50S | 100 | each |
| HYDROGEN PEROXIDE TOPICAL SOLUTION USP 1 PINT (473ML) | 48 | each |
| IMPACT ULTRA-LITE MODEL 326/326M ASPIRATOR | 20 | each |
| INFRARED THERMOMETER | 10 | each |
| INTERAOSSEOUS NEEDLE, ADULT | 40 | each |
| INTERAOSSEOUS NEEDLE, EXTRA LONG | 40 | each |
| INTERAOSSEOUS NEEDLE, PEDIATRIC | 40 | each |
| INTERAOSSEOUS POWER DRIVER | 10 | each |
| INTRAVENOUS INJECTION SET 5 COMPONENTS 48S | 750 | each |
| INTROCAN SAFETY IV CATHETER 20 GA 1.25 IN LG PLASTIC 200S | 400 | each |
| INTTUBATION INDICATOR KIT, CO2, DISPOSABLE, ADULT | 25 | each |
| INTTUBATION INDICATOR KIT, CO2, DISPOSABLE, PEDIATRIC | 25 | each |
| IODOFORM IMPREGNATED GAUZE .50 X 5 YD STERILE | 100 | each |
| Irrigating Kit, Type 1, w/Syringe | 25 | each |
| IRRIGATION KIT CATHETER-NASOGASTRIC TUBE 20S | 200 | each |
| IRRIGATION SET UROLOGICAL INDUSTRIAL 12S | 100 | each |
| ISOLYSER POWDER | 200 | each |
| I-STAT AND CLINITEK PRINTER PAPER (THERMAL) | 2 | each |
| I-STAT BNP CARTRIDGE | 2 | each |
| I-STAT CHEM8+ CARTRIDGE | 60 | boxes |
| I-STAT CONTROL, BNP LEVEL 1 | 2 | sets |
| I-STAT CONTROL, BNP LEVEL 3 | 2 | sets |
| I-STAT CONTROL, PT LEVEL 1 | 2 | sets |
| I-STAT CONTROL, PT LEVEL 2 | 2 | sets |
| I-STAT CONTROL, TRICONTROL LEVEL 1 | 2 | sets |
| I-STAT CONTROL, TRICONTROL LEVEL 3 | 2 | sets |
| I-STAT G3+ CARTRIDGE | 2 | boxes |
| I-STAT PT/INR CARTRIDGE | 460 | boxes |
| IV ADMIND SET, 15 DROP (PREFEREABLE NEEDLESS) | 600 | boxes |
| IV ADMIND SET, 60 DROP (PREFEREABLE NEEDLESS) | 600 | boxes |
| IV Administration Kit | 200 | each |
| IV J LOOP ALARIS EXTENSION SET W/SMARTSITE NEEDLE FREE VALVE 6IN. 100S | 1200 | boxes |
| IV OCCLUSIVE DRESSING STERILE DISP | 600 | each |
| IV POLE FOR STRETCHER | 30 | each |
| IV POLE W/WHEELS | 13 | each |
| IV Set (Child) | 50 | each |
| IV Starter Kit (Adult) | 100 | each |
| IV STARTER SET | 50 | boxes |
| IV, ADMIN SET, BURETTE, CHAMBER, 20" | 50 | each |
| Jug, Collapsible, 5 Gal. | 1 | each |
| KERLIX 4.5 | 300 | boxes |
| Kit, Wound Dressing (Change Dressing Tray) | 25 | each |
| KNIFE GENERAL SURGICAL ACME DSGN PT W/NO.10 BLADE STER DISP 20S | 150 | each |
| LAB COAT, LARGE | 13 | each |
| LAB COAT, MEDIUM | 13 | each |
| LAB COAT, XL | 13 | each |
| Labels, 1" x 3" | 100 | each |
| Labels, 1" x 3" | 100 | each |
| LAMP,INCANDESCENT | 50 | each |
| LARYNGOSCO GREEN SYS ENT POCKET LIGHT ORIGINAL BLACK WATERPROOF | 13 | each |
| LARYNGOSCOPE SET FIBER OPTIC BATTERY OPERATED WITH CASE (1) PER CASE | 13 | each |
| Laryngoscope, MAC BLADE, #3 (GR Spec FO) | 200 | each |
| Laryngoscope, MILLER BLADE, #4 (GR Spec FO) | 20 | each |
| Laundry Detergent | 3 | each |
| Lid, Cup, Hot / Cold, 12 oz. | 250 | each |
| Lift, Patient w/ Sling (450 lbs) | 1 | each |
| LIFT-DRAW SHEET WHITE DISPOSABLE 80 IN. X 40 IN. WHITE 50S | 750 | per week each |
| LIGHT BULB FOR PETZL HEADLIGHT | 75 | each |
| LIGHT BULB LARYNGOSCOPE 2.5V GAS FILLED HIGH INTENSITY | 75 | each |
| LIGHT BULB LARYNGOSCOPE F/USE W/6515-01-450-9790 | 75 | each |
| LIGHT GENERAL EXAM GREEN SERIES 300 | 10 | each |
| LIGHT SOURCE MULTI-PURPOSE MEDICAL EXAM PTBL | 10 | each |
| Light, Goose Neck | 25 | each |
| Lighting, Perimeter Flood | 5 | each |
| Litter Stands, Support, Pair | 5 | each |
| Litter, De-Con Mesh Type | 5 | each |
| LUBRICANT SURGICAL 5 GRAM-PACK ( STERILE) 144S | 25 | pack (sterile) 144s |
| Lubricant, Surgical | 5 | each |
| MAGILL FORCEPS | 20 | each |
| MANIOMETERS FOR MEASURING CSF AND CVP PRESSURES | 5 | EACH needle REMOVER, remover quart |
| MARKER LABORATORY F/WET OR DRY SURFACE PERMANENT MARKINGS 10S | 10 | each |
| MARKER TUBE TYPE FELT TIP | 75 | each |
| Marker, Expo, 6/set w/ eraser | 1 | each |
| Marker, Fine Point (sharpie) | 3 | each |
| MASK REBREATHING BAG ORONASAL W/ADAPTER CHIN STYLE FLEX DISP50 | 100 | each |
| MASK 02; NON-REBREATHING W/O SAFETY VENT; 7 FT OXYGEN SUPPLY TUBING; 50S | 200 | each |
| MASK FACE CARDIOPULMONARY RESUSCITATION LARGE DISP FILTERED 10S | 100 | each |
| MASK ORONASAL ADULT SIZE 5 CONTOUR FITTING 0.875 ADAPTER | 100 | each |
| MASK ORONASAL CHILD SIZE 2.875 ADAPTER FOR RESUSCITATOR | 100 | each |
| MASK ORONASAL HUDSON CHILD ELONGATED MED CONCENTRATION DISP 50S | 100 | each |
| MASK ORONASAL PLAS CLEAR GREENISH TINT UNIVERSAL SZ POCKET MASK | 100 | each |
| MASK OXYGEN PLASTIC DISPOSABLE 50S | 200 | each |
| MASK SURG ANTI-FOG NON-GLASS PLEATED LINT-FREE GREEN DISP 300S | 400 | each |
| MASK TRACHEOSTOMY AIRLIFE ADULT COLLAR SHAPED PLAS CLR FLEX 50S | 60 | each |
| Mask, Cone (3M) | 25 | each |
| Mask, CPAP (Large) | 25 | each |
| Mask, CPAP (Medium) | 25 | each |
| Mask, CPAP (Small) | 25 | each |
| Mask, Duck (Regular) | 25 | each |
| Mask, Duck (Small) | 25 | each |
| Mask, Non-Rebreather (Adult) | 25 | each |
| Mask, Non-Rebreather (Child) | 25 | each |
| Mask, Surgical | 50 | each |
| MAT SLEEPING SELF-INFLATING 3-INCH THICK W/PATCH KT | 150 | each |
| Mat, Child | 25 | each |
| MATTRESS PAD EXPANSION CONTROL W/PUMP 6S | 100 | each |
| MAXI-PAD | 50 | each |
| MAYO STAND WITH TRAY | 25 | each |
| MEDICAL INSTRUMENT AND SUPPLY SET 30X18X20 IN. W/DIVIDER OLIVE DRAB | 15 | sets |
| METER PEAK FLOW RATE INDICATING EXPIRATORY FULL RANGE I.W. 12S | 50 | each |
| Meter, Peak Flow, Mouthpiece (Adult) | 3 | each |
| Meter, Peak Flow, Mouthpiece (Peds) | 3 | each |
| MICROSCOPE, COVER GLASS | 2 | boxes |
| MICROSCOPE, GLASS SLIDE, 25 MM X 75 MM X 1 MM, FROSTED END | 2 | boxes |
| MICROSCOPE, LENS PAPER, 4" X 6", 50 SHEETS/PK | 2 | boxes |
| MIRROR LARYNGEAL CRS PLAIN GLASS .437DIAMETER TYPE II SIZE 00 | 100 | each |
| MONITOR PATIENT VITAL SIGNS ZOLL PROPAQ M | 25 | monitors |
| MONITORING SET INTRA-COMPARTMENTAL PRESS BTRY OPER 5X3X2 LTWT | 3 | each |
| MONTGOMERY STRAPS (PAIR) | 100 | pairs |
| MONTGOMERY STRAPS; 4 ADHESIVE STRAPS/4 CLOTH TAPE STRIPS PER BAG; 25 BAGS PER PACKAGE | 200 | pairs |
| Mop, Wet, Handle | 5 | each |
| Mop, Wet, Head | 5 | each |
| MORGAN LENS | 50 | each |
| NEBULIZER EMPTY 350ML WITH FI02 SETTINGS 28 TO 98% 50S | 100 | each |
| NEBULIZER MEDICINAL C/O MOUTHPIECE TEE 7FT TUBING 6IN FLEX TU 50S | 100 | each |
| NEEDLE BLOOD COLLECTING 21 GA 1.25 IN LUER LOCK GREEN 480S | 400 | each |
| NEEDLE C12 GP 22 GA 1.5 LG LUER 100S | 400 | each |
| NEEDLE FILTRATION 19 GA 5-MICRON 1.5 100S | 400 | each |
| NEEDLE HYPO BLD COLL 20 GA X 1.5 IN MULTIPLE SMPL VACUTAINER 1000S | 400 | each |
| NEEDLE HYPO C13A GP 18 GA 1.438-1.562 LUER STER 100S | 400 | each |
| NEEDLE HYPO C13A GP 20 GA 1.438-1.562, LUER STER 100S | 400 | each |
| NEEDLE HYPODERMIC SAFETY GLIDE 18 GAGE X 1.5 IN. NEEDLE 50S | 400 | each |
| NEEDLE HYPODERMIC SAFETY GLIDE 22 GAGE BY 1 1/2IN. STERILE 50S | 400 | each |
| NEEDLE HYPODERMIC SAFETY W/SHIELDING MECH 21 GA X 1-1/2 IN 50S | 400 | each |
| NEEDLE, BLOOD COLLECTION, 21G X 1-1/4" | 30 | boxes |
| NEEDLE, BUTTERFLY, BLOOD COLLECTION, 23G X 3/4" X 12" | 30 | boxes |
| Needle, Hypodermic, 20G x 1 1/2" | 30 | boxes |
| NET OPEN 10 YD X 1.75 IN WHITE | 100 | each |
| N-G TUBE 50S | 50 | each |
| Notepads, White | 25 | each |
| Notepads, White | 25 | each |
| OB Kit | 3 | each |
| ONE TOUCH ULTRA CONTROL SOLUTION | 15 | boxes |
| ONE TOUCH ULTRA GLUCOSE METER ONLY | 25 | units |
| ONE TOUCH ULTRA GLUCOSE TEST STRIPS, 50S | 100 | bottles |
| OPHTHALMIC IRRIGATING SOLUTION, 120ML | 150 | each |
| Ostomy, Closed - End Pouch | 25 | each |
| Ostomy, Drainable Pouch | 25 | each |
| Ostomy, Wafer | 50 | each |
| OTOSCOPE OPHTHALMOSCOPE SET ELEC WELCH-ALLYN BTRY OPER POCKET | 15 | units |
| OXIMETER PULSE PORT FINGERTIP | 30 | each |
| OxImeter, Pulse | 5 | each |
| OxImeter, Pulse, Carrying Case | 5 | each |
| Oxygen Concentrator | 5 | each |
| Oxygen Cylinder Cart (1 cart per 25 patients) | 2 | each |
| OXYGEN MASK; PEDS; AGES 2 TO 7; CLEAR; 50S | 100 | each |
| Oxygen Nebulizer, Handheld | 50 |  |
| OXYGEN REGULATOR FOR D CYLINDER | 60 | each |
| OXYGEN TRANSPORT D CYLINDER | 50 | each |
| OXYGEN USP 99% CYLINDER TYPE H 1650 GALLON | 45 | type H gallon |
| Oxygen, Cylinder, Wrench | 3 | each |
| Oxygen, Hose | 5 | each |
| Oxygen, MiniLator | 2 | each |
| OXYGEN, NEBULIZER, CONDENSER AND DELIVERY UNIT | 50 | each |
| Oxygen, Regulator, D | 25 | each |
| Oxygen, Tubing, 100' | 50 | each |
| Pacifiers, Orthodontic, Silicone (Large) | 5 | each |
| Pack, Cold (Instant) | 50 | each |
| Pack, Warm Solar-First Aid Size | 50 | each |
| PAD ABDOMINAL STERILE 16 IN X 12 IN 144S | 1000 | each |
| PAD COOLING CHEMICAL PLASTIC WHITE DISPOSABLE 9X6 16S | 400 | each |
| PAD HEAT TREATMENT INSTANT HEAT PACK KWIK HEAT BECOMES 110 DEG 4 | 400 | each |
| PAD WRITING PAPER 8.5W 11LG WHITE A/A PULP TYPE | 100 | each |
| Pad, ABD | 75 | each |
| PAD, CHUX, 23" x 36", LIGHTWEIGHT, DISPOSABLE | 500 | each |
| Pad, Chux, Absorbent | 100 | each |
| Pad, Convoluted (Egg crate) | 50 | each |
| Pad, Easel | 1 | each |
| PAD, NONADHERENT, VERSI-FOAM; T.R.A.C. WHITEFOAM LARGE DRESSING; 5S | 750 | each |
| PADS MATERNITY CURITY 168S | 400 | each |
| Pads, Gauze (Sterile) | 50 | each |
| Pads, Mattress, Crib | 5 | each |
| Pallet, Hand Jack | 1 | each |
| Paper, Copy 8.5 x 11 (1 ream) | 5 | each |
| PAPER,TOILET | 500 | each |
| Paste, Stomahesive 2oz | 1 | each |
| PATIENT ID BAND | 250 | each |
| Patient lift, 1000 lb. Hydraulic w /washable sling | 1 |  |
| PELVIC BINDERS | 20 | each |
| PEN BALL-POINT BLACK FINE POINT POCKET RETRACTABLE | 500 | each |
| PENCIL NONINDELIBLE GRAPHITE LEAD NO.2 THIN IV TYPE 2 NUMBER | 500 | per each |
| PENROSE DRAIN 1" | 60 | each |
| PENROSE DRAIN- 1/4" | 20 | each |
| PENROSE DRAIN-1/2" | 20 | each |
| Pens, Standard, Black / Blue | 25 | each |
| Pens, Standard, Black / Blue | 25 | each |
| PERSONAL HYGIENE KIT 30S | 250 | each |
| PETROLATUM GAUZE ACCORDION FOLD STER WHITE 18 IN X 3 IN | 500 | per each |
| PICCOLO GENERAL CHEMISTRY 13 PANEL | 50 | boxes |
| PICCOLO PRINTER PAPER | 50 | boxes |
| PICCOLO, BRT, GENERAL CHEMISTRY CONTROL WITH LEVEL 1 AND 2 | 2 | sets |
| Pillow (126 EA) | 50 | each |
| Pillow (BEDPACK 2 EA per bag x 25) | 13 | each |
| Pillow Case, Disposable (2 EA per 25 x 5)) | 50 | each |
| Pillow Case, Disposable (200 EA per x 5) | 5 | each |
| Pillow Case, Disposable (5 CS x 100) | 50 | each |
| PILLOW PNEUMATIC COTTON RUBBER KHAKI OR OLIVE DRAB 16.5X13INCHES | 300 | each |
| PILLOWCASE COTTON-POLYESTER 36.0X20.5IN GREEN GRAY NONDISPOSABLE | 150 | each |
| PILLOWCASE NONWOV FAB DISP AQUA 20X29 IN 200S | 500 | each |
| PIN,SAFETY | 500 | each |
| PIPETTE TIP, 0.1 ML, DISPOSABLE | 40 | boxes |
| PIPETTE, MICRO, 0.1 ML | 75 | each |
| Plate, Dinner, Heavyweight ( 4 PKG per CS x 4) | 13 | cases |
| Plugs, Child Protective | 15 | each |
| Power Cord, Electric, 100' | 5 |  |
| Power Cord, Electric, 50' | 5 |  |
| Power, Outlet Box, 6-Outlet Surge Type w/Cord | 1000 | each |
| Prep Pad, Alcohol | 250 | each |
| PREP RAZOR | 40 | each |
| PREP TRAY SURGICAL SKIN WITH BETADINE 20S | 1000 | each |
| PRESSURE BAGS FOR IV FLUIDS | 20 | units |
| PRESSURE MONITOR KIT WITH 18 GAGEX2.50 NEEDLE 3ML SYR STER 6S | 10 | units |
| Privacy Screen, 3 Fold Panel ( 15 EA per) | 8 | each |
| PROCEDURE MASK WITH FACE SHIELD AND EARLOOPS | 1000 | masks |
| PROPAQ EKG PAPER | 40 | roles |
| Protective Underwear Pullups, Extra Large | 3 | packs |
| Protective Underwear Pullups, Large | 3 | packs |
| Protective Underwear Pullups, Medium | 3 | packs |
| Protective Underwear Pullups, Small | 3 | packs |
| Protectors, Paper Sheet, Non-Glare | 50 | each |
| Protectors, Paper Sheet, Non-Glare | 50 | each |
| PULSE OXIMETER KIT, NONIN 9840, AIRWAY ADAPTER, DISPOSABLE | 50 | each |
| PULSE OXIMETER KIT, NONIN 9840, CO2 END TIDAL, NON-DISPOSABLE | 13 | each |
| PULSE OXIMETER KIT, NONIN 9840, SENSOR (Adult, Ped, Neo), NON-DISPOSABLE | 13 | each |
| PULSE OXIMETER KIT, NONIN 9840, SENSOR, ADULT, DISPOABLE | 50 | each |
| PULSE OXIMETER KIT, NONIN 9840, SENSOR, NEONATAL, DISPOSABLE | 10 | each |
| PULSE OXIMETER KIT, NONIN 9840, SENSOR, PEDIATRIC, DISPOSABLE | 50 | each |
| PULSE OXIMETER KIT, NONIN, HANDHELD | 13 | unit |
| PUMP INTRAVENOUS INFUSION 3-CHANNEL VOLUMETRIC PORTABLE | 25 | If multichannel not available then CME America, BodyGuard 121 and increased quantity. channel portable |
| RADIOPAQUE SAFETY IV CATHETER 14 GA 1.25 IN LG PLASTIC STERILE 200S | 75 | each |
| Razor, Disposable | 25 | each |
| REFRIGERATOR FREEZER | 20 | each |
| REGULAR PRESSURE MED GAS/OXYGEN/CGA 540/TUBE TYPE FLOW/15LPM/TANK GAUGE 4000 LB PSI | 25 | each |
| REGULATOR FLOW RATE EXTENSION SET LUER LOCK PORT LATEX FREE 18 IN. 48S | 20 | each |
| Repellent, Insect | 25 | each |
| RESTRAINT LOCKING LEATHER SET WRIST ANKLE W/FOAM PADDING | 20 | each |
| RESUSCITATOR HAND-POWERED ADULT SIZE 4 AND 5 CHILD SIZE 3 | 20 | per week (Ambu Bag) |
| RESUSCITATOR MOUTH-TO-MASK FILTERED MASK ORONASAL ADULT SZ DISP 20S | 50 | each |
| RING CUTTER | 2 | each |
| RING CUTTER, BLADES | 5 | each |
| ROBE SEERSUCKER LG 12S | 50 | each |
| Rope Nylon | 1 |  |
| SAFETY NEEDLE 25 GAUGE STERILE | 500 | each |
| Safety Pin, Large | 50 | each |
| Safety Pin, Medium | 50 | each |
| SAHARA CHEST TUBE DRAINAGE SYSTEM | 25 | each |
| SALEM SUMP W/FUNNEL 16FR 48L DBL LUMEN | 25 | each |
| SAM SPLINT MALLEABLE 36 X 4.5, GRAY, 12S | 50 | each |
| SCALPEL BLADE KNIFE NO. 10 CUTTING | 50 | each |
| SCALPEL SURGICAL SAFETY SHIELDED SIZE NO. 10 DISPOSABLE STERILE 100 | 50 | each |
| Scalpel, #10, (HANDLE AND BLADE) Disposable | 50 | each |
| Scalpel, #11, (HANDLE AND BLADE) Disposable | 50 | each |
| Scissor, Lister | 1 | each |
| Scissors | 13 | each |
| SCREEN BEDSIDE ALUMINUM 68X76 WASHABLE VINYL CURTAIN 52X20 | 50 | each |
| SCRUB TOP SZ LG | 50 | each |
| Set, Gravity Feeding | 25 | each |
| Shampoo, Personal | 50 | each |
| SHARPIE FINE POINT | 250 | each |
| SHARPS CONTAINER 2 GALLON | 150 | each |
| SHARPS CONTAINER WITH NEEDLE REMOVER, 1 QUART | 75 | EACH needle REMOVER, remover quart |
| Sharps Container, Large | 1 | each |
| Sharps Container, Large | 3 | each |
| Sharps Container, Small | 1 | each |
| Sharps Container, Small | 15 | each |
| Shaving Cream, Non-Aerosol | 10 | each |
| SHEET BED PLAS ALUM COATED 72X20IN BLUE FITTED DISP 50S | 1000 | each |
| Sheet, Bed, White, Disposable | 100 | each |
| Sheet, Bed, White, Disposable | 200 | each |
| Sheet, Bed, White, Disposable( 2 ea X 25 X 10) | 100 | each |
| SHIELD EYE SURG GOFFMAN SGL CONSTRUCTION CATARACT OPERATION 50S | 25 | each |
| Shield, Face (2 X 96) | 39 | each |
| SHOES SHOWER BLACK RBBR W/CROSS STRAP NON-SLIP ADULT X-LARGE 36S | 50 | each |
| SHOES SHOWER RBBR BLACK ADULT SZ SHOE W/CROSS STRAP SZ MEDIUM72S | 50 | each |
| SHOES SHOWER RBBR BLACK W/CROSS STRAP NON-SLIP ADULT SZ SMALL72S | 50 | each |
| SHOES SHOWER RUBBER BLACK W/CROSS STRAP ADULT SZ LARGE 72S | 50 | each |
| Shower Curtain | 5 | each |
| Shower Seat w/Back (700 lbs) | 5 | each |
| Sign Language Board | 1 | each |
| SILVERLON ELASTIC BURN WRAPS 4 X 66 | 150 | each |
| SILVERLON WOUND CONTACT DRESSING 4 IN X 4 IN | 150 | each |
| SKIN CLEANSER AND SHAMPOO AND BODY WASH MEDICATED 4FLOZ BTL 72S | 600 | each |
| SKIN STAPLER | 38 | each |
| Slide Board, PT Transfer | 3 | each |
| Sling, Patient Lift, 450 lbs. | 1 | each |
| Sling, Patient Lift, Washable, 1000 lbs. | 1 | each |
| SOAP TOILET NONMEDICATED CAKE I.W. 0.75OZ 1000S | 150 | each |
| Soap, Bar (50 bags x 5) | 50 | each |
| Soap, Lotion | 100 | each |
| SODIUM CHLORIDE INHALATION SOLUTION USP 3ML VIAL 100S PG | 1000 | each |
| SPECULUM OTOSCOPE 2.75 MM (850) PER PACKAGE | 3 | packages |
| SPECULUM OTOSCOPE 4.25 MM (850) PER PACKAGE | 3 | packages |
| SPHYGMOMANOMETER ANEROID CHILD WITH CASE | 10 | each |
| SPHYGMOMANOMETER ANEROID SZ ADULT LATEX FREE W/CARRYING CASE | 20 | each |
| SPONGE SURGICAL GAUZE COMPRESSED 8 X 4 WHITE NONSTERILE 200S | 25 | packages |
| SPONGE, LAP, Sterile, 5-pack | 25 | each |
| SPONGES 8 X 4 12 PLY STERILE, 10 SPONGES PER PEEL TRAY | 25 | each |
| Stand, IV | 35 | each |
| Staple Remover | 1 | each |
| Staple Remover | 3 | each |
| STAPLE REMOVER STERILE DISP | 50 | each |
| Stapler | 3 | each |
| Station, Hand Wash ( 2 EA Per) | 25 | each |
| Station, Hand Wash, Portable, Wheelchair Acc.Accessible | 3 | each |
| Step Stool | 10 | each |
| Stethoscope | 1 | each |
| Stethoscope | 2 | each |
| Stethoscope | 1 | each |
| STETHOSCOPE LITTMAN CLASSIC II | 25 | each |
| Stickers, Kids (Rolls) | 3 | each |
| Stockinette 4" Roll | 50 | each |
| STOPCOCK 3-WAY | 150 | each |
| STOPCOCK 4 WAY 50S | 150 | each |
| STRAINER UROLOGICAL WHITE W/BUILT IN RIDGE FOR GRIPPING | 50 | each |
| Straw, Drinking | 500 | each |
| Stretcher (guerney) | 5 | each |
| Stretcher, Bariatric (guerney) | 1 | each |
| Stretcher, IV Rod | 6 | each |
| STYLET CATHETER-TUBE ALUMINUM 14FR ADULT SIZE 15 INCH LENGTH STERILE 20S | 38 | each |
| Suction Catheter 14 FR | 20 | each |
| SUCTION CATHETER KIT TRACH 14 FR STERILE | 100 | trach |
| SUCTION SET TRACHEAL TRI-FLOW CATH 14FR 22IN LONG IND PKG 100S | 100 | each |
| SUCTION TUBING, NON-STERILE, 100 | 250 | each |
| SUCTION YANKAUER W/O CONTROL VENT W/72 IN SUCT TUBNG | 150 | each |
| Sunblock | 25 | each |
| SURGICAL DRAPE, U Split with Tube Holders (76" x 120") | 50 | each |
| SURGICAL SPONGE 4X4 12 PLY GAUZE WHITE STERILE PEEL TUB 1280S | 250 | each |
| SUTURE KIT SURGICAL 10 COMPONENTS FORCEPS SCISSORS SWABS STERILE DISPOSABLE 20S | 100 | each |
| Suture Kit, Laceration Tray (2 X 16) | 7 | each |
| SUTURE REMOVAL KIT, STERILE | 50 | each |
| Suture, Monosof 4-0 18" black PC-3/PC-11 needle | 3 | each |
| Suture, Monosof 5-0 18" black p-3/p-13 needle | 3 | each |
| SYRINGE NEEDLE INSULIN 1 ML CAP 28 GA SGL SCALE 100S | 600 | each |
| SYRINGE AND NEEDLE HYPODERMIC SAFETY 3ML 20GAGE 100S | 350 | each |
| SYRINGE AND NEEDLE INSULIN SAFETY-LOK 29 G X 1/2 50 UNIT 0.5ML 400S STERILE | 600 | each |
| SYRINGE GP 3ML CAP LUER TIP 200S | 500 | each |
| SYRINGE HYPO GP 10ML CAP LUER LOCK W/O NEEDLE PLAS STER 400S | 400 | each |
| SYRINGE HYPODERMIC 60CC STERILE LUER LOCK 100S | 400 | each |
| SYRINGE HYPODERMIC LUER LOCK PLAS STER DISP 20CC STERILE 192S | 400 | each |
| Syringe, Luer-Lock, 5cc | 120 | each |
| Syringe, Luer-Lock, Disposable 10cc | 60 | each |
| Syringe, Piston 60cc | 20 | each |
| T.R.A.C. WHITEFOAM SMALL DRESSING KIT; PVA; SMALL; FREEDOM VAC; 5S | 50 | each |
| Table, Folding (9 EA x 6) | 5 | each |
| Tag, Triage | 60 |  |
| TAPE ADHESIVE SURGICAL 1 X 360 12S | 250 | rolls |
| Tape Dispenser w/ 6 rolls of tape | 15 | rolls |
| TAPE MEASURING LINEN OR COTTON WOVEN OR FIBER SYNTHETIC 72" CAP | 75 | each |
| TAPE PRESSURE SENSITIVE ADHESIVE 3/4 INCHES BY 8-1/3 YARDS | 250 | rolls |
| Tape, Coban, 1" | 50 | rolls |
| Tape, Coban, 4" | 50 | rolls |
| Tape, Duct | 5 | rolls |
| Tape, Electrical | 5 | rolls |
| Tape, Masking | 5 | rolls |
| Tape, Surgical, Durapore 1" | 15 | rolls |
| Tape, Surgical, Medipore 2" | 15 | rolls |
| Tarp | 5 | each |
| TELFA PAD LARGE 3IN X 8IN STERILE 50S | 1000 | each |
| TEST KIT OCCULT BLOOD DETERMINATION 100 TESTS | 500 | test |
| TEST STRIPS AND COLOR CHART 100 STRIPS PER BOTTLE | 1 | each |
| TEST STRIPS AND COLOR CHART GLUCOSE AND PROTEIN IN URINE 100S (MULTISTIX SG-2) | 25 | bottles |
| THERMOMETER DIGITAL HUMAN ORAL/RECTAL | 55 | each |
| THERMOMETER DISPOSABLE 2000S | 50 | each |
| THERMOMETER KIT W/PROBES DIGITAL SURETEMP PLUS | 20 | each |
| THERMOMETER PROBE COVER FOR DIGITAL THERMOMETER | 1000 | each |
| Thermometer, Bat Powered w/Probe (Welch Allyn) | 3 | each |
| Thermometer, Probe Cover (Welch Allyn) | 250 | each |
| THORACENTESIS SET STERILE DISP 16GA X 6IN POLYTETRAFLUOROETHYLENE CATHETER ASSY 10S | 25 | each |
| Tissue, Facial | 50 | each |
| Toilet Brush & Cup Combo | 50 | each |
| Toilet Paper | 150 | each |
| Tongue Depressor | 50 | each |
| Tool Kit | 1 | each |
| TOOMEY SYRINGE 70CC CAP STER 50S | 350 | each |
| Toothbrush, Adult | 50 | each |
| Toothbrush, Child | 10 | each |
| Toothpaste | 50 | each |
| TOURNIQUET; VACUTAINER BRAND; 1 IN BY 18 IN; 25S | 500 | each |
| Tourniquets | 60 | each |
| Towel, Bath, Cotton | 60 | each |
| Towel, Bath, Cotton ( 60 x 5) | 61 | each |
| Towel, Bath, Cotton (2 EA x 25 x 10) | 61 | each |
| Towel, Paper Roll | 50 | each |
| TOWEL,BATH | 6000 | each |
| TOWELETTE DISINFECTING CAVIWIPES 160S | 100 | each |
| TOWELETTE SKIN CLEANSING BABY WIPES SCENTED ALOE 1200S | 500 | each |
| TOWELETTE,BENZALKONIUM CHLORIDE IMPREGNATED | 1000 | each |
| Towelettes, Antimicrobial | 3000 | each |
| TPIII CABLE, FOR USE WITH PROPAK | 6 | DEFIBS/MONITORS |
| TRAC TUBING CAP KCI WOUND THERAPY UNIT 10S | 45 | each |
| TRACH TAPES | 40 | each |
| TRACHEOSTOMY CARE SET DISP 24S STER ITEMS PACKED IN ORDER OF USE | 3 | units |
| Transcutaneous pacer | 15 | each |
| Transfer Bench w/ Back, 700lb | 3 | each |
| Trauma Pack, Back Pack, Empty | 2 |  |
| Trauma Pack, Back Pack, Full | 13 | each |
| Trauma Pack, Bag, Empty | 2 |  |
| Trauma Pack, Bag, Full | 13 | each |
| TRAY INSTRUMENT CORROSION RESISTING STEEL 10.5LG 10W 3.5DEEP | 15 | each |
| TRAY INSTRUMENT CRS 16.75X9.25X2.50 INCHES RECTANGULAR | 15 | each |
| Tray, Tracheostomy Care Kit | 1 | each |
| TROUSERS MENS PAJAMA MEDIUM ANKLE LG COTTON/POLYESTER BLUE | 150 | each |
| TROUSERS MENS PAJAMA SMALL ANKLE LG COTTON/POLYESTER BLUE | 150 | each |
| TROUSERS MENS PAJAMA SZ 29.50 LGE ANKLE LG COTTON/POLYESTER BLUE | 150 | each |
| TROUSERS MENS PAJAMA XLGE ANKLE LG COTTON/POLYESTER BLUE | 150 | each |
| TROUSERS SCRUB MED ELAS WAIST RIGHT HIP POCKET 30S | 150 | each |
| T-SHAPED PLASTIC 5 IN 1 CONNECTOR | 100 | each |
| TUBE ENDOTRACH 7.0 MM 10S | 40 | each |
| TUBE FEEDING BAG | 40 | each |
| TUBE FEEDING NASAL W/LUER TAPER END INFANT 8 FR 15 50S | 25 | each |
| TUBE FEEDING SURG E17 NASAL W/LUER TAPER DISP OPAQUE 12FR 10S | 25 | each |
| TUBE GAUZE 5O YD X .875 IN WHITE NONSTERILE | 200 | each |
| TUBE INHALER PLAS 84 LG FORCE-FIT FLARED TIPS NONSTER DISP 50S | 20 | each |
| TUBE NASAL FEEDING PREMATURE INFANT 5FR DIA CLOSED TIP 15IN LG 200S | 15 | each |
| TUBE TRACH NASAL/RAE E12 W/CUFF 7.5MM DIA LP CUFF MURPHY EYE 10S | 40 | each |
| TUBE TRACHEAL MURPHY E12 W/CUFF 7.0MM ID 30CM LG W/15MM CONN 10S | 40 | each |
| TUBE TRACHEOSTOMY SHILEY DSGN 80MM LG 36FR TUBULAR STYLE PLASTIC | 40 | each |
| TUBE, BLOOD COLLECTION, EDTA, 4 ML, PURPLE TOP | 250 | tubes |
| TUBE, BLOOD COLLECTION, HEPARIN, 4 ML, GREEN TOP | 15 | packages |
| TUBE, BLOOD COLLECTION, PLAIN, 7 ML, RED TOP | 20 | packages |
| TUBE, BLOOD COLLECTION, VAC-U TAINER BARREL | 6 | packages |
| TUBE, CAPILLARY, 100uL, LITHIUM HEPARIN | 15 | packages |
| TUBE, DRAINAGE, SURGICAL, THORACIC 12 Fr, Straight (Latex Free) | 25 | each |
| TUBE, DRAINAGE, SURGICAL, THORACIC 16 Fr, Straight (Latex Free) | 25 | each |
| TUBE, DRAINAGE, SURGICAL, THORACIC 36 FR, Straight (Latex Free) | 25 | each |
| Tube, Nasal Gastric (14FR) | 10 | each |
| Tube, Nasal Gastric (16FR) | 10 | each |
| TUBE, NASAL GASTRIC (NGT), 10 Fr (Latex Free) | 25 | each |
| TUBE, NASAL GASTRIC (NGT), 16 Fr (Latex Free) | 25 | each |
| TUBE, VAC BLOOD, 2.7 ML, BLUE TOP, 3.2% CITRATE SOLN, 50S | 5 | packages |
| TUBE, VAC BLOOD, 4 ML, K2EDTA, LAVENDER TOP, PLASTIC, 1200S | 10 | packages |
| Tube, Yankauer | 10 | each |
| TUBING BREATHING CORRUGATED 100FT ROLL | 200 | sets |
| TUBING TRANSDUCER A-LINE 60 LG DISP SQUEEZE FLUSH DEVICE 20S | 50 | each |
| Tubing, CPAP 6 ft | 5 | each |
| TUNING FORK SET W/STEEL CASE MARKED W/CADUCEUS 5 COMPONENTS | 3 | each |
| ULTRASONIC UNIT BLOOD FLOW DETECTION 115/120V 50/60 HZ DOPPLER | 5 | units |
| ULTRASOUND HANDHELD UNIT | 1 | units |
| ULTRASOUND UNIT, Sonosite Edge II | 3 | units |
| UNNA BOOT DRESSING | 50 | each |
| URETHAL CATHETERIZATION KIT PRECISION 400 URINE METER FOLEY 16 FR 5 CC 10S | 50 | each |
| URETHRAL CATHETER KIT FLOCATH® QUICK™ STRAIGHT TIP HYDROPHILIC COATED PVC 6 Fr. 16 Inch | 25 | each |
| URETHRAL CATHETER KIT FLOCATH® QUICK™ STRAIGHT TIP HYDROPHILIC COATEDPVC 8 Fr. 16 Inch | 25 | each |
| URINAL MALE PATIENT PLAS STURDY HANDLE HINGED CAP | 100 | each |
| Urinal, Male, Disposable | 10 | each |
| VALVE ANTI-REFLUX NASO GASTRIC ONE WAY PLASTIC DISPOSABLE 10S | 100 | each |
| VALVE PORT NEEDLE-FREE POSITIVE BOLUS SMARTSITE 1.45IN LENGTH 100S | 30 | each |
| VELCRO TAPE HOOK SIDE 2 IN X 25 YD (GOES W/8315013583556) | 20 | each |
| VELCRO TAPE PILE SIDE 2 IN WIDE X 25 YD (GOES W/8315013583555) | 20 | each |
| VENTILATOR CIRCUIT ADULT DISP 15S | 50 | each |
| VENTILATOR PORTABLE WITH INTERNAL BATTERY CHARGER | 15 | Units |
| VENTRICULOSTOMY BAGS (FOR BURR HOLES AND TAP SHUNTS) | 25 | each |
| VIDEO LARYNGOSCOPE | 3 | each |
| VIDEO LARYNGOSCOPE BLADE, MAC SIZE 1 | 40 | each |
| VIDEO LARYNGOSCOPE BLADE, MAC SIZE 2 | 40 | each |
| VIDEO LARYNGOSCOPE BLADE, MAC SIZE 3 | 40 | each |
| VIDEO LARYNGOSCOPE BLADE, MAC SIZE 4 | 40 | each |
| VITAL SIGN MONITORS | 25 | units |
| Walker, 300 lbs | 3 | each |
| Walker, 700 lbs | 2 | each |
| Walkie-Talkie Set | 2 | each |
| Wash Cloth, Cotton, White | 60 | each |
| Wash Cloth, Disposable, Face | 200 | each |
| WASHCLOTH COTTON 12X12IN SOLID WHITE STRIPE TERRY NONDISPOSABLE | 750 | each |
| WASTE RECEPTACLE RND W/TOP GRAY 32GAL 28IN O/A H 22IN O/A DIA | 40 | each |
| Water, Sterile | 50 | each |
| WEBRIL UNDER CAST PADDING, 4 INCH | 50 | each |
| WEBRIL UNDER CAST PADDING, 6 INCH | 50 | each |
| Wedge, Foam | 2 | each |
| Wheel Kit, Walker, 700 lbs. | 1 | each |
| Wheelchair, 22" | 2 | each |
| Wheelchair, 26" | 2 | each |
| Wheelchair, 18" | 2 | each |
| Wheelchair, 24" | 2 | each |
| Wipes, Baby (Tub) | 25 | boxes |
| WOODEN APPLICATOR, 6" | 3 | boxes |
| Y CONNECTOR ACTIVAC THERAPY UNIT 5S | 2 | boxes |
| YOKE-ADAPTER COMPRESSED GAS CYLINDER FLUSH TYPE OUTLET | 25 | units |
| Y-SHAPED CONNECTOR | 100 | each |

|  |  |  |
| --- | --- | --- |
| **Acute Care / 50-bed / Pharmacy Recommendations** | | |
| **Item Description** | **Qty** | **Unit of Measure** |
| ACETAMINOPHEN TABLETS USP 0.325GM 1000S | 6 | BT=Bottle |
| Acetaminophen Suppositories 325mg pkg of 12 | 2 | PG=Package |
| ACETYLCYSTEINE SOLUTION USP 20% 30ML BOTTLE 3 PER PACKAGE | 2 | PG |
| ADENOSINE 12 MG/4 ML SYRINGE 4ML, 10S | 2 | PG |
| Albuterol Sulfate Syrup 2mg/5mL, 480mL | 4 | BT |
| Albuterol Inhalation Solution 0.083%, 3mL ampoule box of 25 | 6 | BX=Box |
| Albuterol Inhaler 90mcg 200 actuations | 16 | EA=Each |
| Alcohol Prep Pads Box of 200 | 2 | BX |
| ALTEPLASE FOR INJECTION 58000000 INTERNATIONAL UNITS | 2 | EA |
| ALUMINUM HYDROXIDE GEL DRIED MAGNESIUM TRISILICATE TABLETS 100S | 2 | BT |
| AMIODARONE HCL Inj. 150mg/3ml vial pkg of 25 | 2 | PG |
| AMMONIA INHALANT SOLUTION AROMATIC 0.333ML AMPUL 10 PER PACKAGE | 4 | PG |
| AMOXICILLIN AND CLAVULANATE POTASSIUM TABLETS USP 20 TABS/BOTTLE | 24 | BT |
| AMPICILLIN AND SULBACTAM FOR INJECTION USP 3GM VIAL 10/PG | 16 | PG |
| ARTIFICIAL TEARS SOLUTION 15 ML DROPPER BOTTLE | 72 | BT |
| ASPIRIN 81 MG TABLETS | 4 | BT |
| ASPIRIN TABLETS USP 0.325GM 100S | 20 | BT |
| ATENOLOL TABLETS USP 50MG 100 TABLETS PER BOTTLE | 2 | BT |
| ATROPINE SULFATE INJECTION USP 0.1MG/ML 10ML ANSYR PLAS SYR 10S | 4 | PG |
| Atropine 0.4mg/mL 20ml 10S | 4 | PG |
| Atropine Inj 1ml Vial 25 vials per pg | 4 | PG |
| Azithromycin Suspension 200mg/5mL, 30mL | 8 | BT |
| AZITHROMYCIN TABLETS 250MG 18 TABLETS PER PACKAGE (3 Z PAKS) | 48 | PG |
| AZITHROMYCIN TABLETS 250MG 30 TABLETS PER BOTTLE | 6 | BT |
| Azithromycin 500mg/vial 10S | 4 | PG |
| BACITRACIN OINTMENT USP 500UN/GM .87GM PACKET I.S. 144PACKETS/PG | 4 | PG |
| BACITRACIN ZINC OINTMENT USP 500 UNITS PER GRAM 14.2 GM .5 OZ | 72 | TU-Tube |
| BELLADONNA ALKALOIDS WITH PHENOBARBITAL ELIXIR 4FL OZ/118ML BT | 12 | BT |
| BENZOCAINE GEL USP 10% ZILACTIN-B 0.25 OZ | 50 | TU |
| Benzocaine Spray 20% 2FLOZ or 60 mL container | 2.5 | EA |
| BENZOCAINE MENTHOL CETYLPYRIDINIUM THROAT LOZENGES SUGAR FREE 16 | 8 | PG |
| BENZONATATE CAPSULES USP 100 MG 100S | 24 | BT |
| BENZOIN TINCTURE SWAB STICK INDIV PKG 500S | 2 |  |
| BENZOYL PEROXIDE GEL USP 10% 1.5OZ OR 42.5GM TUBE | 20 | TU |
| BETADINE PAINT 4 OZ BOTTLE | 30 |  |
| Betadine scrub 4oz bottle | 6 | bt |
| Bisacodyl Suppositories 10mg box of 12 | 4 | bx |
| BISMUTH SUBSALICYLATE TABLETS CHEWABLE SUGAR FREE I.S. 30/PG | 30 | PG |
| BUPIVACAINE AND EPINEPHRINE INJECTION USP 1.8ML CARTRIDGE 50/CAN | 2 | CN |
| BUPIVACAINE HYDROCHLORIDE INJECTION USP .50% 30ML VIAL 10S | 2 | PG |
| BUPIVACAINE HYDROCHLORIDE INJECTION USP 50ML VIAL | 6 | VI=Vial |
| BUPROPION HYDROCHLORIDE SUSTAINED RELEASE TABLETS 150MG 60S | 10 | BT |
| BUPROPION HYDROCHLORIDE TABLETS 150MG 60 TABLETS PER BOTTLE | 10 | BT |
| CALAMINE LOTION USP 6 FL OZ BOTTLE | 20 | BT |
| CALCIUM CHLORIDE INJECTION USP 100MG/ML 10ML SYRINGE 10/PACKAGE | 2 | PG |
| CARBAMIDE PEROXIDE OTIC SOLUTION 0.5FL OZ BOTTLE | 12 | BT |
| CEFAZOLIN INJECTION USP 1GM CEFAZOLIN 10ML VIAL 25S | 4 | PG |
| CEFTRIAXONE SODIUM STERILE USP 1GM VIAL 10 VIALS PER PACKAGE | 12 | PG |
| CEPHALEXIN CAPSULES USP EQUIVALENT TO 250MG 100 PER BOTTLE | 8 | BT |
| CHARCOAL ACTIVATED SUSPENSION 50GM 240ML BOTTLE | 6 | BT |
| CLINDAMYCIN INJECTION USP 150MG/ML 6ML VIAL 25 VIALS/PACKAGE | 2 | PG |
| CLOTRIMAZOLE CREAM USP TOPICAL 1% 15GM | 48 | TU |
| CLOTRIMAZOLE CREAM USP TOPICAL 1% 30 GRAM | 10 | TU |
| CYCLOBENZAPRINE HYDROCHLORIDE TABLETS USP 10MG 100TABLETS/BOTTLE | 8 | BT |
| CYCLOPENTOLATE HYDROCHLORIDE OPHTHALMIC SOLUTION USP 5ML BOTTLE | 12 | BT |
| DEXAMETHASONE SODIUM PHOSPHATE INJECTION USP 4MG/ML 30 ML VIAL | 2 | VI |
| DEXTROAMPHETAMINE SULFATE TABLETS USP 5MG 100 TABLETS PER BOTTLE | 4 | BT |
| DEXTROMETHORPHAN HYDROBROMIDE AND GUAIFENESIN SYRUP 118ML BOTTLE | 48 | BT |
| Dextrose 5% & Sodium Chloride 0.45% Inj., 1000mL IV bag case of 12 | 8 | CS |
| Dextrose 5% & Sodium Chloride 0.9% Inj., 1000mL IV bag case of 12 | 8 | CS |
| Dextrose Inj. 5%, 50mL IV bag case of 80 | 4 | CS |
| DEXTROSE Inj. 50%, 50mL syringe pkg of 10 | 4 | PG |
| DIAZEPAM INJECTION USP 5MG/ML 2 ML UNIT 10 PER PACKAGE | 2 | PG |
| DIAZEPAM TABLETS USP 5MG INDIVIDUALLY SEALED 100S | 4 | PG |
| Dietary Supplement Therapeutic INDIV 250ml/container 24S | 2 | PG |
| Dietary Supplement Therapeutic Vanilla Flavor 8 oz can 24S | 2 | PG |
| Dietary Supplement Therapeutic powder form vanilla 14oz can 6S | 2 | PG |
| DIBUCAINE OINTMENT USP 1% WITH RECTAL APPLICATOR 1OZ COLLAPSIBLE | 6 | PG |
| DIGOXIN INJECTION USP 0.25MG/ML 2ML AMPUL 10 AMPULS PER PACKAGE | 2 | PG |
| DILTIAZEM HYDROCHLORIDE CAPSULES 60MG 100 CAPSULES PER BOTTLE | 2 | BT |
| DIMENHYDRINATE TABLETS USP 50MG 100 TABLETS PER BOTTLE | 2 | BT |
| Diphenhydramine HCl Inj. 50mg/mL,1mL vial pkg of 25 | 2 | PG |
| Diphenhydramine Elixir 12.5mg/5mL, 120ml | 4 | EA |
| DIPHENHYDRAMINE HYDROCHLORIDE CAPSULES USP 25MG 1000 CAPS/BOTTLE | 2 | BT |
| Dobutamine for Inj. 12.5mg/mL 20ml vial 10s | 4 | PG |
| Dopamine HCL and Dextrose Inj. 250mL bag 12 S | 2 | PG |
| DOXYCYCLINE HYCLATE TABLETS 100MG FILM COATED 100S | 20 | BT |
| Droperidol Inj. 2.5mg/mL 2ml Syringe needle Unit 10mL 10S | 6 | PG |
| Enalapril Inj. 1.25mg/mL, 2mL vial pkg of 10 | 2 | BX |
| Enoxaparin Inj. 40mg/0.4mL syringe box of 10 | 2 | BX |
| EPINEPHRINE INJECTION 1MG/ML, 1ML, 25S | 4 | PG |
| EPINEPHRINE INJECTION USP 0.1 MG/ML 10ML LIFESHIELD SYRINGE 10S | 4 | PG |
| Epinephrine Inj. 1:1,000 (1mg/mL), 30mL vial | 10 | VI |
| Epinephrine Auto Injector, Jr, 0.15mg | 6 | PG |
| Epinephrine Auto Injector 0.3mg | 6 | PG |
| ERYTHROMYCIN OPHTHALMIC OINTMENT USP 5MG/GM 1GM TUBE 50/PACKAGE | 2 | PG |
| ESMOLOL HYDROCHLORIDE INJECTION STERILE 10MG/ML 10ML VIAL 25S | 4 | PG |
| ETOMIDATE INJECTION 2 MG/ML 20ML SINGLE DOSE VIAL 10S | 2 | PG |
| FAMCICLOVIR TABLETS 125MG 30 TABLETS PER BOTTLE | 12 | BT |
| FENTANYL CITRATE INJECTION USP 0.05MG/ML 5ML AMPUL 10S | 4 | PG |
| FLUCONAZOLE TABLETS 150MG I.S. 12S | 4 | PG |
| FLUMAZENIL INJECTION 0.1MG/ML 10ML VIAL 10 VIALS PER PACKAGE | 2 | PG |
| FLUOCINONIDE CREAM USP 0.05% TOPICAL ADMINISTRATION 15GM COLLAPS | 12 | TU |
| FLUORESCEIN SODIUM OPHTHALMIC STRIPS USP 1MG STERILE 100S | 6 | PG |
| FLUTICASONE PROPIONATE INHALATION AERSOL HFA/110MCG/12GM/120DOSE | 16 | EA |
| FLUTICASONE PROPIONATE INHALATION AERSOLHFA220MCG/12GM/120 DOSES | 16 | EA |
| FLUTICASONE PROPIONATE NASAL SPRAY 16GM 120 ACTUATIONS | 40 | EA |
| FOSPHENYTOIN SODIUM INJECTION,USP 10S | 4 | PG |
| Furosemide Inj. 10mg/mL, 10mL vial pkg of 25 | 2 | PG |
| GENTAMICIN SULF OPHTH SOL USP EQUIV 3.0MG GENTAMICIN PER ML 5ML | 20 | BT |
| GENTAMICIN SULFATE INJECTION USP 40MG EQUIV/ML 2ML VIAL 25/PG | 2 | PG |
| GENTAMICIN SULFATE OPHTHALMIC OINTMENT USP 3.5 GRAM TUBE | 10 | TU |
| GLOBULIN TETANUS IMMUNE USP SYRINGE 250 UNITS PREFILLED | 2 | EA |
| GLYCOPYRROLATE INJECTION USP 0.2MG PER ML 20ML MULTI-DOSE VI 10S | 2 | PG |
| GUAIFENESIN AND CODEINE PHOSPHATE SYRUP 4FL OZ OR 120ML BOTTLE | 48 | BT |
| HAEMOPHILUS B POLYSACCHARIDE CONJUGATE VACCINE 5 VIALS/PACKAGE | 4 | PG |
| HALOPERIDOL INJECTION USP 5MG/ML 1ML AMPUL 10 AMPULES/PACKAGE | 2 | PG |
| HEPARIN SODIUM INJECTION USP 10000 UNITS PER ML 1ML VIAL 25S | 2 | PG |
| HETASTARCH IN SODIUM CHLORIDE INJECTION 500ML BAG 12 BAGS/PG | 0.5 | PG |
| HYDROCODONE BITARTRATE AND ACETAMINOPHEN TABLETS USP 5MG/325MG 1 | 10 | BT |
| HYDROCORTISONE & ACETIC ACID OTIC SOL USP 1%/2% 10ML DROPPER BTL | 16 | BT |
| HYDROCORTISONE CREAM USP 1% 1 OZ (28.35 GM) TUBE | 96 | TU |
| HYDROGEN PEROXIDE TOPICAL SOLUTION USP 1PINT (473 ML) | 24 | BT |
| HYDROXYZINE HYDROCHLORIDE INJECTION USP 50MG/ML 1ML VIAL 25S | 2 | PG |
| HYDROXYZINE HYDROCHLORIDE TABLETS USP 25MG 500 TABLETS/BOTTLE | 2 | BT |
| IBUPROFEN TABLETS USP 800 MG 500 TABLETS PER BOTTLE | 20 | BT |
| IMIPENEM AND CILASTATIN SODIUM F/INJ 500MG-500MG 25S | 2 | PG |
| INDINAVIR SULFATE CAPSULES 400 MG 180 CAPSULES PER BOTTLE | 2 | BT |
| Inhalation Chamber Spacer for MDI | 10 | EA |
| Inhalation Chamber with Mask, size Medium | 10 | EA |
| INSULIN HUMAN INJECTION USP 100UN/ML 10ML MULTIPLE DOSE VIAL | 8 | VI |
| INSULIN HUMAN ISOPHANE SUSPENSION 100USP UN/ML 10ML VIAL | 8 | VI |
| INSULIN GLARGINE, 10ML | 4 | VI |
| IPRATROPIUM BROMIDE INHAL AEROSOL W/HYDROFLUOROALKANE 17MCG 13GM | 12 | EA |
| Ipratropium Bromide Inhalation Solution 0.2%, 2.5mL ampoule box of 25 | 2 | BX |
| ISONIAZID TABLETS USP 300 MG 100S | 2 | BT |
| Isentress (raltegravir)--HIV prophylaxis | 2 | BT |
| Truvada (emtricitabine/tenofovir)--HIV prophylaxis | 2 | BT |
| KETAMINE HYDROCHLORIDE INJECTION USP 10ML VIAL 10 VIALS/PG | 4 | PG |
| KETOCONAZOLE CREAM 2% 15GM TUBE | 20 | TU |
| KETOROLAC TROMETHAMINE INJECTION USP 30MG/ML 1ML UNIT 10/PACKAGE | 8 | PG |
| LEVALBUTEROL TARTRATE 45MCG INHALATION WITH ADAPTER 15GM | 48 | PG |
| LEVOFLOXACIN SOLUTION FOR INJECTION 750MG/30ML SINGLE USE VIAL | 40 | VI |
| LEVOFLOXACIN TABLETS 500 MG 50 TABLETS PER BOTTLE | 16 | BT |
| LEVONORGESTREL AND ETHINYL ESTRADIOL TABLETS USP 168S | 12 | PG |
| LIDOCAINE HCL and Dextrose Inj. 500ml Bag 24S | 2 | PG |
| Lidocaine HCL and Epinephrine Inj. 20ml Vial 5S | 2 | PG |
| LIDOCAINE HYDROCHLORIDE INJECTION USP 10ML BOTTLE 5 PER PACKAGE | 4 | PG |
| LIDOCAINE HYDROCHLORIDE JELLY USP 2% 30 ML TUBE W APPLICATOR 12S | 2 | PG |
| Lidocaine HCL Injection USP 50ml vial 25S | 2 | PG |
| Lidocaine/Prilocaine Cream 2.5%/2.5%, 5gm pkg of 5 | 2 | PG |
| LIDOCAINE OINTMENT USP 5% 35 GM TUBE | 8 | TU |
| LISINOPRIL TABLETS 10MG 100 TABLETS PER BOTTLE | 20 | BT |
| LOPERAMIDE HYDROCHLORIDE CAPSULES USP 2MG 100 CAPSULES/BOTTLE | 8 | BT |
| LORAZEPAM 1mg BTL of 100 | 2 | BT |
| LORATADINE TABLETS,10MG BT 90S | 8 | BT |
| LUBRICANT OPHTHALMIC TOPICAL STERILE MINERAL OIL 0.125 OZ OR 3.5 | 8 | TU |
| LUBRICANT SURGICAL 5 GRAM 144S | 2 | PG |
| Magnesium Sulfate Inj. 50% (500mg/mL), 10mL syringe pkg of 10 | 2 | PG |
| MANNITOL INJECTION USP 25% 50ML SINGLE DOSE VIALS 25 VIALS/PG | 2 | PG |
| MECLIZINE HYDROCHLORIDE TABLETS USP CHEWABLE 25 MG 100S | 2 | BT |
| MENINGOCOCCAL POLYSACCHRIDE DIPTHERIA TOX CONJUGATE VIAL 5S | 4 | PG |
| MEPERIDINE HYDROCHLORIDE INJECTION USP 50MG/ML 1ML UNIT 10/PG | 24 | PG |
| METFORMIN HYDROCHLORIDE TABLETS 500MG 100 TABLETS PER BOTTLE | 4 | BT |
| METHOCARBAMOL TABLETS USP 500MG 500 TABLETS PER BOTTLE | 2 | BT |
| METHYLPREDNISOLONE SOD SUCCINATE F/INJ USP 2GRAMS IN 50ML VIAL | 4 | PG |
| METHYLPREDNISOLONE SODIUM SUCCINATE FOR INJECTION USP POWDER INT | 2 | VI |
| METOCLOPRAMIDE INJECTION USP 5MG/ML 2ML VIAL 25 PER PACKAGE | 2 | PG |
| METOCLOPRAMIDE TABLETS USP 10MG 100 TABLETS PER BOTTLE | 2 | BT |
| Metoprolol Inj. 1mg/mL, 5mL vial pkg of 10 vials | 2 | PG |
| METOPROLOL TARTRATE TABLETS 50MG 100 TABLETS PER BOTTLE | 20 | BT |
| METRONIDAZOLE INJECTION USP STERILE 5MG/ML 100ML BAG 24/PACKAGE | 2 | PG |
| METRONIDAZOLE TABLETS USP 250MG 250 TABLETS PER BOTTLE | 2 | BT |
| MIDAZOLAM HYDROCHLORIDE INJECTION 5MG/ML 1ML VIAL 10/PACKAGE | 8 | PG |
| MILK OF MAGNESIA USP 12 FL OZ (355 ML) | 6 | BT |
| MORPHINE SULFATE INJECTION 10MG/ML 1ML 10S | 8 | PG |
| MOXIFLOXACIN OPHTHAHLORIDE OPHTHALMIC SOL 5MG/ML 0.5% 3ML BOTTLE | 12 | BT |
| NALOXONE HCL Inj. 0.4mg/mL, 1ml vial pkg of 10 | 6 | PG |
| NAPHAZOLINE HCL AND PHENIRAMINE MALEATE OPHTH SOL USP 15ML | 30 | BT |
| NAPROXEN TABLETS USP 500 MG 500S | 8 | BT |
| NEOMYCIN AND POLYMYXIN B SULFATES AND HYDROCORTISONE OTIC SUSPEN 12/pkg | 2 | PG |
| NEOSTIGMINE METHYLSULFATE INJECTION, FOR INTRAVENOUS USE | 2 | PG |
| NICOTINE TRANSDERMAL SYSTEM 14 MG FOR 24 HOURS 7 PER PACKAGE | 10 | PG |
| NICOTINE TRANSDERMAL SYSTEM 21 MG FOR 24 HOURS 7 PER PACKAGE | 10 | PG |
| NICOTINE TRANSDERMAL SYSTEM 7 MG FOR 24 HOURS 7 PER PACKAGE | 10 | PG |
| NITROGLYCERIN LINGUAL AEROSOL 0.4MG 200 SPRAYS PER BOTTLE | 10 | EA |
| NITROGLYCERIN TABLETS USP 0.4MG 25 TABLETS PER BOTTLE 4 BOTTLES | 4 | PG |
| NITROPRESS 50 MG PER 2ML, VIAL | 6 | VI |
| NORETHINDRONE AND ETHINTL ESTRADIOL TABLETS USP 168S | 6 | PG |
| Norepinephrine Bitartrate Inj USP 4mL ampul 10S | 2 | PG |
| Oral Electrolyte Solution (Gatorade or Equivalent) powder formulation (pkg of 8) | 6 | PG |
| ONDANSETRON INJECTION USP 2MG/ML 2ML SINGLE DOSE VIAL 25 VIALS P | 4 | PG |
| OPHTHALMIC IRRIGATION 120 ML | 8 | BT |
| OXYCODONE AND ACETAMINOPHEN TABLETS USP 100 TABLETS PER PACKAGE | 8 | PG |
| OXYMETAZOLINE HYDROCHLORIDE NASAL SOLUTION USP 15ML SPRAY BOTTLE | 96 | BT |
| Pantoprazole 40mg po Tablet BTL | 4 | BT |
| Pantoprazole 40mg IV Inj vial pkg of 10 | 2 | PG |
| Pedialyte 1L bottle 12 per case | 2 | CS |
| Penicillin G Potassium for Inj. USP 20MU | 10 | BT |
| PENICILLIN V POTASSIUM 250MG TABLETS USP 100 TABLETS/BT | 16 | BT |
| PERMETHRIN CREAM 60GM TUBE | 10 | TU |
| PETROLATUM WHITE USP 1 OZ (28.35 GM) | 10 | TU |
| PHENAZOPYRIDINE HYDROCHLORIDE TABLETS USP 100MG 100 TABLETS/BT | 2 | BT |
| PHENYLEPHRINE HYDROCHLORIDE INJECTION USP 1% 1 ML 25S | 2 | BX |
| PHENYTOIN SODIUM Inj. 50mg/mL, 5mL vial | 2 | PG |
| PNEUMOCOCCAL VACCINE 10S | 4 | PG |
| POTASSIUM CHLORIDE FOR INJECTION CONCENTRATE USP 50ML BAG 24/PG | 2 | PG |
| PREDNISOLONE ACETATE OPHTHALMIC SUSPENSION 1% 5 ML | 12 | BT |
| PREDNISONE TABLETS USP 20MG I.S. 100 TABLETS PER PACKAGE | 2 | PG |
| PROCAINAMIDE HYDROCHLORIDE INJECTION USP 100MG/ML 10ML VIAL 25S | 2 | PG |
| PROMETHAZINE HYDROCHLORIDE INJECTION USP 25MG/ML 1ML AMPUL 25/BX | 4 | BX |
| PROPOFOL INJECTION 10MG/ML 50ML VIAL 20 VIALS PER PACKAGE | 4 | PG |
| PSEUDOEPHEDRINE HYDROCHLORIDE/GUAIFENESIN EXTENDED-RELEASE TABLE | 60 | PG |
| PYRIDOXINE HYDROCHLORIDE TABLETS USP 50MG 100 TABLETS PER BOTTLE | 20 | BT |
| RANITIDINE INJECTION USP 25MG/ML 2ML SINGLE DOSE VIAL 10/PACKAGE | 4 | PG |
| RANITIDINE TABLETS USP 150MG 60 TABLETS PER BOTTLE | 24 | BT |
| RINGER'S INJECTION LACTATED USP 1000ML BAG 12 BAGS PER PACKAGE | 12 | PG |
| SELENIUM SULFIDE LOTION USP 2.5% TOPICAL 120 ML BOTTLE | 8 | BT |
| SERTRALINE HYDROCHLORIDE TABLETS 100MG 30S | 30 | BT |
| SEVOFLURANE LIQUID FOR INHALATION 250 ML BOTTLE | 8 | BT |
| SIMETHICONE TABLETS USP 80MG 100 TABLETS PER PACKAGE | 2 | PG |
| SODIUM BICARBONATE INJ USP 8.4% SYRINGE-NEEDLE UNIT 50ML 10S | 2 | PG |
| SODIUM CHLORIDE INHALATION SOLUTION USP 5ML CONTAINER 100/PG | 2 | PG |
| SODIUM CHLORIDE INJ USP 3% 500 ML PLASTIC BAG 24s | 2 | PG |
| SODIUM CHLORIDE INJECTION USP 0.9% 100ML BAG 64 BAGS PER PACKAGE | 2 | PG |
| SODIUM CHLORIDE INJECTION USP 0.900% 10ML VIAL 25 VIALS/PACKAGE | 2 | PG |
| SODIUM CHLORIDE INJECTION USP 1000ML BAG 12 BAGS PER PACKAGE | 12 | PG |
| SODIUM CHLORIDE IRRIGATION USP 0.9% 1000 ML BOTTLE 12/PACKAGE | 6 | PG |
| Sodium Chloride Inj. 0.9%, 250mL IV bag 24/case | 2 | CS |
| Sodium Chloride Inj. 0.9%, 500mL IV bag 24/case | 2 | CS |
| Sodium Chloride Inj. 0.9%, 50mL IV bag 80/case | 2 | CS |
| Sodium Chloride Inj. 0.9%, Bacteriostatic, 30mL vial pkg of 25 | 2 | PG |
| Sodium phosphates Enema USP Disp Rect (4.5OZ) (133ML) | 6 | BT |
| Solu Cortef Hydrocortisone Sodium Succinate for Inj. 250mg 2ml vial | 4 | vials |
| SUCCINYLCHOLINE CHLORIDE INJECTION USP 20MG/ML 10ML VIAL 25/PG | 4 | PG |
| SUCRALFATE TABLETS 1GM 100 TABLETS PER BOTTLE | 2 | BT |
| SULFADIAZINE SILVER CREAM 1% TOPICAL 85GM TUBE | 40 | TU |
| SUMATRIPTAN SUCCINATE TABLETS 100MG 9TT | 10 | PG |
| TERAZOSIN HYDROCHLORIDE CAPSULES EQUIVALENT TO 1 MG 100 TABS/BT | 2 | BT |
| TERBINAFINE CREAM 1% TOPICAL 30 GRAM TUBE | 24 | TU |
| Tetanus & Diphtheria Toxoids Abs Inj., Adult, 0.5mL syringe pkg of 10 | 2 | PG |
| Tetanus & Diphtheria Toxoids Abs Inj., Peds, 1mL vial pkg of 10 | 2 | PG |
| TETRACAINE HYDROCHLORIDE OPHTHALMIC SOLUTION 0.5% 15 ML | 10 | BT |
| TIMOLOL MALEATE OPHTHALMIC SOLUTION USP 5ML BOTTLE WITH TIP | 10 | BT |
| TOBRAMYCIN OPHTHALMIC OINTMENT USP 3.5GM TUBE | 10 | TU |
| TRAMADOL ACETAMINIPHEN TABLETS 100S | 6 | BT |
| TRIAMCINOLONE ACETONIDE CREAM USP TOPICAL 0.1% 15 GM | 24 | TU |
| TRIAMCINOLONE ACETONIDE DENTAL PASTE USP 5GM | 20 | TU |
| VANCOMYCIN HYDROCHLORIDE STERILE USP 1GM VIAL 10 VIALS/PACKAGE | 2 | PG |
| VECURONIUM BROMIDE FOR INJECTION 10 MG 10ML VIALS 10/PKG | 2 | PG |
| VENLAFAXINE HYDROCHLORIDE CAPSULES EXTENDED RELEASE 24-HRS 90S | 20 | BT |
| VERAPAMIL HYDROCHLORIDE EXTENDED-RELEASE TABLETS USP 240MG 100S | 2 | BT |
| WARFARIN SODIUM TABLETS USP 5MG 100 TABLETS PER BOTTLE | 2 | BT |
| WATER FOR INJECTION STERILE USP VIAL WITH FLIP TOP 20 ML 25/PG | 4 | PG |
| WATER FOR IRRIGATION STERILE USP 1000ML BOTTLE 16 PER PACKAGE | 6 | PG |
| ZINC OXIDE OINTMENT USP 1 OZ (28.35 GM) | 20 | TU |
| ZOLPIDEM TARTRATE TABLETS 10 MG 100 TABLETS PER PACKAGE | 4 | PG |

## Alternate Care Site Guide

The following guide is intended to be used when setting up an Alternate Care Site (ACS) in response to COVID-19. This guide should not be viewed as comprehensive and final. It should be adapted and amended to accommodate the unique circumstances of each ACS.

***Identify Potential Sites***

* Refer to Appendix B: Alternate Care Site Checklist

***Conduct Site Assessment***

* Comply with the Architectural Barriers Act and Americans with Disabilities Act (ADA)
* Should not be in the Special Flood Hazard Area (SFHA), but acknowledges that there may not be a practical location outside the floodplain
* Must be capable of being adequately secured on perimeter
* Should not have structural issues or be in a state of unsafe disrepair
* Identify location for aeromedical transport if available/needed
* Should have a fire sprinkler system or equivalent in accordance with local regulations
* Should have elevator access for patients, if the building is more than one floor
* Should have a designated, secure ambulation/exercise area for patients
* Should have a functional kitchen
* Should have bathrooms in each room
* Should have an individual HVAC in each room
* Should be otherwise vacant of patrons
* Should allow for photocopier and printer setup
* Should be able to accommodate a tent or structural barrier for ambulance arrival at entrance to protect patients’ privacy from photography/drones
* Should allow for the separation of patients (PUI vs. COVID-19 positive)
* Should have a dedicated space for a 24/7 dispatch center with one dedicated phone number
* Should have area(s) for donning and doffing PPE
* Should be able to accommodate a team staging area at least 12 feet away from patients
* Should have an arrival and disinfecting/cleaning area for EMS, if EMS is not already on site
* Obtain building engineer contact information
* Walk site with building manager and engineer to understand key systems in the building and emergency procedures for each such as water, power, phone, internet for patients and fire suppressions systems
* Review with Fire Marshal fire exits, and site plan is in step with evacuation plans
* Identify the delta between what is at the site and what will be provided by the wraparound service contractor
* Develop map layout of the site with bed types, suite types, Americans with Disabilities Act compliant rooms, and adjoining rooms for family units
* Identify closed-circuit television systems that are disabled with no way to activate remotely
* Ensure cable and internet capability works on patient floors
* Understand site key system
* Obtain keys to elevators for security
* Close public bathrooms in patient areas
* Remove food in common areas
* Consideration should be given to conducting surveillance for potentially transmissible infectious diseases (e.g., Infectious diarrhea) to ensure clusters are detected early and addressed
* Medical supply storage in a secure climate-controlled environment near patient treatment area
* Refrigeration/freezer units appropriate for medication storage in secured area

***Secure Funding***

* Funding is secured after specific site is selected

***Secure Property***

* Lease site

***Convert Site for Healthcare Use***

* Determine extent of modifications required
* Determine what agency will make required modifications

***Secure Wraparound Services***

* Obtain Wraparound Service Contract
* Ensure fencing installed around perimeter to enforce the isolation/quarantine order and prevent unauthorized access to the site
* Ensure the site is secured with onsite guard force
* Establish the appropriate number of fire-compliant access points to the site depending on local regulations
* Establish a separate staging/ingress/egress point for patients and EMS
* Establish a separate ingress/egress point for staff
* Determine safe evacuation routes with designated rally point
* Establish Command Post/Administrative Area in Lobby or other suitable location.
* Delineate between Zone/Operational Area and Clean/Support Area, mark with signage
* Clearly designate Clean/Support Areas for both staff staging and PPE donning
* Clearly identify Transition Area for PPE doffing
* Clearly identify Zone/Living Quarters in individual rooms for patients
* Designate separate floors for COVID-19-positive and COVID-19-negative/unknown patients
* Conduct safe isolation practices in common areas, stairwells, and elevators
* Utilize plastic dividers to effectively demarcate and reinforce site footprint
* Establish designated media area

***Staff, Equip, and Supply Site***

* Determine which model will be used for ACS site: General (non-acute) Care ACS Model or Acute Care ACS Model

***Operate Site***

* Ensure that all onsite staff are provided with proper oversight and supervision
* Ensure that patients are under quarantine/isolation orders and release criteria is based on the most current CDC guidance
* Define roles and responsibilities of key personnel
* Develop site flow plan
* Develop site security plan
* Develop site communications plan
* Develop onsite plan for Caregivers and Family Members

***Restore Site***

* Maintain the site until site is deactivated or the responsibility is turned over to another appropriate authority
* Conduct standard decontamination cleaning in accordance with CDC guidelines prior to turning it back over